DETECTION OF CANCEROUS TISSUES USING MORPHOLOGICAL FUNCTION

A DISSERTATION SUBMITTED IN PARTIAL FULFILLMENT OF THE

REQUIREMENT FOR THE AWARD OF THE DEGREE OF

MASTER OF ENGINEERING

IN

ELECTRONICS AND COMMUNICATION

BY

NEERA AGARWAL

DELHI UNIVERSITY ROLL No.10276---

UNDER   THE   GUIDANCE   OF

Dr. RAJIV KAPOOR

ASSISTANT PROFESSOR

DEPARTMENT OF ELECTRONICS AND COMMUNICATION ENGINEERING

DELHI COLLEGE OF ENGINEERING

UNIVERSITY OF DELHI,

DELHI-110042

SESSION 2006

ACKNOWLEDGEMENT

I take this opportunity to express my gratitude to my Project guide Dr. RAJIV KAPOOR for his unwavering encouragement and support throughout this endeavor.  His insight and expertise in this field motivated and supported me during the duration of this project. It is my privilege and honor to have worked under his supervision. His invaluable guidance and helpful discussion in every stage of this project really helped me in materializing this project. Without his constructive direction and invaluable advice, this work would not have been completed.

I would also like to take this opportunity to present my sincere regards to Mr.P.R.Chaddha, Head of the Department, Electronics and Communication Engineering, D. C. E. Delhi, for the support provided by him during the entire duration of degree course and especially for this thesis. My gratitude is also extended to all teaching and non- teaching staff for their unwavering encouragement and support in my pursuit for academics.

I wish to express my deepest love for my parents & family, whose endless love, understanding, and support during all these years have been the greatest assets in my life.

NEERA AGARWAL

University Roll No.-10276

College Roll No. - 08/E&C/06

Delhi College of Engineering,

University of Delhi, Delhi

Contents

1     Introduction

1.1 Introduction                                                                                                                                                                    1

1.2 Research Work in the Recent Past on Cancer Detection                                      2

1.3 CAD DIAGNOSIS                                                                                               4

1.4 Image Segmentation                                                                                              5

1.5 Morphological Processes                                                                                      6

2     Literature survey

2.1: 3D Segmentation in MRI of Brain Tumors                                                       10

2.2: A FAST DEFORMABLE REGION MODEL                                                  10

2.3: A DEFORMABLE REGION MODEL                                                             10

2.4: A Performance Evaluation of a Hybrid Multicast Transport protocol              11

2.5: A Non- invasive, Multi-modality Approach                                                      11

2.6: POSITION SENSING OF MAGNETITE GEL                                                12

2.7: A BRAIN TUMOR DIAGNOSTIC SYSTEM                                                 12

2.8: Hausdorff Distance based 3D Qualification                                                      13

2.9: MEDICAL SIGNAL PROCESSING                                                                13

2.10: Diffusion Tensor Visualization                                                                        14

2.11: ROBUST METHODOLOGY                                                                          14

2.12 Segmenting Brain Tumors                                                                                 15

2.13: Mining Brain Tumors and Tracking their Growth Rates                                    15

2.14: Heating Properties of Re-entrant Resonant Applicator                                       16

2.15: Quantiﬁcation and classiﬁcation                                                                      16

2.16: A Comparative Study of Biomechanical Simulators                                       17

2.17: A Performance Evaluation of a Hybrid Multicast Transport Protocol            17

2.18: Bayesian Model Classiﬁcation                                                                         18

3. Objectives

3.1 Objectives                                                                                                                                                                    19

4. Experimental

4.1. Algorithms                                                                                                          20

4.2. Step wise brief explanation of above algorithm                                                 21

5. Results and discussions

5.1 Hand Made Images:                                                                                             26

5.2 MRI Images                                                                                                         76

6. Summary and Conclusions

6.1 Summary                                                                                                              79

6.2 Achievements                                                                                                       79

6.3 Drawbacks                                                                                                            79

6.4 Proposals for future                                                                                              80

7. References                                                                                                 81

List of figures

Fig.1.1Comparison of Dilation and Erosion Operations                                                                                                              7

Fig. 1.2 Comparison of Opening and Closing Operations                                                   7

Fig 5.1 Reference image                                                                                                    26

Fig: 5.2 Test image                                                                                                            28

Fig: 5.3 Test image                                                                                                            34

Fig: 5.4 Test image                                                                                                            40

Fig: 5.2 Test image                                                                                                            46

Fig: 5.6 Test image                                                                                                            52

Fig: 5.7 Test image                                                                                                            59

Fig: 5.8 Test image                                                                                                            66

Fig: 5.9 Test image                                                                                                            72

Fig: 5.10 MRI Reference image                                                                                         77

Fig: 5.12 MRI Test image                                                                                                  78

Fig: 5.13 Test image                                                                                                          79

List of tables

1. Table 1: Standard morphological filters available and their description                         8

Chapter 1

Introduction

1.1 INTRODUCTION

Cancer is and will becomes an increasingly important factor in global burden of disease in decades to come. The estimated number of new cases each year is expected to rise from 10 million in 2000 to 15 million by 2020.1

Today we are living in fast pace world, instantaneous reply, faster response and steady calculations is what we aim at. With the advancement in technology as our life is turning into a heaven so does at extreme end there is a multifold increase in diseases.  Among all these the most notorious is cancer. Enough is now known about cause of cancer and means of control.  At least one-third of 10million new cases of cancer each year can be prevented if detected at an early stage and prompt treatment is provided. This is possible only if we have faster means of evaluation of cancerous tissues.

Lack of comprehensive, systematic approach and inefficient use of resources is obstacle to effective detection of cancer in both developed and developing countries. In far too many cases primary prevention and early detection and palliative care are neglected due to non treatment approaches regardless of the fact that whether they are cost effective of they tend to improve patients quality life.

To counteract this fast paced development of cancer we need to develop techniques that can evaluate the type, effects and stages of cancer in a short span of time and to a great level of accuracy. With this project we aim to promulgate the above stated aspect of faster and accurate detection of cancerous tissue. Though the program may have a hell lot of shortcomings, quite some of them even stated by us but to the best of our understanding we are trying to convey the idea behind the evaluation.

Cancer is a generic term for a group of more than 100 diseases that can affect any part of the body. Other terms used are malignant tumors and neoplasms. One defining feature of cancer is the rapid creation of abnormal cells which grow beyond their usual boundaries, and which can invade adjoining parts of the body and spread to other organs, a process referred to as metastasis. Metastases are the major cause of death from cancer.

Cancer is a leading cause of death worldwide. From a total of 58 million deaths worldwide in 2005, cancer accounts for 7.6 million (or 13%) of all deaths.

Cancers can broadly be divided into 5 major types, depending on the tissues that are affected:

- Carcinomas: These are common occurrences in cases of cancer. They affect the cells lining the external and internal surface of the body. Lung, breast, and colon cancers fall under this category.

- Sarcomas: These are the cancers that affect the cells of supporting tissues of the body such as bone, cartilage, connective tissue, muscle, and fat.

- Lymphomas: These are the cancers that affect the lymph nodes and tissues of the body’s immune system.

- Leukemias: These cancers usually collect in the bloodstream and affect immature blood cells regenerated by the bone marrow.

- Adenomas: These are cancers that affect glandular tissues like the thyroid, the pituitary gland, and the adrenal gland. They are usually benign in nature.

Today MRI, CT scan and X-ray evaluation are common means for detection of cancers.

1.2 Research Work in the Recent Past on Cancer Detection

Mammography

It is an x-ray procedure used in the screening and diagnosis of breast cancer which can reveal a tumor in the breast long before it can be felt. Screening mammography is the most efficient and cost-effective method available for detecting the signs of early breast cancer in asymptomatic women between the ages of 50 and 69.Medical radiologists normally describe the tumor in reference to its mass, shape and margins. Meanwhile, pattern recognition specialists believe in terms of images. Since there are significant gaps between two approaches, it has proven to be very difficult for those following the pattern recognition route to directly adapt parameters of mass, shape and margins for the automated recognition of different cancers. A meta-shape tool and conjugate meta-feature clustering technology have been developed for this kind of bridging. These represent initial steps in the descriptions of mass, shape and margins on the road towards possible automated mammograph image analysis. In this model, ten meta-shape feature clusters are used to provide a systematic means of representing different cancerous symptoms.[3]

Direct digital mammography and digital enhancement of standard mammograms are actively being investigated. The use of MRI and specifically31P spectroscopy shows initial promise to increase the specificity of mammography. Several clinical trials are also under way to assess a possible niche which fine needle aspiration biopsy (FNAB) may occupy in the quest for early breast cancer detection. [4]

Mammograms are the soft X-rays meant for the detection of any lesions or cysts in breasts. Now days it is playing major role in the detection of breast cancer at an early stage. A lesion segmentation technique based on the extraction of catchments basins through a topographic representation of the mammography image is being used. Applying the watershed algorithm on a rough image leads to over segmentation problems. To avoid this, we have first carried out a pre processing step which consists to remove or attenuate the curvilinear structures present in a mammogram is carried out. Then the gradient of the pre processed image is calculated and finally the segmentation algorithm is applied to this latter image.[5]

New method for automatic recognition of cancerous tissues from an image of a microscopic section is under development. Based on the shape and the size analysis of the observed cells, this method provides the physician with non subjective numerical values for four criteria of malignancy. This automatic approach is based on mathematical morphology, and more specifically on the use of Geodesy. This technique is used first to remove the background noise from the image and then to analyze the results in the light of medical information. [6]

The examination of morphological features is used as a universal procedure by pathologists to determine whether cells are cancerous. Generally speaking, the shapes of normal cells are more standard (either circular or oval) than those of cancerous cells. The objective was to construct an autonomous feature detection system, with the hope of finding some feature patterns, based on morphological shapes (contours), that could be used to separate cancerous cells from normal cells. A number of feature detectors (FDs) were initially generated at random. Then they were modified through evolutionary learning and cellular automata. The experimental result showed that this system was able to search appropriate FDs to identify cancerous cells in a self-organizing manner. It also showed that these FDs were general so that each of them could be used to identify more than one cancerous cell, and that there existed some common patterns of cell deformity among cancerous cells. [7]

1.3 CAD DIAGNOSIS

This technique is used for lung cancer screening through spiral X-ray CT. The intent is to develop standards for generating the database resource and to allow this database to be used for evaluating computer aided diagnostic (CAD) software methods. Initial interest is focused on spiral CT of the lung because of the recent interest in using this imaging modality for lung cancer screening for patients at high risk, where early intervention may significantly reduce cancer mortality rates. The use of CAD methods is rapidly emerging for this large-scale cancer screening application as these methods have the potential of improving the efficiency of screening. Lung imaging is a good physical model in that it involves the use of 3D CAD methods that require critical software optimization for both detection and classification. [8]

Control of cancer includes the systematic and equitable implementation of evidence-based strategies for cancer prevention, early detection of cancer and management of patients with cancer.

- Up to one third of the cancer burden could be reduced by implementing cancer preventing strategies which are aimed at reducing the exposure to cancer risk mainly by:

  - changes in tobacco and alcohol use, and dietary and physical activity patterns

  - immunization against HPV infection

  - the control of occupational hazards

  - reducing exposure to sunlight

- Another third of the cancer burden could be cured if detected early and treated adequately.

  - Early detection of cancer is based on the observation that treatment is more effective when cancer is detected earlier. The aim is to detect the cancer when it is localized. There are two components of early detection programmes for cancer:

    - Education to promote early diagnosis by recognizing early signs of cancer such as: lumps, sores, persistent indigestion, persistent coughing, and bleeding from the body's orifices; and the importance of seeking prompt medical attention for these symptoms.

    - Screening is the identification by means of tests of people with early cancer or pre-cancer before signs are detectable. Screening tests are available for breast cancer (Mammography) and Cervical cancer (Cytology tests).

- Treatment of cancer is aimed at curing, prolonging life and improving quality of life of patients with cancer. Some of the most common cancer types such as breast cancer, cervical cancer and colorectal cancer have a high cure rate when detected early and treated according to best evidence. The principal methods of treatment are surgery, radiotherapy and chemotherapy. Fundamental for adequate treatment is an accurate diagnosis by means of investigations involving imaging technology (ultrasound, endoscopy, radiography) and laboratory (pathology).

- Relief from pain and other problems can be achieved in over 90% of all cancer patients by means of palliative care. Effective strategies exist for the provision of palliative care services for cancer patients and their families, even in low resource settings.[2]

1.4 Image Segmentation

There has been a great deal of research on segmenting images with deformable models in recent years. [13] Active contours, or snakes, have been widely studied and applied in image analysis.

Their applications include edge detection [14], segmentation of objects [15], shape modeling [16] and motion tracking [17].

Snake model is used widely in computer vision and image segmentation. However, there are problems in convergence processing to boundaries of human body image because of noise. Thus a new segmentation algorithm to human body image was being devised. First, rough edge is got by multi-scale algorithm of wavelet analysis, and then thinning method based on mathematical morphology is adopted to get edge map as foundation of Snake model. This method solves the problem that the edge based on wavelets analysis is not consecutive. And it improves Snake model’s anti-noise ability. [18]

1.5 Morphological Processes

Morphological analysis of images uses geometry and the shapes within images in its processes. We can use the morphological function processes to alter or extract shapes and thereby alter the image that contains these shapes. Morphological transformation of your object's image simplifies the image while maintaining the primary shape characteristics within the object.

Morphological operations apply a structuring element to an input image, creating an output image of the same size. In a morphological operation, the value of each pixel in the output image is based on a comparison of the corresponding pixel in the input image with its neighbors. By choosing the size and shape of the neighborhood, we can construct a morphological operation that is sensitive to specific shapes in the input image.

There are 4 basic morphological operations which are enlisted as follows:

- Dilation

- Erosion

- Opening

- Closing

Dilation: The Dilation function enlarges shapes by expanding their boundaries. White and light grey pixels are affected by the dilation process i.e. the shapes within your input object that appear white (binary and grayscale raster objects) or one of the lighter shades of grey (grayscale raster objects) become larger when you run the dilation process. Conversely, shapes that are black and/or darker shades of grey appear smaller. The extent to which each boundary is expanded is determined by the dimensions of the structural element.

Erosion: The Erosion function has the opposite effect of the Dilation operation. The Erosion operation contracts the boundaries of shapes. Erosion shrinks shapes according to the dimensions of a structural element, just as Dilation expands shapes.

Fig. 1 Comparison of Dilation and Erosion Operations

Opening: The Opening operation consists of an Erosion operation followed by a Dilation operation. The Opening operation is often used to remove pixel noise from binary raster objects. Erosion of the shape removes thinner features, such as connections between shapes or protrusions. Then, the output of the erosion process is dilated, producing smoother edges. The center point of the square sits on the line that forms the boundary of a shape. The distance between the center point of the square and its outer edge is the amount by which the shape is first eroded and then dilated.

Closing: The Closing function also smoothes shapes, but unlike Opening, it enlarges thin or narrow features, fills narrow gaps, and eliminates small "holes" in shapes. Closing first applies the Dilation operation and then the Erosion operation. First, the shape is enlarged by the distance between the center point of the square and its outer edge. This process smoothes the shape and enlarges thinner features. Then the shape is eroded, or shrunk, by the specified distance of the structural element.

Fig. 2 Comparison of Opening and Closing Operations

Standard morphological filters available and their description are shown in the Table 1.

| Filter | Description |
| --- | --- |
| Smooth |  |
| Contrast | -- Structural element is used here during the calculation of dilation and erosion. |
| Min | The new value for the point is taken as minimal one among the value of this point and eight neighbour points. In the terms of morphological operations -- this is an operation erosion with a structural element 3×3 where all the value are equal to zero |
| Max | The new value for the point is taken as maximal one among the value of this point and eight neighbour points. In the terms of morphological operations -- this is an operation dilation with a structural element 3×3 where all the values are equal to zero. |
| Dilate | Operation dilation with structural element. |
| Erode | Operation erosion with structural element. |
| Open |  |
| Close |  |
| Gradient |  |
| Laplace |  |

Morphological Algorithms [20]

The implementation of the morphological transformations serves as an elementary brick in practical image analysis problem. Solving a moderately complex image analysis application by morphological methods often involves the concatenation of several tons and hundreds of elementary transformations.

Discrete grids and notations:

- G defines the neighbourhood relations between pixels. It is usually a square grid (with 4 or 8-connectivitiy) or a hexagonal grid with a connectivity of 6.

- NG (P) denotes the set of neighbours on the pixel p.

- dG (p, q) denotes the minimal length of the paths of G connecting p to q .  This is called the discrete distance.

Chapter 2

Literature survey

2.1: 3D Segmentation in MRI of Brain Tumors: Preliminary Results

Tissue segmentation based on 2D and 3D feature map derived from high resolution MR images was performed in phantoms, normal humans and particularly those with brain tumors(four benign and two malignant). Three inputs: proton density, T2-and, as a third, TI-weight MRI, were utilized. Statistical and anisotropic diffusion filters were applied to the data and k-Nearest Neighborhood segmentation algorithm was utilized. The inclusion of TI based images into segmentation produced dramatic improvement in tissue identification. Simon technique utilizing all three inputs provided better segmentation (p < 0.001) than that based on any combination of two inputs. In benign brain tumors, [27] identified tumor volume prior to the injection of gadolinium- DTPA. In malignant tumors, up to four abnormal tissues were identified: 1) solid tumor core, 2) cyst,3) edema in white matter and 4) edema in grey matter. Subsequent neurosurgery further investigation.

2.2: A FAST DEFORMABLE REGION MODEL FOR BRAIN TUMOR BOUNDARY

EXTRACTION

Albert [28] presents a modified deformable region model for the extraction of brain tumor boundary in the 2D MR images. Deformable region model tolerates a rough initial plan when compared with the active contour model. However, it is time consuming for computing and comparing the gray level distribution of the object and its every boundary points. Using a point sampling technique, the number of boundary point processed is greatly reduced. Performance of out modified deformable region model is evaluated on MR image. The modified model is fast while similar results ate obtained.

2.3: A DEFORMABLE REGION MODEL FOR LOCATING THE BOUNDARY OF BRAIN TUMOR

Hui Zhu, Francis.H.Y.Chan, F.K.lam and Paul W.F.Poon* propose a new deformable region model to represent a brain tumor, and use a shrinking- growing method to locate its boundary from a designated initial plan. The shrinking- growing process maximizes the area of an object under the condition that the object and its boundary have the same gray level distributions. Compared to the deformable contour models (also called active contour model, or snake), [29] method does not require the initial plan to be in as close proximity to the boundary as in contour models.

2.4: A Performance Evaluation of a Hybrid Multicast Transport protocol for

A distributed Collaborative Virtual Simulation of a Brain Tumor

Hepatic interfaces have been designed for brain surgery simulation may prove to be especially useful for training surgeons to conduct minimally invasive procedures and remote surgery using tele-operators. However, it well know that collaborative, hepatic audio and visual environment (C-HAVE) suffer from setbacks due to network delay, scalability, reliability and synchronization problem when the users are geographically distributed. In this paper,   Azzedine Boukerche,[30]  focus upon a Brain Tumor Tele- Surgery application that is based on closely coupled and highly synchronized hepatic tasks that require a high level of coordination among the participants.   Azzedine Boukerche, considered four main protocols: the Synchronous Collaboration Transport Protocol (SCTP), the Selective Reliable Multicast Transport Protocol (RMTP) and the Scalable Reliable Multicast (SRM) and presented a hybrid protocol that is able to satiny all  the CVE and C-HAVE requirements and discuss its implementation using Brain Tumor  Tele-Surgery application as a case study.

2.5: A Non- invasive, Multi-modality Approach Based on NIRS and MRI

Techniques for Monitoring Intracranial Brain Tumor Angiogenesis

The understanding of tumor oxygenation at the micro vascular level in an orthotropic model may provide useful insight into tumor physiology, therapeutic response and development of protocols to study tumor behavior. In this paper the vascular status and angiogenesis are studied in an orthotropic brain tumor moral using a non-invasive multi modality approach based on near infrared (NIR) diffuse optical spectroscopy (DOS) along with magnetic resonance imaging (MRI). [31] report a direct correlation between tumor size and intratumoral micro vessel density (MVD) and tumor oxygenation. The relative decrease in the oxygen saturation value with tumor growth indicates that though blood vessels infiltrate and proliferate the tumor region, a hypoxic trend is clearly present.

2.6: POSITION SENSING OF MAGNETITE GEL USING MI SENSOR FOR

BRAIN TUMOR DETECTION

A brain tumor position sensing method [32] using an MI (magneto impedance) micro magnetic sensor in combination with fine magnetic particles (FMP for short) is proposed. Sensing of magnetic field generated from FMP accumulated in the brain tumor tissue would be an effective way to accurately detect the tumor position in the surgical operation. The spatial distribution of stray fields in gel samples, in which FMP were dispersed. Were measured using an MI gradient- field sensor. The position of samples having FMP concentration of more than 0.1 g/1 was clearly detected due to the high sensitivity (2 *10 Oe for a dc field) of the sensor. The spatial distributions were analyzed by a model of aligned dipole moments. The calculation results using the model were in good agreement with experimental results. Position sensing of the tumor tissue of a rat was also carried out. It was concluded that the proposed method would be useful for not only position sensing of the brain tumor but also 3D imaging of the tumor shape.

2.7: A BRAIN TUMOR DIAGNOSTIC SYSTEM WITH AUTOMATIC

ARNING ABILITIES

In this paper, Hsin –Chu [33], purpose a medical diagnostics system BTDS – the Brain Tumors Diagnostic System. BTDS consists if an expert system and a learning system. The former can help diagnosticians in judging the causes of brain tumors according to the computed tomography pictures and the latter based upon a revised inductive learning method is especially suitable for the cases of brain tumors. By applying our learning mechanism, the initial knowledge base can be constructed and new rules can be learned from noise data in the process of inference. In the article, [33] shall first introduce the consideration and process of system implementation and then present the learning mechanism. An example will be given to illustrate BTDS, and finally the testing results will be shown to evaluate the performance of the system.

2.8: Hausdorff Distance based 3D Qualification of Brain Tumor Evolution from

MRI Images

This paper[34], presents a quantification method which can be used to quantity the evolution of a brain tumor with time. From two segmented volumes, a Local Distance Volume (LDV) based on Hausdorff Distance is computed to show the true physical local distances between them. In the case of tracking a tumor volume during a therapeutic treatment, local variations can thus be show by the LDV in particular where the tumor has regressed and where it has growled, this information can help radiologists to adapt the current treatment.

2.9: MEDICAL SIGNAL PROCESSING

(Y.Y.B.Lee, Y.Huang, W.EI- Deredy, P.J.G.Lisboa,	 C.Arus and P. Harris [35] suggested robust methodology for the discrimination of brain tumors from in vivo magnetic resonance spectra)

Magnetic resonance (MR) spectroscopy provides a direct non-invasive measure of tissue biochemistry, but tissue heterogeneity causes considerable mixing between tissue categories. A systematic methodology for variable selection and performance estimation, applied to 98 in vivo spectra from cysts and five categories of brain tumors is proposed. The selections of predictive variables from the spectra, and the estimation of misclassification errors, are made robust by prefiltering the irrelevant spectral components components and repeatedly applying bootstrap resampling. Three alternative approaches to the methodology were investigated, with reference to pair wise discriminate models. The first approach is applied directly to the spectral intensity values, treated as independent covariates that are interpreted as metabolite indicators, proceeding to search for the smallest number of metabolites necessary for class discrimination. The two other approaches use independent covariate that are interpreted component analysis (ICA) to separate the heterogeneous spectra into a small number of independent spectral sources of intrinsic tissue types. Given the six classes with strong inter-class mixing, the most accurate classifier based on linear discriminate models is obtained by first optimizing the discrimination between class pairs, then combining their outcome using a pair wise coupling method. Finally, the statistical and ICA pre-processing methods are compared in a retrospective study for the first class assignment pair, to separate low – and medium- grade from high-grade atrocity tumors

2.10: Diffusion Tensor Visualization with Glyph Packing

A common goal of multivariate visualization is to enable data inspection at discrete points, while also illustrating larger-scale continuous structures. In diffusion tensor visualization, glyphs are typically used to meet the first goal and methods such as texture synthesis or fiber tractography can address the second. [36] Adapt particle systems originally developed for surface modeling and anisotropic mesh generation to enhance the utility of glyph- based tensor visualizations. By carefully distributing glyphs throughout the field (either on a slice, or in the volume ) into a dense packing, using potential energy profiles shaped by the local tensor value, [36] remove undue visual emphasis of the regular sampling grid of the datum and the underlying continuous features become more apparent. The method is demonstrated on a DT-MRI scan of a patient with a brain tumor.

2.11: ROBUST METHODOLOGY FOR THE DISCRIMINATION OF

BRAIN TUMOURS FROM IN VIVO MAGNETIC RESONANCE

SPECTRA

Magnetic Resonance Spectroscopy (MRS) is a non- invasive technique representing a biochemical fingerprint of tissue composition. However, signal variation and noise cause considerable mixing between tissue categories, making class assignments unreliable. Noise filtering is investigated by benchmarking Independent Components Analysis against university T2 tests as pre- filters for variable selection, followed by an evaluation of the predictive power of the resulting models. This paper [37] examines different discrimination strategies of variable selection and classifier validation and proposes a robust methodology for the discrimination of 5 types and grades of brain tumors and cysts from 98 in vivo PROBE spectra. [37] Show that use of the bootstrap technique for the selection of subsets of predictor spectral frequencies, and for estimating bias-corrected misclassification errors, gives more reliable and robust results. Bayesian estimates of the class conditional probabilities are obtained with linear discriminate and neural network models, and the optimal classifier structure is found to consist of coupled pair wise models. The bias corrected overall classification rate achieved this study is 73%.

2.12 Segmenting Brain Tumors using Alignment-Based Features

Detecting and segmenting brain tumors in Magnetic Resonance Images (MRI) is an important but time-consuming task performed by medical experts. Automating this process is a challenging task due to the often high degree of intensity and textural similarity between normal areas and tumor areas. Several recent projects have explored ways to use an aligned spatial ‘template’ image to incorporate spatial anatomic information about the brain, but it is not obvious what types of aligned information should be used. This work quantitatively evaluates the performance of 4 different types of Alignment-Based (AB) features encoding spatial anatomic information for use in supervised pixel classiﬁcation. This is the ﬁrst work to compare several types of AB features, explore ways to combine different types of AB features, and explore combining AB features with textural features in a learning framework. Mark Schmidt, Ilya Levner, Russell Greiner [38] considered situations where existing methods perform poorly, and found that combining textural and AB features allows a substantial performance increase, achieving segmentations that very closely resemble expert annotations.

2.13: Mining Brain Tumors and Tracking their Growth Rates

Mining brain tumors and tracking their growth trends in the course of magnetic resonance imaging is an important task that assists medical professionals to describe the appropriate treatment. Nevertheless, applying conventional techniques to carry out this process manually is time-consuming and often unreliable and insufficiently accurate. Automating this process is a challenging task due to the fact of the fractal shape of tumor and its biological structure, which is often, has a high degree of intensity and textural similarity between normal areas and tumor tissues. Moreover, tumor uptake measurements are not easy given the small size of many tumors, the limitations of spatial resolution, and the change of tumor location from slice to slice across the

brain. Furthermore, the arbitrary shape of tumors makes it extremely hard, if not impossible, to adopt traditional geometric rules for tumor measurements. In this paper, Abdel-Halim Elamy [39] presents a computational approach for modeling and mining a large number of MRI data for patients with brain tumors. In this approach, [39], adopt a spatial data mining technique to extract useful information from MRI data in order to identify the size of tumors and growth trend, as well as classifying tumors of patients upon specific similarity measures.

2.14: Heating Properties of Re-entrant Resonant Applicator for Brain Tumor

By Electromagnetic Heating Modes

Y. Shindo, K. Kato, K. Tsuchiya, T. Yabuhara, T. Shigihara, R. Iwazaki, T. Uzuka, H. Takahashi        and Y. Fujii discuss a new method to control the heating area of a re-entrant resonant cavity applicator for brain tumor hyperthermia treatment non-invasively. [40] have already discussed about the effectiveness of a developed system with experiments of heating an agar phantom and computer simulations. Here, in order to heat a deep brain tumor, we propose the heating method of using several electromagnetic heating modes which are transverse magnetic (TM) modes. In this method, TM010-like and TM012-like modes obtained by selecting resonant frequencies can be used to heat the deep brain tumors. To control the heating area of the modes the agar phantom is used in the heating experiments by the developed system. From these results, we found that the heating area of the agar phantom by using TM012-like mode is about 50% of the heating area of

TM010-like mode. It is found that the proposed heating system can be applicable to the hyperthermia treatment of brain tumors corresponding to the size and the position where it occurred.

2.15: Quantiﬁcation and classiﬁcation of high-resolution magic angle spinning

Data for brain tumor diagnosis

The goal of this work presented by Jean-Baptiste Poullet , M Carmen Martinez-Bisbal , Dani Valverde, Daniel Monleon, Bernardo Celda, Carles and Sabine Van Huffel [41] is to propose a complete protocol (preprocessing, processing and classiﬁcation) for classifying brain tumors with proton high-resolution magic-angle spinning (1 H HR-MAS) data. The different steps of the procedure are detailed and discussed. Feature extraction techniques such as peak integration, including also the automated quantitation method AQSES, were combined with linear (LDA) and non-linear (least-squares support vector machine or LS- SVM) classiﬁers. Classiﬁcation accuracy was assessed using a stratiﬁed random sampling scheme. The results suggest that LS-SVM performs better than LDA while AQSES performs better than the standard peak integration feature extraction method.

2.16: A Comparative Study of Biomechanical Simulators in Deformable

Registration of Brain Tumor Images

Simulating the brain tissue deformation caused by tumor growth has been found to aid the deformable registration of brain tumor images. In this paper, Evangelia I. Zacharaki , Cosmina S. Hogea, George Biros, and Christos Davatzikos [42], evaluate the impact that different biomechanical simulators have on the accuracy of deformable registration. [42] use two alternative frameworks for biomechanical simulations of mass effect in 3-D magnetic resonance (MR) brain images. The ﬁrst one is based on a ﬁnite-element model of nonlinear elasticity and unstructured meshes using the commercial software package ABAQUS. The second one employs incremental linear elasticity and regular grids in a ﬁctitious domain method. In practice, biomechanical simulations via the second approach may be at least ten times faster. Landmarks error and visual examination of the co registered images indicate that the two alternative frameworks for biomechanical simulations lead to comparable results of deformable registration. Thus, the computationally less expensive biomechanical simulator offers a practical alternative for registration purposes.

2.17: A Performance Evaluation of a Hybrid Multicast Transport Protocol for

A Distributed Collaborative Virtual Simulation of a Brain Tumor

(Tele-Surgery Class of Applications)

Haptic interfaces have been designed by Azzedine Boukerche, Haifa Maamar and Abu Hossain [43], for brain surgery simulation may prove to be especially use for training surgeons to conduct minimally invasive procedures and remote surgery using tele-operators However, it well known that collaborative, haptic  audio and visual environments (C-HA VE) suffer from setbacks due to network delay, scalability reliability and synchronization problem when users are geographically distributed. In this paper we focus upon a Brain Tumor Tele-Surge application that is based on closely coupled a highly synchronized haptic tasks that require a high- level of coordination among the participants. Considered four main protocols: the Synchronous Collaboration Transport Protocol (SCTP), Selective Reliable Transmission Protocol (SRTP). The Reliable Multicast Transport Protocol (RMTP),and the Scalable Reliable Multicast (SRM) and presented a hybrid protocol that is able to satisfy the CVE and C-HAVE requirements and discuss implementation using Brain Tumor Tele-Surge application as a case study.

2.18: Efficient Multilevel Brain Tumor Segmentation With Integrated

Bayesian Model Classiﬁcation

Jason J. Corso*, Eitan Sharon, Shishir Dube, Suzie El-Saden, Usha Sinha, and Alan Yuille, [44], present a new method for automatic segmentation of heterogeneous image data that takes a step toward bridging the gap between bottom-up affinity-based segmentation methods and top-down generative model based approaches. The main contribution of the paper is a Bayesian formulation for incorporating soft model assignments into the calculation of affinities, which are

Conventionally model free. [44] integrate the resulting model-aware affinities into the multilevel segmentation by weighted aggregation algorithm, and apply the technique to the task of detecting and segmenting brain tumor and edema in multichannel magnetic resonance (MR) volumes. The computationally efficient method runs orders of magnitude faster than current state-of-the-art techniques giving comparable or improved results. Our quantitative results indicate the beneﬁt of incorporating model-aware affinities into the segmentation process for the difficult case of glioblastoma multiform brain tumor.

Chapter 3

Objectives

3.1 Objectives

- To identify the objects in the reference and the test image using watershed algorithm.

- To label out the different objects identified via step1 and calculate their properties like centroid, perimeter and area.

- To mark out points on the periphery of the objects marked.

- To construct the lattice (distance matrices – intra and inter) among the objects identified in the given above enlisted images.

- In obtaining the lattice (distance matrices) attributes such as Euclidean distance and Mahalanobis distances are taken into account.

- Comparison of the lattice of the reference and test image.

Deviation of test lattice matrix from reference lattice will indicate which region has undergone overgrowth. Furthermore amount of increase in area and perimeter of that particular region will help in identifying the stage of cancer, which functionality of tissue is going to be getting affected and other medical aspects

Chapter 4

Experimental

4.1. Algorithms Used for implementing the application

- Apply the watershed principle over reference image for separating objects from each other and objects from background.

- Converting the image to binary and labeling the various objects detected through step1.

- Calculation the regional properties of various objects detected in step1 like centroid, perimeter and area.

- Marking points on the periphery of objects detected.

- Calculate intra object lattice ie. Distance of each periphery point from the centroid for all the objects.

- Calculate inter object lattice ie. Distance between any 2 points on different objects.

- Store all the data generated in a file.

- Repeat all above 7 steps for test image.

- Subtract out the inter object lattice of reference and test image to obtain the amount of deviation of test image from reference image.

- Compute a new inter difference  lattice after taking into account zooming and focusing errors plus medical relaxation provided in case of healthy tissues.

- Zero down upon the region of most deviated from the new inter difference lattice and store the result as region.

- Compute the distance lattice using mahalanobis distance for the periphery points of both reference and test image.

- Zero down upon the region of most deviated from the mahalanobis distance lattice and store the result as regionmaha.

- If region == regionmaha then go to step 15 otherwise exit stating computational error.

- Now we need to zero down upon the part of a particular region which has undergone an overgrowth.

- The percentage in area and perimeter are indicated along with the infected area.

4.2. Step wise brief explanation of above algorithm

Step1: Apply the watershed principle over reference image for separating objects from each other and objects from background. [23]

Read in the Color Image and Convert it to Grayscale - Converting into gray scale is necessary because then the segmentation function (here gradient magnitude) can be computed easily and accurately.

Use the Gradient Magnitude as the Segmentation Function- The gradient is high at the borders of the objects and low (mostly) inside the objects.

Mark the Foreground Objects- A variety of procedures could be applied here to find the foreground markers, which must be connected blobs of pixels inside each of the foreground objects. In our example we'll use morphological techniques called "opening-followed by-reconstruction" and "closing-followed by-reconstruction" to "clean" up the image. These operations will create flat maxima inside each object that can be located using imregionalmax.

Compute Background markers: The background pixels are in black, but ideally we don't want the background markers to be too close to the edges of the objects we are trying to segment. We'll "thin" the background by computing the "skeleton by influence zones", or SKIZ, of the foreground of bw(binary version of closing followed by reconstruction). This can be done by computing the watershed transform of the distance transform of bw.

- Compute the Watershed Transform of the Segmentation Function.

Visualize the Result

Step2: Converting the image to binary and labeling the various objects detected through step1.

After applying out the watershed and segregating out different objects within the image our aim is to identify and mark different objects.

Step 3: Calculation the regional properties of various objects detected in step1 like centroid, perimeter and area.

To compute the region properties specific to each object within an image we use ‘regionprops’ command. The regionprops command measures object or region properties in an image and returns them in a structure array. When we set the properties parameter to 'basic', the regionprops function returns three commonly used measurements, area, centroid, and bounding box, for all the objects in the label matrix.

Step4: Marking points on the periphery of objects detected.

This is an important aspect which will decide the entire accuracy of the program. We will be using regionprops (‘Extrema’) function for that implementation. It returns a 8 x 2 array containing 8 point locations on the periphery of each object. Then through plot command they are plotted.

Step 5: Calculate intra object lattice.

Computation of intra object lattice means to calculate the distance of each periphery point from the centroid. It will result in 8 X n, where n is the number of objects detected.

Step6: Calculate inter object lattice ie. Distance between any 2 points on different objects.

Calculation of inter cellular lattice will result in n C 2 matrices where n is the number of objects detected. It is this lattice which will depict the deviation from the reference case in terms of Euclidian distance.

Step7: Store all the data generated in a file.

All data computed need to be saved into the file to be used for comparison while evaluation of test images. It is this file that will be called each time for the evaluation of test cases.

Step8: Load data into current workspace and repeat all above 7 steps for test image.

All the data of reference file need to be loaded into workspace before proceeding with the test image and all previous computations need to be performed again for the test image.

Step9: Subtract out the inter object lattice of reference and test image to obtain the amount of deviation of test image from reference image.

Computation of this inter object lattice difference will result in amount deviation of test image Euclidian lattice from the reference image Euclidean lattice.

Step10: Compute a new inter difference  lattice after taking into account zooming and focusing errors plus medical relaxation provided in case of healthy tissues.

To arrive at conclusion we need to convert elements to zero in difference matrix under the conditions:

We will try to find those values within the inter diff lattice which have magnitude greater than 51 (51 is precisely selected by observing the outputs from all different kind of images, this value encapsulates the errors in inter distance computation due to zooming and focusing errors and even limits the minimum changes up to which the program can compute, the value 51 can even include the variations in inter distances up to which no harmful effects are detected, or is within the range of medical error).

To do all this we need to convert

- all the values from the inter difference to their modulus values

- Then comparison with the least count of instrument ie 51

- if greater than 51 they are retained but if < 51 its converted to zero.

Step11: Zero down upon the region of most deviated from the new inter difference lattice and store the result as region.

Here a frequency matrix is used which indicates the objects which might have undergone deviation. Frequency matrix maximum element indicates the object that has undergone overgrowth.

Step12: Compute the distance lattice using mahalanobis distance for the periphery points of both reference and test image.

We need to undertake another form of distance scheme under which is based upon the correlation among the variables. It is a useful way of determining similarity of an unknown sample set to a known one.

Here we would like to compute mahalanobis distance between points of reference image and points of test image. [26]

Step13: Zero down upon the region of most deviated from the mahalanobis distance lattice and store the result as ‘regionmaha’.

Now we need to confirm the results through mahalanobis also. For that we add the distance matrix obtained row wise. Here each row is dedicated to a particular object detected. As far as correct results are concerned this must generate the similar region as indicated by Euclidean distance. Maximum value in row wise schemes gives the region which is highest deviated from the original distribution of points.

Step14: If region == regionmaha then go to step 15 otherwise exit stating computational error.

The algorithm is so designed that the further computation works only if results from both kinds of distances are in accordance with each other. If not the program quits.

Step15: Now we need to zero down upon the part of a particular region which has undergone an overgrowth.

Through various kinds of computations we finally arrive at the part of region undergone overgrowth.

Step16: The percentage change in area and perimeter are indicated along with the infected region and the part of region also.

Finally all the results involving change in area and perimeter are indicated along with infected area.

Chapter 5

Results and discussions

5.1 Hand Made Images:

Reference Case:

Description: This is our reference image through which various test image will be tested. It is supposed to be obtained from a healthy person.

Fig:5.1 Reference image

Results:

The intra matrix of reference image is as follows

196.9389  165.4966  156.0721

197.2579  173.8304  153.5128

233.5292  247.7903  217.3471

235.8219  245.4852  219.7718

162.8304  185.8856  152.1733

163.6014  185.3479  151.2983

248.3739  259.6395  245.6686

248.1607  259.8912  243.0936

The inter matrix of reference image is as follows

interref(:,:,1) =

1.0e+003 *

0.7469    0.7558    0.9024    0.9094    1.0147    1.0091    0.7751    0.7611

0.7458    0.7547    0.9011    0.9082    1.0141    1.0085    0.7749    0.7610

0.4714    0.4786    0.6193    0.6266    0.7669    0.7640    0.5865    0.5729

0.4473    0.4549    0.5976    0.6048    0.7404    0.7373    0.5603    0.5467

0.5050    0.5186    0.6800    0.6846    0.6990    0.6904    0.4242    0.4105

0.5315    0.5454    0.7069    0.7113    0.7156    0.7064    0.4317    0.4183

0.7793    0.7933    0.9548    0.9592    0.9377    0.9266    0.6257    0.6141

0.7797    0.7938    0.9553    0.9596    0.9385    0.9274    0.6266    0.6149

interref(:,:,2) =

1.0e+003 *

0.8280    0.8380    1.1028    1.1058    0.9837    0.9818    0.6685    0.6648

0.8260    0.8360    1.1008    1.1038    0.9818    0.9799    0.6666    0.6629

0.6553    0.6649    0.8864    0.8860    0.7424    0.7404    0.4311    0.4310

0.6639    0.6734    0.8876    0.8867    0.7396    0.7376    0.4313    0.4319

0.9176    0.9269    1.1230    1.1202    0.9613    0.9593    0.6689    0.6716

0.9463    0.9556    1.1536    1.1509    0.9923    0.9903    0.6992    0.7018

1.1277    1.1375    1.3640    1.3632    1.2137    1.2117    0.9077    0.9083

1.1275    1.1373    1.3640    1.3631    1.2138    1.2118    0.9077    0.9082

interref(:,:,3) =

1.0e+003 *

0.7491    0.7548    0.8160    0.8062    0.6278    0.6262    0.4703    0.4809

0.7403    0.7458    0.8027    0.7927    0.6144    0.6127    0.4629    0.4736

0.7452    0.7488    0.7425    0.7298    0.5558    0.5544    0.4946    0.5065

0.7536    0.7572    0.7489    0.7361    0.5625    0.5611    0.5035    0.5154

1.0675    1.0721    1.0800    1.0671    0.8937    0.8923    0.7980    0.8091

1.0754    1.0801    1.0918    1.0790    0.9051    0.9038    0.8043    0.8154

1.0798    1.0868    1.1824    1.1734    0.9955    0.9937    0.7955    0.8040

1.0699    1.0770    1.1754    1.1665    0.9888    0.9870    0.7857    0.7941

Discussion: This is the reference image lattices which will be used for computation

Test Images

Case1:

Description: This is the test image. It is supposed to be obtained from a person who has come up for check up.

Fig: 5.2 Test image

In imshow at 181

In numbering3 at 12

The objects detected in reference image are 3

The objects detected in test image are 3

The intra matrix of test image is as follows

intratest =

205.9432  157.2816  153.0683

206.2820  158.1591  152.8820

256.7724  243.3405  212.8258

257.7556  242.3094  213.6775

160.3709  186.2713  175.1838

160.2472  186.4792  164.2232

342.6643  256.1221  244.1255

341.8501  256.3521  243.9444

The inter cellular matrix of test image is as follows

intertest(:,:,1) =

1.0e+003 *

0.7256    0.7266    0.9003    0.9051    1.0015    0.9989    0.7599    0.7559

0.7251    0.7261    0.8997    0.9045    1.0012    0.9986    0.7598    0.7558

0.4552    0.4559    0.6218    0.6268    0.7563    0.7551    0.5704    0.5665

0.4441    0.4449    0.6119    0.6168    0.7444    0.7432    0.5588    0.5549

0.4940    0.4956    0.6901    0.6934    0.6945    0.6901    0.4148    0.4109

0.4948    0.4965    0.6910    0.6942    0.6950    0.6906    0.4150    0.4111

0.8732    0.8750    1.0698    1.0726    1.0192    1.0131    0.7002    0.6972

0.8804    0.8821    1.0770    1.0799    1.0302    1.0240    0.7118    0.7087

intertest(:,:,2) =

1.0e+003 *

0.8162    0.8172    1.0773    1.0789    1.0048    0.9860    0.6496    0.6492

0.8152    0.8162    1.0763    1.0779    1.0039    0.9851    0.6486    0.6483

0.6493    0.6503    0.8690    0.8691    0.7705    0.7508    0.4181    0.4180

0.6525    0.6534    0.8690    0.8690    0.7687    0.7489    0.4174    0.4173

0.9176    0.9185    1.1138    1.1129    0.9961    0.9761    0.6629    0.6630

0.9185    0.9195    1.1148    1.1138    0.9971    0.9771    0.6639    0.6640

1.2386    1.2396    1.4670    1.4670    1.3629    1.3430    1.0152    1.0152

1.2365    1.2375    1.4670    1.4671    1.3643    1.3444    1.0156    1.0155

intertest(:,:,3) =

1.0e+003 *

0.7419    0.7425    0.8114    0.8073    0.6565    0.6387    0.4609    0.4617

0.7407    0.7413    0.8096    0.8056    0.6547    0.6369    0.4598    0.4607

0.7397    0.7401    0.7347    0.7292    0.5709    0.5565    0.4934    0.4944

0.7452    0.7456    0.7389    0.7333    0.5750    0.5607    0.4994    0.5004

1.0531    1.0536    1.0671    1.0615    0.9033    0.8889    0.7838    0.7847

1.0576    1.0581    1.0736    1.0680    0.9098    0.8953    0.7874    0.7883

1.0574    1.0581    1.1569    1.1532    1.0044    0.9863    0.7701    0.7708

1.0547    1.0554    1.1551    1.1513    1.0027    0.9846    0.7674    0.7681

The interdifference lattice from comparison of test and refernce lattice is as

interdifference(:,:,1) =

21.3279   29.2133    2.1097    4.2766   13.2157   10.1831   15.2241    5.2762

20.7302   28.5882    1.4438    3.6173   12.8325    9.8216   15.0954    5.1445

16.2344   22.6789   -2.5486   -0.2521   10.5632    8.8395   16.1609    6.3964

3.1806    9.9886  -14.2208  -12.0290   -4.0847   -5.8944    1.4718   -8.2615

11.0095   22.9826  -10.1121   -8.7720    4.5511    0.2753    9.4252   -0.3457

36.7100   48.9284   15.9364   17.1062   20.6047   15.7956   16.7160    7.1885

-93.9715  -81.6972 -114.9342 -113.4789  -81.5287  -86.4211  -74.5041  -83.1060

-100.6297  -88.3495 -121.6483 -120.2501  -91.6875  -96.6368  -85.2770  -93.8514

interdifference(:,:,2) =

11.8228   20.8241   25.5458   26.9184  -21.1233   -4.2082   18.9390   15.5982

10.8214   19.8227   24.5512   25.9276  -22.0919   -5.1787   17.9723   14.6214

5.9979   14.5749   17.4021   16.9629  -28.1838  -10.4501   13.0626   12.9940

11.4616   19.9212   18.6072   17.7311  -29.0481  -11.2722   13.9086   14.5622

0.0223    8.3191    9.1772    7.3620  -34.8075  -16.8056    6.0288    8.5595

27.7702   36.1139   38.7818   37.0400   -4.8803   13.1213   35.3388   37.7531

-110.8554 -102.0800 -103.0079 -103.8496 -149.2184 -131.2909 -107.4637 -106.8904

-109.0290 -100.2534 -103.0669 -103.9772 -150.5419 -132.6345 -107.8942 -107.3194

interdifference(:,:,3) =

7.2305   12.2555    4.6063   -1.1206  -28.6674  -12.5383    9.4255   19.1487

-0.3748    4.5041   -6.9639  -12.8465  -40.3525  -24.2212    3.0400   12.9274

5.5088    8.6853    7.7491    0.6327  -15.1455   -2.0811    1.1296   12.0325

8.4016   11.5413    9.9662    2.7739  -12.5670    0.4074    4.1133   15.0198

14.4776   18.5608   12.9269    5.5529   -9.6136    3.4477   14.1775   24.4455

17.8089   22.0099   18.2764   11.0103   -4.7159    8.4204   16.9070   27.0920

22.3844   28.7000   25.4297   20.1826   -8.9430    7.4115   25.4225   33.2395

15.1727   21.5513   20.2934   15.1865  -13.9678    2.4056   18.3253   26.0384

The new interdiffernce lattice after taking into account experimental errors and medical relaxation is

newinterdifference(:,:,1) =

0         0         0         0         0         0         0         0

0         0         0         0         0         0         0         0

0         0         0         0         0         0         0         0

0         0         0         0         0         0         0         0

0         0         0         0         0         0         0         0

0         0         0         0         0         0         0         0

93.9715   81.6972  114.9342  113.4789   81.5287   86.4211   74.5041   83.1060

100.6297   88.3495  121.6483  120.2501   91.6875   96.6368   85.2770   93.8514

newinterdifference(:,:,2) =

0         0         0         0         0         0         0         0

0         0         0         0         0         0         0         0

0         0         0         0         0         0         0         0

0         0         0         0         0         0         0         0

0         0         0         0         0         0         0         0

0         0         0         0         0         0         0         0

110.8554  102.0800  103.0079  103.8496  149.2184  131.2909  107.4637  106.8904

109.0290  100.2534  103.0669  103.9772  150.5419  132.6345  107.8942  107.3194

newinterdifference(:,:,3) =

0     0     0     0     0     0     0     0

0     0     0     0     0     0     0     0

0     0     0     0     0     0     0     0

0     0     0     0     0     0     0     0

0     0     0     0     0     0     0     0

0     0     0     0     0     0     0     0

0     0     0     0     0     0     0     0

0     0     0     0     0     0     0     0

The lattice arriving from mahalanobis distance is as

r =

1.6123    1.6155    2.6007    2.7032    1.9111    1.9061    3.1934    3.1966

0.6214    0.6253    1.7459    1.7824    3.3910    3.3390    1.6784    1.6890

0.7224    0.7239    2.1564    2.2345    3.4544    3.3437    2.5108    2.4916

The frequency matrix declares the maximum times a lattice involved in deviation

frequency =

2

1

1

Thus the region which has overqrowth has its number as ( eucledian distance)

1

Summing up the mahalanobis distance matrix and storeing its sum in g

g =

18.7390

14.8724

17.6378

The region 1 is infected with cancer(mahalanobis distance)

To check out which matrices are non zero to zero upon the infected area

nonzeromatrices =

1

2

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

Overgrowth is in left bottom partr

Overgrowth is in left top partr

The overgrowth can be precisely said in left direction of 1 region

The percentage change in perimeter of infected region 1 is 4.301713e+000

The percentage change in area of infected region 1 is 8.763235e+000

Discussion:  As we can make up from the image itself that region 1 has gone overgrowth, so does is being indicated in the results.

Case2:

Description: This is the test image. It is supposed to be obtained from a person who has come up for check up.

Fig: 5.3 Test image

The objects detected in reference image are 3

The objects detected in test image are 3

The intra matrix of test image is as follows

intratest =

182.0608  158.6156  188.7623

182.4758  159.0489  184.0668

229.6690  246.7529  229.8720

230.3751  245.7582  229.1061

161.5141  185.5725  236.3579

162.2249  185.4872  237.7623

235.9200  269.8329  211.7681

235.5203  269.8686  212.1025

The inter cellular matrix of test image is as follows

intertest(:,:,1) =

710.9184  711.4619  856.8250  859.1275  983.4536  983.1144  732.5742  731.5764

709.8345  710.3760  855.5425  857.8485  982.7762  982.4388  732.4459  731.4479

443.6632  444.1013  582.1039  584.4724  740.7381  740.5471  552.1096  551.1443

437.3786  437.8230  576.6004  578.9551  733.8692  733.6764  545.3549  544.3905

509.2004  510.0627  681.7133  683.1179  702.2571  701.7065  404.8024  403.8341

514.3822  515.2475  687.0262  688.4199  705.5813  705.0248  406.3410  405.3764

770.0416  770.8962  941.9575  943.4262  947.2170  946.5775  622.5400  621.6824

773.1753  774.0265  944.9021  946.3852  951.8361  951.1998  627.6942  626.8341

intertest(:,:,2) =

1.0e+003 *

0.7880    0.8080    1.0745    1.0750    0.9132    0.9034    0.6531    0.6502

0.7860    0.8060    1.0725    1.0730    0.9114    0.9016    0.6511    0.6483

0.6306    0.6495    0.8779    0.8776    0.6593    0.6489    0.4388    0.4396

0.6329    0.6518    0.8785    0.8781    0.6571    0.6467    0.4392    0.4402

0.9098    0.9283    1.1399    1.1392    0.8727    0.8618    0.7031    0.7058

0.9153    0.9339    1.1458    1.1451    0.8787    0.8677    0.7089    0.7116

1.0796    1.0993    1.3408    1.3406    1.1093    1.0985    0.9023    0.9027

1.0785    1.0982    1.3405    1.3403    1.1104    1.0996    0.9022    0.9025

intertest(:,:,3) =

1.0e+003 *

0.7264    0.7376    0.8274    0.8252    0.4706    0.4606    0.4901    0.4996

0.7258    0.7371    0.8266    0.8244    0.4697    0.4597    0.4896    0.4991

0.7063    0.7133    0.7404    0.7375    0.3651    0.3571    0.4916    0.5024

0.7091    0.7161    0.7425    0.7397    0.3671    0.3592    0.4945    0.5054

1.0376    1.0465    1.0836    1.0806    0.7075    0.7001    0.8091    0.8193

1.0380    1.0470    1.0842    1.0813    0.7082    0.7007    0.8095    0.8197

1.0458    1.0601    1.1846    1.1825    0.8341    0.8239    0.8070    0.8146

1.0451    1.0594    1.1840    1.1820    0.8337    0.8236    0.8063    0.8139

The interdifference lattice from comparison of test and refernce lattice is as

interdifference(:,:,1) =

36.0126   44.3489   45.5569   50.2734   31.2749   25.9946   42.5032   29.5576

36.0033   44.3121   45.5840   50.3068   31.2781   26.0259   42.4560   29.5074

27.7305   34.5008   37.1674   42.1024   26.1491   23.4195   34.4030   21.7475

9.8853   17.0319   21.0383   25.8465    6.4881    3.6553   14.9057    2.2868

-4.2172    8.5508   -1.6978    1.5076   -3.2235  -11.3233   19.4251    6.7082

17.1298   30.1413   19.8783   22.9204    9.9975    1.3603   25.3835   12.9082

9.2228   22.4089   12.8807   15.7239   -9.5043  -19.9438    3.1916   -7.6270

6.5734   19.7543   10.4120   13.2480  -13.3693  -23.8029   -1.1250  -11.9479

interdifference(:,:,2) =

39.9691   29.9699   28.2817   30.7845   70.5072   78.4240   15.4484   14.5508

39.9690   29.9699   28.2927   30.8000   70.3851   78.2973   15.4811   14.5813

24.7156   15.3242    8.5355    8.4843   83.0176   91.4497   -7.6307   -8.5588

31.0106   21.5646    9.1744    8.6075   82.4625   90.9226   -7.9445   -8.2959

7.8407   -1.4403  -16.8770  -18.9323   88.6057   97.5757  -34.2151  -34.2052

30.9809   21.7285    7.8238    5.8390  113.5513  122.5215   -9.7497   -9.8344

48.0720   38.1945   23.1803   22.5252  104.4740  113.2724    5.3678    5.5511

48.9793   39.0835   23.4263   22.7664  103.3521  112.1392    5.4750    5.7182

interdifference(:,:,3) =

22.7534   17.1354  -11.4761  -19.0200  157.2236  165.5858  -19.7496  -18.7473

14.4762    8.7291  -23.9385  -31.6445  144.6665  153.0398  -26.6936  -25.5347

38.8947   35.4678    2.0764   -7.7563  190.6744  197.2999    3.0057    4.0412

44.5060   41.0670    6.3529   -3.5811  195.3261  201.9221    8.9640   10.0015

29.9369   25.6116   -3.5201  -13.5214  186.1479  192.2763  -11.1354  -10.1973

37.3290   33.1125    7.6146   -2.2469  196.9099  203.0260   -5.1464   -4.2909

33.9596   26.7663   -2.1855   -9.1519  161.3919  169.7732  -11.4698  -10.6356

24.7536   17.6157   -8.6946  -15.5016  155.0758  163.4500  -20.5698  -19.8355

The new interdiffernce lattice after taking into account experimental errors and medical relaxation is

newinterdifference(:,:,1) =

0     0     0     0     0     0     0     0

0     0     0     0     0     0     0     0

0     0     0     0     0     0     0     0

0     0     0     0     0     0     0     0

0     0     0     0     0     0     0     0

0     0     0     0     0     0     0     0

0     0     0     0     0     0     0     0

0     0     0     0     0     0     0     0

newinterdifference(:,:,2) =

0         0         0         0   70.5072   78.4240         0         0

0         0         0         0   70.3851   78.2973         0         0

0         0         0         0   83.0176   91.4497         0         0

0         0         0         0   82.4625   90.9226         0         0

0         0         0         0   88.6057   97.5757         0         0

0         0         0         0  113.5513  122.5215         0         0

0         0         0         0  104.4740  113.2724         0         0

0         0         0         0  103.3521  112.1392         0         0

newinterdifference(:,:,3) =

0         0         0         0  157.2236  165.5858         0         0

0         0         0         0  144.6665  153.0398         0         0

0         0         0         0  190.6744  197.2999         0         0

0         0         0         0  195.3261  201.9221         0         0

0         0         0         0  186.1479  192.2763         0         0

0         0         0         0  196.9099  203.0260         0         0

0         0         0         0  161.3919  169.7732         0         0

0         0         0         0  155.0758  163.4500         0         0

The lattice arriving from mahalanobis distance is as

r =

1.4081    1.4121    2.3080    2.3628    1.7083    1.6891    1.2890    1.2863

0.9299    0.9316    1.6127    1.6067    2.8462    2.8396    1.8774    1.8825

1.5130    1.5037    1.7840    1.7719    6.4369    6.4921    1.5995    1.5025

The frequency matrix declares the maximum times a lattice involved in deviation

frequency =

1

1

2

Thus the region which has overqrowth has its number as ( eucledian distance)

3

Summing up the mahalanobis distance matrix and storeing its sum in g

g =

13.4637

14.5266

22.6037

The region 3 is infected with cancer(mahalanobis distance)

To check out which matrices are non zero to zero upon the infected area

nonzeromatrices =

2

3

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

Overgrowth is in bottom right part

Overgrowth is in bottom left part

The overgrowth can be precisely said in bottom direction of 3 region

The percentage change in perimeter of infected region 3 is 3.531082e-001

The percentage change in area of infected region 3 is 2.320372e+001

Discussion:  As we can make up from the image itself that region 3 has gone overgrowth, so does is being indicated in the results.

Case3:

Description: This is the test image. It is supposed to be obtained from a person who has come up for checkup.

Fig: 5.4 Test image

The objects detected in reference image are 3

The objects detected in test image are 3

The intra matrix of test image is as follows

intratest =

194.1224  159.3802  159.8977

194.1098  167.4726  153.9917

344.0566  243.1857  209.7940

344.0897  242.9881  213.0413

164.4671  185.4916  175.1012

175.9689  185.5089  164.5997

270.8304  258.0603  239.3435

270.7145  258.1146  236.2637

The inter cellular matrix of test image is as follows

intertest(:,:,1) =

1.0e+003 *

0.7366    0.7456    0.9108    0.9116    1.0069    1.0066    0.7602    0.7592

0.7361    0.7451    0.9102    0.9110    1.0066    1.0063    0.7601    0.7591

0.4367    0.4385    0.5690    0.5699    0.7648    0.7648    0.6346    0.6337

0.4307    0.4325    0.5634    0.5643    0.7588    0.7588    0.6293    0.6284

0.4929    0.5071    0.6864    0.6869    0.6900    0.6895    0.4107    0.4097

0.5267    0.5413    0.7205    0.7210    0.7105    0.7100    0.4207    0.4197

0.7651    0.7796    0.9589    0.9594    0.9325    0.9319    0.6229    0.6220

0.7656    0.7801    0.9594    0.9599    0.9333    0.9327    0.6238    0.6229

intertest(:,:,2) =

1.0e+003 *

0.8065    0.8304    1.0842    1.0881    1.0119    0.9939    0.6668    0.6616

0.8055    0.8294    1.0832    1.0871    1.0110    0.9930    0.6658    0.6607

0.4881    0.5107    0.7181    0.7186    0.6260    0.6074    0.2802    0.2783

0.4902    0.5127    0.7180    0.7184    0.6248    0.6062    0.2793    0.2778

0.8947    0.9170    1.1017    1.0991    0.9867    0.9677    0.6612    0.6641

0.9320    0.9545    1.1413    1.1388    1.0266    1.0076    0.7005    0.7033

1.0903    1.1139    1.3312    1.3310    1.2296    1.2107    0.8900    0.8900

1.0901    1.1137    1.3312    1.3310    1.2297    1.2107    0.8901    0.8900

intertest(:,:,3) =

1.0e+003 *

0.7338    0.7478    0.8019    0.7915    0.6523    0.6356    0.4600    0.4728

0.7242    0.7378    0.7875    0.7769    0.6374    0.6208    0.4514    0.4645

0.7402    0.7487    0.7291    0.7149    0.5721    0.5587    0.4930    0.5078

0.7412    0.7497    0.7298    0.7156    0.5728    0.5595    0.4940    0.5088

1.0526    1.0640    1.0649    1.0508    0.9080    0.8945    0.7861    0.7999

1.0531    1.0645    1.0656    1.0516    0.9087    0.8952    0.7865    0.8003

1.0459    1.0632    1.1498    1.1403    1.0027    0.9857    0.7706    0.7809

1.0452    1.0625    1.1493    1.1398    1.0023    0.9852    0.7700    0.7802

The interdifference lattice from comparison of test and refernce lattice is as

interdifference(:,:,1) =

10.3111   10.1648   -8.4667   -2.2416    7.8432    2.5341   14.8617    1.9153

9.7400    9.5806   -9.1141   -2.8799    7.4794    2.1993   14.7618    1.8124

34.7371   40.1389   50.2819   56.6538    2.1310   -0.8347  -48.1101  -60.8408

16.5842   22.3437   34.2339   40.4666  -18.4048  -21.4759  -69.0262  -81.7215

12.1292   11.4962   -6.3438   -2.2690    9.0177    0.8580   13.5452    0.8388

4.8385    4.0867  -13.5738   -9.6479    5.0564   -3.6043   11.0345   -1.4498

14.1468   13.6719   -4.0200   -0.2267    5.1881   -5.2703    2.8351   -7.9872

14.1052   13.6315   -4.0628   -0.2631    5.1582   -5.2917    2.8185   -8.0103

interdifference(:,:,2) =

21.5576    7.5705   18.6389   17.6996  -28.2114  -12.1155    1.7217    3.1513

20.5570    6.5700   17.6463   16.7088  -29.1737  -13.0794    0.7610    2.1872

167.2169  154.1265  168.3417  167.4192  116.3368  132.9439  150.9743  152.6884

173.7601  160.6392  169.6329  168.3301  114.7753  131.4115  151.9673  154.1137

22.9283    9.8058   21.3347   21.1414  -25.3194   -8.3274    7.7387    7.5332

14.3044    1.0973   12.3055   12.0960  -34.3668  -17.3741   -1.3288   -1.4882

37.3990   23.5587   32.8101   32.1474  -15.8714    1.0733   17.6687   18.2490

37.3651   23.5228   32.7731   32.1085  -15.9132    1.0303   17.6189   18.2029

interdifference(:,:,3) =

15.3481    6.9587   14.0779   14.6868  -24.4528   -9.4582   10.3453    8.0368

16.1376    7.9704   15.1572   15.7943  -22.9906   -8.0998   11.5036    9.1227

4.9851    0.0354   13.4194   14.8563  -16.2899   -4.3058    1.5645   -1.3960

12.4813    7.5026   19.1327   20.4742  -10.2905    1.6929    9.4931    6.5358

14.9411    8.0692   15.1319   16.2541  -14.2894   -2.1843   11.8207    9.2078

22.3024   15.5372   26.2369   27.4913   -3.5572    8.5377   17.7799   15.0867

33.8908   23.6465   32.5574   33.0756   -7.2481    8.0591   24.8636   23.0987

24.6771   14.4863   26.0211   26.6877  -13.5145    1.7883   15.7495   13.8880

The new interdiffernce lattice after taking into account experimental errors and medical relaxation is

newinterdifference(:,:,1) =

0         0         0         0         0         0         0         0

0         0         0         0         0         0         0         0

0         0         0   56.6538         0         0         0   60.8408

0         0         0         0         0         0   69.0262   81.7215

0         0         0         0         0         0         0         0

0         0         0         0         0         0         0         0

0         0         0         0         0         0         0         0

0         0         0         0         0         0         0         0

newinterdifference(:,:,2) =

0         0         0         0         0         0         0         0

0         0         0         0         0         0         0         0

167.2169  154.1265  168.3417  167.4192  116.3368  132.9439  150.9743  152.6884

173.7601  160.6392  169.6329  168.3301  114.7753  131.4115  151.9673  154.1137

0         0         0         0         0         0         0         0

0         0         0         0         0         0         0         0

0         0         0         0         0         0         0         0

0         0         0         0         0         0         0         0

newinterdifference(:,:,3) =

0     0     0     0     0     0     0     0

0     0     0     0     0     0     0     0

0     0     0     0     0     0     0     0

0     0     0     0     0     0     0     0

0     0     0     0     0     0     0     0

0     0     0     0     0     0     0     0

0     0     0     0     0     0     0     0

0     0     0     0     0     0     0     0

The lattice arriving from mahalanobis distance is as

r =

2.2699    2.2697    4.7156    4.7406    1.2082    1.1324    1.5300    1.5314

1.1411    1.1459    1.3434    1.3433    2.2558    2.2521    2.2155    2.2234

1.7693    1.7553    1.3940    1.4647    1.8737    1.7942    2.2352    2.0604

The frequency matrix declares the maximum times a lattice involved in deviation

frequency =

2

1

1

Thus the region which has overqrowth has its number as ( eucledian distance)

1

Summing up the mahalanobis distance matrix and storeing its sum in g

g =

19.3977

13.9205

14.3468

The region 1 is infected with cancer (mahalanobis distance)

To check out which matrices are non zero to zero upon the infected area

nonzeromatrices =

1

2

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

Overgrowth is in right top partr

Overgrowth is in right bottom partr

The overgrowth can be precisely said in right direction of 1 region

The percentage change in perimeter of infected region 1 is 6.469476e+000

The percentage change in area of infected region 1 is 8.114472e+000

Discussion:  As we can make up from the image itself that region 3 has gone overgrowth, so does is being indicated in the results.

Case4:

Description: This is the test image. It is supposed to be obtained from a person who has come up for check up.

Fig: 5.5 Test image

The objects detected in reference image are 3

The objects detected in test image are 3

The intra matrix of test image is as follows

intratest =

294.5433  172.4624  164.7250

293.8439  172.9691  164.4331

262.0834  248.9239  220.3160

264.8736  248.7093  220.5845

189.6025  192.1111  186.9164

184.6096  192.1032  166.4485

300.7871  259.9885  245.9994

304.3810  260.3529  245.2733

The inter cellular matrix of test image is as follows

intertest(:,:,1) =

1.0e+003 *

0.9426    0.9433    1.1205    1.1212    1.1664    1.1660    0.8789    0.8677

0.9420    0.9426    1.1198    1.1205    1.1660    1.1655    0.8785    0.8673

0.4778    0.4782    0.6360    0.6368    0.7862    0.7860    0.6054    0.5939

0.4596    0.4600    0.6193    0.6202    0.7664    0.7662    0.5861    0.5746

0.4929    0.4938    0.6753    0.6759    0.6995    0.6990    0.4319    0.4200

0.5170    0.5179    0.6996    0.7002    0.7132    0.7127    0.4368    0.4250

0.9461    0.9468    1.1257    1.1263    1.1572    1.1567    0.8628    0.8519

0.9502    0.9509    1.1296    1.1303    1.1623    1.1618    0.8683    0.8574

intertest(:,:,2) =

1.0e+003 *

1.0844    1.0854    1.3735    1.3738    1.3038    1.2693    0.9309    0.9297

1.0834    1.0844    1.3725    1.3728    1.3028    1.2684    0.9299    0.9287

0.6367    0.6377    0.8822    0.8823    0.7939    0.7585    0.4238    0.4234

0.6422    0.6432    0.8820    0.8820    0.7907    0.7551    0.4224    0.4223

0.8893    0.8903    1.1044    1.1042    0.9962    0.9602    0.6469    0.6476

0.9164    0.9174    1.1332    1.1330    1.0252    0.9892    0.6754    0.6761

1.1187    1.1197    1.4033    1.4036    1.3297    1.2950    0.9566    0.9556

1.1189    1.1199    1.4043    1.4046    1.3313    1.2966    0.9582    0.9572

intertest(:,:,3) =

1.0e+003 *

0.7371    0.7377    0.8071    0.8060    0.6632    0.6314    0.4610    0.4645

0.7366    0.7371    0.8062    0.8052    0.6623    0.6305    0.4605    0.4640

0.7477    0.7480    0.7405    0.7391    0.5883    0.5622    0.4997    0.5036

0.7486    0.7490    0.7412    0.7398    0.5889    0.5629    0.5006    0.5046

1.0725    1.0730    1.0848    1.0834    0.9323    0.9065    0.8046    0.8083

1.0730    1.0734    1.0855    1.0841    0.9330    0.9072    0.8050    0.8087

1.0756    1.0763    1.1813    1.1804    1.0395    1.0071    0.7951    0.7979

1.0673    1.0680    1.1756    1.1747    1.0344    1.0018    0.7869    0.7896

The interdifference lattice from comparison of test and refernce lattice is as

interdifference(:,:,1) =

-195.7189 -187.5375 -218.1073 -211.7757 -151.7126 -156.8412 -103.7883 -106.5186

-196.1144 -187.9620 -218.6364 -212.2955 -151.8960 -156.9953 -103.6104 -106.3393

-6.4400    0.3679  -16.7302  -10.2650  -19.2915  -22.0779  -18.9302  -20.9643

-12.3065   -5.1320  -21.6981  -15.3637  -26.0088  -28.8967  -25.8801  -27.9052

12.0471   24.8555    4.6659    8.7186   -0.4548   -8.6482   -7.6845   -9.4815

14.4849   27.5221    7.2789   11.1767    2.3572   -6.3476   -5.0283   -6.7154

-166.8249 -153.5180 -170.8367 -167.1806 -219.4982 -230.0512 -237.1178 -237.8208

-170.4287 -157.1272 -174.3035 -170.6433 -223.8502 -234.3965 -241.7769 -242.4731

interdifference(:,:,2) =

-256.3833 -247.3812 -270.6368 -268.0310 -320.0759 -287.5418 -262.3524 -264.8823

-257.3854 -248.3833 -271.6295 -269.0187 -321.0289 -288.4968 -263.2939 -265.8332

18.5626   27.1409    4.1613    3.7459  -51.5556  -18.1066    7.3420    7.5522

21.7058   30.1702    5.6435    4.7260  -51.1008  -17.5089    8.8694    9.6421

28.2757   36.5819   18.6050   16.0571  -34.8632   -0.8658   22.0512   24.0130

29.8727   38.2219   20.4168   17.9369  -32.9305    1.0670   23.8122   25.6886

8.9978   17.7637  -39.3091  -40.4906 -116.0058  -83.2487  -48.9263  -47.3588

8.5513   17.3192  -40.3417  -41.5184 -117.5266  -84.8112  -50.5133  -48.9356

interdifference(:,:,3) =

11.9876   17.0506    8.8913    0.1135  -35.3937   -5.2166    9.2682   16.3741

3.7322    8.6484   -3.5378  -12.4789  -47.9755  -17.7954    2.3272    9.5955

-2.4804    0.7215    1.9548   -9.3545  -32.4891   -7.7308   -5.1015    2.8355

5.0225    8.1852    7.6900   -3.7271  -26.4584   -1.7153    2.8283   10.7689

-4.9490   -0.8438   -4.7408  -16.2881  -38.6135  -14.1836   -6.6929    0.8124

2.4061    6.6348    6.3550   -5.0514  -27.8939   -3.4655   -0.7307    6.6891

4.1589   10.4944    1.0424   -7.0050  -44.0219  -13.4058    0.3929    6.1335

2.5792    8.9740   -0.2943   -8.1957  -45.6096  -14.8402   -1.2075    4.4585

The new interdiffernce lattice after taking into account experimental errors and medical relaxation is

newinterdifference(:,:,1) =

195.7189  187.5375  218.1073  211.7757  151.7126  156.8412  103.7883  106.5186

196.1144  187.9620  218.6364  212.2955  151.8960  156.9953  103.6104  106.3393

0         0         0         0         0         0         0         0

0         0         0         0         0         0         0         0

0         0         0         0         0         0         0         0

0         0         0         0         0         0         0         0

166.8249  153.5180  170.8367  167.1806  219.4982  230.0512  237.1178  237.8208

170.4287  157.1272  174.3035  170.6433  223.8502  234.3965  241.7769  242.4731

newinterdifference(:,:,2) =

256.3833  247.3812  270.6368  268.0310  320.0759  287.5418  262.3524  264.8823

257.3854  248.3833  271.6295  269.0187  321.0289  288.4968  263.2939  265.8332

0         0         0         0   51.5556         0         0         0

0         0         0         0   51.1008         0         0         0

0         0         0         0         0         0         0         0

0         0         0         0         0         0         0         0

0         0         0         0  116.0058   83.2487         0         0

0         0         0         0  117.5266   84.8112         0         0

newinterdifference(:,:,3) =

0     0     0     0     0     0     0     0

0     0     0     0     0     0     0     0

0     0     0     0     0     0     0     0

0     0     0     0     0     0     0     0

0     0     0     0     0     0     0     0

0     0     0     0     0     0     0     0

0     0     0     0     0     0     0     0

0     0     0     0     0     0     0     0

The lattice arriving from mahalanobis distance is as

r =

3.8995    3.8867    3.1587    3.2997    2.1228    1.8980    3.6073    3.7483

0.8798    0.8849    2.3297    2.3354    3.8872    3.8788    1.2463    1.2558

1.1826    1.1860    2.9503    2.9656    3.5677    3.2410    1.6892    1.6249

The frequency matrix declares the maximum times a lattice involved in deviation

frequency =

2

1

1

Thus the region which has overqrowth has its number as ( eucledian distance)

1

Summing up the mahalanobis distance matrix and storeing its sum in g

g =

25.6209

16.6979

18.4072

The region 1 is infected with cancer(mahalanobis distance)

To check out which matrices are non zero to zero upon the infected area

nonzeromatrices =

1

2

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

Overgrowth is in top left partr

Overgrowth is in top right partr

The overgrowth can be precisely said in top direction of 1 region

The percentage change in perimeter of infected region 1 is 2.083813e+001

The percentage change in area of infected region 1 is 2.120169e+001

Discussion:  As we can make up from the image itself that region 1 has gone overgrowth, so does is being indicated in the results.

Case5:

Description: This is the test image. It is supposed to be obtained from a person who has come up for check up.

Fig: 5.6 Test image

The objects detected in reference image are 3

The objects detected in test image are 3

The intra matrix of test image is as follows

intratest =

196.0271  171.6640  228.4846

197.1488  180.7656  233.0809

235.6317  244.9303  212.5351

235.7288  244.7295  214.1955

168.6372  189.5969  181.1246

169.4689  189.3535  180.7404

248.1496  261.1780  255.8636

243.4812  261.3352  253.5694

The inter cellular matrix of test image is as follows

intertest(:,:,1) =

1.0e+003 *

0.7466    0.7562    0.9172    0.9180    1.0174    1.0135    0.7768    0.7639

0.7422    0.7516    0.9123    0.9131    1.0148    1.0110    0.7762    0.7632

0.4526    0.4604    0.6171    0.6179    0.7536    0.7517    0.5756    0.5630

0.4517    0.4595    0.6162    0.6171    0.7526    0.7507    0.5746    0.5620

0.5258    0.5406    0.7087    0.7092    0.7091    0.7027    0.4264    0.4139

0.5310    0.5459    0.7138    0.7143    0.7123    0.7059    0.4280    0.4155

0.7696    0.7846    0.9523    0.9527    0.9256    0.9179    0.6142    0.6033

0.7808    0.7956    0.9637    0.9642    0.9433    0.9357    0.6337    0.6226

intertest(:,:,2) =

1.0e+003 *

0.9162    0.9372    1.0971    1.0983    0.9942    0.9933    0.6680    0.6654

0.9083    0.9292    1.0893    1.0904    0.9866    0.9857    0.6605    0.6578

0.7611    0.7805    0.8671    0.8670    0.7385    0.7375    0.4181    0.4180

0.7615    0.7809    0.8671    0.8670    0.7384    0.7374    0.4181    0.4180

1.0529    1.0720    1.1331    1.1322    0.9881    0.9871    0.6868    0.6884

1.0583    1.0775    1.1390    1.1382    0.9941    0.9931    0.6927    0.6943

1.2232    1.2434    1.3430    1.3428    1.2084    1.2074    0.8935    0.8939

1.2171    1.2375    1.3423    1.3422    1.2098    1.2088    0.8930    0.8931

intertest(:,:,3) =

1.0e+003 *

0.8594    0.8718    0.7855    0.7823    0.6125    0.6116    0.4520    0.4590

0.8496    0.8618    0.7711    0.7679    0.5978    0.5970    0.4441    0.4512

0.8698    0.8783    0.7269    0.7227    0.5534    0.5527    0.4999    0.5078

0.8707    0.8793    0.7276    0.7234    0.5541    0.5534    0.5009    0.5088

1.1862    1.1966    1.0586    1.0543    0.8850    0.8843    0.7909    0.7983

1.1921    1.2026    1.0670    1.0628    0.8933    0.8926    0.7954    0.8028

1.2007    1.2156    1.1615    1.1586    0.9899    0.9890    0.7864    0.7920

1.1915    1.2065    1.1552    1.1523    0.9839    0.9830    0.7773    0.7829

The interdifference lattice from comparison of test and refernce lattice is as

interdifference(:,:,1) =

0.3033   -0.3532  -14.8586   -8.6258   -2.7040   -4.4121   -1.7314   -2.7226

3.6053    3.0445  -11.1903   -4.9521   -0.7566   -2.5195   -1.2682   -2.2517

18.8133   18.1828    2.2203    8.7067   13.2792   12.2719   10.9485    9.8989

-4.4218   -4.6851  -18.5958  -12.2494  -12.2647  -13.3747  -14.3357  -15.3495

-20.8010  -22.0120  -28.6467  -24.5438  -10.0256  -12.3009   -2.2042   -3.3429

0.5045   -0.5049   -6.9372   -3.0049    3.2776    0.5318    3.7058    2.7644

9.6639    8.7084    2.5851    6.4083   12.0685    8.7355   11.5459   10.7934

-1.0522   -1.8051   -8.3793   -4.5669   -4.7882   -8.2580   -7.1350   -7.7566

interdifference(:,:,2) =

-88.2316  -99.1591    5.6806    7.5320  -10.5029  -11.4654    0.4744   -0.5819

-82.2601  -93.1863   11.5652   13.4138   -4.8292   -5.7922    6.1050    5.0685

-105.7660 -115.6339   19.3138   19.0175    3.8234    2.8290   13.0638   13.0012

-97.5366 -107.5169   20.5310   19.6942    1.2043    0.2027   13.2383   13.9074

-135.2711 -145.1560  -10.0595  -12.0308  -26.7808  -27.7771  -17.8977  -16.8347

-112.0381 -121.8960   14.5955   12.6942   -1.8471   -2.8436    6.5171    7.4773

-95.4867 -105.9415   21.0017   20.3626    5.2858    4.2858   14.1763   14.4180

-89.6425 -100.1944   21.6416   20.9130    3.9797    2.9787   14.6392   15.0736

interdifference(:,:,3) =

-110.2848 -117.0311   30.5053   23.8725   15.3483   14.5228   18.3558   21.8846

-109.3371 -115.9574   31.5599   24.8220   16.5251   15.7075   18.7881   22.3602

-124.5803 -129.5844   15.5561    7.1204    2.3992    1.7379   -5.3006   -1.3478

-117.0613 -122.0962   21.2715   12.7306    8.3694    7.7232    2.6256    6.5819

-118.6988 -124.4564   21.4437   12.7764    8.6429    7.9925    7.0750   10.8202

-116.7417 -122.5342   24.8208   16.2613   11.8284   11.1644    8.9217   12.6215

-120.8998 -128.7526   20.8887   14.8204    5.6187    4.7552    9.1379   12.0247

-121.6335 -129.5348   20.1943   14.2363    4.8767    4.0066    8.3657   11.2138

The new interdiffernce lattice after taking into account experimental errors and medical relaxation is

newinterdifference(:,:,1) =

0     0     0     0     0     0     0     0

0     0     0     0     0     0     0     0

0     0     0     0     0     0     0     0

0     0     0     0     0     0     0     0

0     0     0     0     0     0     0     0

0     0     0     0     0     0     0     0

0     0     0     0     0     0     0     0

0     0     0     0     0     0     0     0

newinterdifference(:,:,2) =

88.2316   99.1591         0         0         0         0         0         0

82.2601   93.1863         0         0         0         0         0         0

105.7660  115.6339         0         0         0         0         0         0

97.5366  107.5169         0         0         0         0         0         0

135.2711  145.1560         0         0         0         0         0         0

112.0381  121.8960         0         0         0         0         0         0

95.4867  105.9415         0         0         0         0         0         0

89.6425  100.1944         0         0         0         0         0         0

newinterdifference(:,:,3) =

110.2848  117.0311         0         0         0         0         0         0

109.3371  115.9574         0         0         0         0         0         0

124.5803  129.5844         0         0         0         0         0         0

117.0613  122.0962         0         0         0         0         0         0

118.6988  124.4564         0         0         0         0         0         0

116.7417  122.5342         0         0         0         0         0         0

120.8998  128.7526         0         0         0         0         0         0

121.6335  129.5348         0         0         0         0         0         0

The lattice arriving from mahalanobis distance is as

r =

1.7558    1.7280    1.3497    1.3567    1.7826    1.7919    2.5398    2.4674

0.7883    0.7700    0.8425    0.8450    3.0177    2.9939    2.8777    2.9292

3.9661    4.0331    0.9934    1.0429    2.3611    2.3617    3.5674    3.4362

The frequency matrix declares the maximum times a lattice involved in deviation

frequency =

1

1

2

Thus the region which has overqrowth has its number as ( eucledian distance)

3

Summing up the mahalanobis distance matrix and storeing its sum in g

g =

14.7719

15.0643

21.7619

The region 3 is infected with cancer(mahalanobis distance)

To check out which matrices are non zero to zero upon the infected area

nonzeromatrices =

2

3

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

Overgrowth is in top left part

Overgrowth is in top right part

The overgrowth can be precisely said in top direction of 3 region

The percentage change in perimeter of infected region 3 is 2.743559e+000

The percentage change in area of infected region 3 is 1.836782e+001

Discussion:  As we can make up from the image itself that region 3 has gone growth, so does is being indicated in the results.

Case6:

Description: This is the test image. It is supposed to be obtained from a person who has come up for check up.

Fig: 5.7 Test image

The objects detected in reference image are 3

The objects detected in test image are 3

The intra matrix of test image is as follows

intratest =

194.6908  172.6723  162.7261

197.5775  188.6960  157.1069

231.7099  252.6573  222.3823

233.7622  247.5853  223.2855

168.2838  266.7409  166.9382

168.3082  266.5235  160.8582

254.1881  262.9678  243.8042

253.8722  265.5883  243.1182

The inter cellular matrix of test image is as follows

intertest(:,:,1) =

1.0e+003 *

0.7364    0.7583    0.9158    0.9302    1.1237    1.1203    0.7906    0.7687

0.7288    0.7500    0.9062    0.9208    1.1192    1.1160    0.7898    0.7678

0.4646    0.4807    0.6304    0.6455    0.8792    0.8777    0.6037    0.5825

0.4449    0.4616    0.6130    0.6279    0.8584    0.8568    0.5834    0.5622

0.4813    0.5167    0.6908    0.7006    0.7983    0.7930    0.4358    0.4142

0.4821    0.5176    0.6917    0.7014    0.7987    0.7934    0.4360    0.4144

0.7658    0.8020    0.9762    0.9857    1.0468    1.0399    0.6574    0.6385

0.7674    0.8036    0.9778    0.9873    1.0493    1.0424    0.6600    0.6411

intertest(:,:,2) =

1.0e+003 *

0.8212    0.8431    1.1162    1.1173    1.0147    1.0025    0.6767    0.6753

0.8052    0.8272    1.1006    1.1017    0.9997    0.9875    0.6618    0.6604

0.6367    0.6580    0.8875    0.8877    0.7636    0.7508    0.4296    0.4293

0.6423    0.6635    0.8871    0.8871    0.7601    0.7472    0.4283    0.4282

0.9081    0.9288    1.1289    1.1284    0.9862    0.9732    0.6736    0.6743

0.9091    0.9297    1.1299    1.1294    0.9872    0.9742    0.6746    0.6753

1.1141    1.1359    1.3711    1.3711    1.2410    1.2281    0.9122    0.9122

1.1137    1.1354    1.3711    1.3712    1.2413    1.2284    0.9123    0.9122

intertest(:,:,3) =

1.0e+003 *

0.7559    0.7695    0.8375    0.8351    0.6672    0.6557    0.4851    0.4884

0.7304    0.7432    0.8002    0.7977    0.6291    0.6177    0.4623    0.4658

0.7361    0.7444    0.7304    0.7270    0.5580    0.5487    0.4944    0.4983

0.7529    0.7610    0.7427    0.7393    0.5706    0.5616    0.5121    0.5161

1.1450    1.1547    1.1375    1.1338    0.9672    0.9588    0.8891    0.8928

1.1503    1.1601    1.1456    1.1420    0.9751    0.9665    0.8933    0.8970

1.0707    1.0866    1.1779    1.1755    1.0080    0.9964    0.7980    0.8007

1.0555    1.0716    1.1677    1.1655    0.9985    0.9867    0.7831    0.7857

The interdifference lattice from comparison of test and refernce lattice is as

interdifference(:,:,1) =

10.5005   -2.5117  -13.4287  -20.8211 -108.9939 -111.2124  -15.5692   -7.5597

17.0731    4.7247   -5.1124  -12.6449 -105.1598 -107.5067  -14.8740   -6.8428

6.7766   -2.0724  -11.1460  -18.9095 -112.3403 -113.7036  -17.1968   -9.5625

2.3886   -6.7651  -15.4005  -23.1196 -118.0715 -119.5020  -23.1586  -15.5416

23.7099    1.8805  -10.7935  -15.9636  -99.2458 -102.6325  -11.5568   -3.6557

49.4280   27.8176   15.2500    9.9174  -83.1458  -87.0636   -4.2492    3.8874

13.4935   -8.6974  -21.3636  -26.5567 -109.1116 -113.3129  -31.6762  -24.4405

12.3205   -9.8043  -22.4553  -27.6808 -110.8091 -115.0176  -33.4323  -26.1770

interdifference(:,:,2) =

6.8300   -5.1393  -13.4202  -11.5051  -31.0111  -20.6969   -8.2423  -10.5304

20.8066    8.8385    0.2380    2.1433  -17.8785   -7.5883    4.7785    2.5120

18.6199    6.8556   -1.1302   -1.6845  -21.2195  -10.4228    1.5440    1.7308

21.6046    9.8990    0.5877   -0.3957  -20.4559   -9.6065    2.9979    3.7404

9.4909   -1.9185   -5.9309   -8.1806  -24.8267  -13.8240   -4.6898   -2.7045

37.2433   25.8781   23.6720   21.4960    5.1005   16.1028   24.6211   26.4908

13.5637    1.6029   -7.0733   -7.9951  -27.2844  -16.3468   -4.5276   -3.8892

13.8204    1.8524   -7.1632   -8.0829  -27.5479  -16.6134   -4.6407   -4.0023

interdifference(:,:,3) =

-6.7243  -14.7010  -21.5736  -28.9646  -39.4027  -29.5075  -14.7956   -7.5353

9.8760    2.5580    2.4499   -4.9924  -14.7639   -5.0438    0.5934    7.8575

9.0729    4.3720   12.0771    2.7588   -2.2446    5.7064    0.2063    8.1493

0.7069   -3.8513    6.2115   -3.1504   -8.1713   -0.4133   -8.6520   -0.7087

-77.4739  -82.5940  -57.4568  -66.7133  -73.5234  -66.4275  -91.1020  -83.6700

-74.8929  -80.0725  -53.7711  -62.9121  -69.9497  -62.7818  -88.9748  -81.6122

9.0766    0.2204    4.4889   -2.1729  -12.5615   -2.6692   -2.4757    3.2697

14.3538    5.3369    7.6374    1.0635   -9.7254    0.2675    2.6486    8.3470

The new interdiffernce lattice after taking into account experimental errors and medical relaxation is

newinterdifference(:,:,1) =

0         0         0         0  108.9939  111.2124         0         0

0         0         0         0  105.1598  107.5067         0         0

0         0         0         0  112.3403  113.7036         0         0

0         0         0         0  118.0715  119.5020         0         0

0         0         0         0   99.2458  102.6325         0         0

0         0         0         0   83.1458   87.0636         0         0

0         0         0         0  109.1116  113.3129         0         0

0         0         0         0  110.8091  115.0176         0         0

newinterdifference(:,:,2) =

0     0     0     0     0     0     0     0

0     0     0     0     0     0     0     0

0     0     0     0     0     0     0     0

0     0     0     0     0     0     0     0

0     0     0     0     0     0     0     0

0     0     0     0     0     0     0     0

0     0     0     0     0     0     0     0

0     0     0     0     0     0     0     0

newinterdifference(:,:,3) =

0         0         0         0         0         0         0         0

0         0         0         0         0         0         0         0

0         0         0         0         0         0         0         0

0         0         0         0         0         0         0         0

77.4739   82.5940   57.4568   66.7133   73.5234   66.4275   91.1020   83.6700

74.8929   80.0725   53.7711   62.9121   69.9497   62.7818   88.9748   81.6122

0         0         0         0         0         0         0         0

0         0         0         0         0         0         0         0

The lattice arriving from mahalanobis distance is as

r =

1.9800    2.0165    2.4490    2.5803    1.6513    1.6464    1.3242    1.3247

0.7053    0.7893    1.7447    1.8267    6.9618    6.8541    1.6771    1.7385

1.0850    1.1228    2.4592    2.5064    2.9643    2.8937    2.0046    1.9420

The frequency matrix declares the maximum times a lattice involved in deviation

frequency =

1

2

1

Thus the region which has overqrowth has its number as ( eucledian distance)

2

Summing up the mahalanobis distance matrix and storeing its sum in g

g =

14.9723

22.2976

16.9779

The region 2 is infected with cancer(mahalanobis distance)

To check out which matrices are non zero to zero upon the infected area

nonzeromatrices =

1

3

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

Overgrowth is in bottom right partr

Overgrowth is in bottom left partr

The overgrowth can be precisely said in bottom direction of 2 region

The percentage change in perimeter of infected region 2 is 1.991717e+001

The percentage change in area of infected region 2 is 1.413624e+001

Discussion:  As we can make up from the image itself that region 2 has gone growth, so does is being indicated in the results.

Case7:

Description: This is the test image. It is supposed to be obtained from a person who has come up for check up.

Fig: 5.8 Test image

The objects detected in reference image are 3

The objects detected in test image are 3

The intra matrix of test image is as follows

intratest =

200.5777  166.9864  174.2346

200.7002  167.4505  170.0884

239.4851  251.9007  315.5785

239.7094  251.2255  315.5022

172.8768  191.9484  157.9000

172.8840  191.9244  149.9652

249.7454  260.1335  275.8530

248.1412  260.2267  273.1807

The inter cellular matrix of test image is as follows

intertest(:,:,1) =

1.0e+003 *

0.7516    0.7521    0.9213    0.9237    1.0315    1.0312    0.7791    0.7771

0.7510    0.7516    0.9207    0.9230    1.0312    1.0309    0.7790    0.7770

0.4524    0.4528    0.6133    0.6158    0.7627    0.7625    0.5739    0.5720

0.4505    0.4509    0.6116    0.6141    0.7607    0.7606    0.5720    0.5700

0.4957    0.4965    0.6858    0.6874    0.6991    0.6986    0.4128    0.4109

0.4982    0.4991    0.6884    0.6900    0.7005    0.7001    0.4134    0.4115

0.7702    0.7711    0.9607    0.9622    0.9408    0.9402    0.6214    0.6197

0.7748    0.7757    0.9652    0.9667    0.9478    0.9472    0.6291    0.6274

intertest(:,:,2) =

1.0e+003 *

0.8317    0.8416    1.2331    1.2332    1.0212    0.9939    0.6849    0.6799

0.8307    0.8406    1.2321    1.2322    1.0203    0.9929    0.6839    0.6790

0.6462    0.6557    1.0098    1.0097    0.7583    0.7296    0.4247    0.4241

0.6468    0.6563    1.0099    1.0098    0.7580    0.7293    0.4246    0.4241

0.9188    0.9281    1.2621    1.2619    0.9876    0.9586    0.6723    0.6750

0.9216    0.9309    1.2651    1.2649    0.9906    0.9616    0.6753    0.6780

1.1208    1.1306    1.4933    1.4933    1.2362    1.2073    0.9070    0.9071

1.1191    1.1290    1.4928    1.4928    1.2369    1.2080    0.9071    0.9070

intertest(:,:,3) =

1.0e+003 *

0.7479    0.7538    0.9546    0.9541    0.6455    0.6201    0.4609    0.4728

0.7474    0.7532    0.9537    0.9532    0.6446    0.6192    0.4604    0.4723

0.7471    0.7508    0.8688    0.8682    0.5622    0.5418    0.4870    0.5008

0.7499    0.7536    0.8708    0.8701    0.5643    0.5440    0.4899    0.5038

1.0751    1.0799    1.2142    1.2135    0.9086    0.8884    0.7964    0.8092

1.0756    1.0804    1.2149    1.2142    0.9093    0.8891    0.7968    0.8096

1.0736    1.0808    1.3160    1.3155    1.0081    0.9821    0.7851    0.7946

1.0722    1.0795    1.3150    1.3146    1.0072    0.9812    0.7837    0.7932

The interdifference lattice from comparison of test and refernce lattice is as

interdifference(:,:,1) =

-4.6247    3.7304  -18.8912  -14.2511  -16.8159  -22.1237   -4.0105  -15.9593

-5.1942    3.1323  -19.5368  -14.8886  -17.1785  -22.4572   -4.1135  -16.0653

19.0387   25.8483    5.9778   10.8086    4.2018    1.4222   12.6197    0.9224

-3.2569    3.9336  -14.0091   -9.3156  -20.3482  -23.2326  -11.7088  -23.3693

9.2887   22.0775   -5.8337   -2.7944   -0.0293   -8.1867   11.4019   -0.3214

33.2912   46.3247   18.4948   21.3656   15.0304    6.3330   18.3070    6.8262

9.0482   22.2279   -5.8308   -3.0276   -3.0875  -13.5386    4.3484   -5.6260

4.9132   18.0895   -9.9020   -7.1123   -9.3528  -19.7995   -2.4936  -12.4670

interdifference(:,:,2) =

-3.6453   -3.6376 -130.2760 -127.4273  -37.4902  -12.0718  -16.3628  -15.1060

-4.6461   -4.6384 -131.2599 -128.4060  -38.4572  -13.0416  -17.3278  -16.0747

9.1287    9.1179 -123.3728 -123.6795  -15.9622   10.7217    6.4616    6.8833

17.1480   17.0237 -122.2609 -123.1130  -18.4205    8.2675    6.7265    7.8331

-1.2083   -1.2717 -139.0804 -141.7092  -26.2828    0.7033   -3.4416   -3.4396

24.6922   24.6715 -111.4432 -113.9981    1.6461   28.6320   23.9040   23.8010

6.8987    6.8480 -129.2996 -130.1024  -22.4810    4.4431    0.7136    1.1761

8.3744    8.3108 -128.8803 -129.6759  -23.1265    3.7814    0.6199    1.2081

interdifference(:,:,3) =

1.1917    0.9439 -138.6064 -147.9185  -17.6877    6.0792    9.4255    8.0622

-7.0547   -7.4415 -151.0243 -160.5004  -30.2776   -6.5062    2.5129    1.3024

-1.9064   -2.0040 -126.3324 -138.3731   -6.4225   12.5947    7.5923    5.6510

3.7305    3.6069 -121.8594 -134.0074   -1.8194   17.1352   13.5473   11.6078

-7.5906   -7.7806 -134.1410 -146.4138  -14.9692    3.9490    1.5762   -0.1081

-0.2343   -0.3073 -123.0710 -135.2026   -4.2310   14.6830    7.5343    5.7691

6.1731    5.9940 -133.5948 -142.1310  -12.6195   11.6413   10.4266    9.4360

-2.3543   -2.4777 -139.6845 -148.0600  -18.4510    5.8211    1.9778    0.8996

The new interdiffernce lattice after taking into account experimental errors and medical relaxation is

newinterdifference(:,:,1) =

0     0     0     0     0     0     0     0

0     0     0     0     0     0     0     0

0     0     0     0     0     0     0     0

0     0     0     0     0     0     0     0

0     0     0     0     0     0     0     0

0     0     0     0     0     0     0     0

0     0     0     0     0     0     0     0

0     0     0     0     0     0     0     0

newinterdifference(:,:,2) =

0         0  130.2760  127.4273         0         0         0         0

0         0  131.2599  128.4060         0         0         0         0

0         0  123.3728  123.6795         0         0         0         0

0         0  122.2609  123.1130         0         0         0         0

0         0  139.0804  141.7092         0         0         0         0

0         0  111.4432  113.9981         0         0         0         0

0         0  129.2996  130.1024         0         0         0         0

0         0  128.8803  129.6759         0         0         0         0

newinterdifference(:,:,3) =

0         0  138.6064  147.9185         0         0         0         0

0         0  151.0243  160.5004         0         0         0         0

0         0  126.3324  138.3731         0         0         0         0

0         0  121.8594  134.0074         0         0         0         0

0         0  134.1410  146.4138         0         0         0         0

0         0  123.0710  135.2026         0         0         0         0

0         0  133.5948  142.1310         0         0         0         0

0         0  139.6845  148.0600         0         0         0         0

The lattice arriving from mahalanobis distance is as

r =

1.2585    1.2573    2.1593    2.1812    2.5131    2.5055    2.1504    2.0970

0.3153    0.3157    1.3298    1.3522    4.3985    4.3939    2.4078    2.4063

0.6589    0.6394    3.6728    3.6757    3.8033    3.7615    3.7124    3.3901

The frequency matrix declares the maximum times a lattice involved in deviation

frequency =

1

1

2

Thus the region which has overqrowth has its number as ( eucledian distance)

3

Summing up the mahalanobis distance matrix and storeing its sum in g

g =

16.1222

16.9194

23.3140

The region 3 is infected with cancer(mahalanobis distance)

To check out which matrices are non zero to zero upon the infected area

nonzeromatrices =

2

3

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

Overgrowth is in right top part

Overgrowth is in right bottom part

The overgrowth can be precisely said in right direction of 3 region

The percentage change in perimeter of infected region 3 is 2.254724e+001

The percentage change in area of infected region 3 is 2.012633e+001

Discussion:  As we can make up from the image itself that region 3 has gone growth, so does is being indicated in the results.

Case8:

Description: This is the test image. It is supposed to be obtained from a person who has come up for check up.

Fig: 5.9 Test image

The objects detected in reference image are 3

The objects detected in test image are 3

The intra matrix of test image is as follows

intratest =

196.9389  165.4966  156.0721

197.2579  173.8304  153.5128

233.5292  247.7903  217.3471

235.8219  245.4852  219.7718

162.8304  185.8856  152.1733

163.6014  185.3479  151.2983

248.3739  259.6395  245.6686

248.1607  259.8912  243.0936

The inter cellular matrix of test image is as follows

intertest(:,:,1) =

1.0e+003 *

0.7469    0.7558    0.9024    0.9094    1.0147    1.0091    0.7751    0.7611

0.7458    0.7547    0.9011    0.9082    1.0141    1.0085    0.7749    0.7610

0.4714    0.4786    0.6193    0.6266    0.7669    0.7640    0.5865    0.5729

0.4473    0.4549    0.5976    0.6048    0.7404    0.7373    0.5603    0.5467

0.5050    0.5186    0.6800    0.6846    0.6990    0.6904    0.4242    0.4105

0.5315    0.5454    0.7069    0.7113    0.7156    0.7064    0.4317    0.4183

0.7793    0.7933    0.9548    0.9592    0.9377    0.9266    0.6257    0.6141

0.7797    0.7938    0.9553    0.9596    0.9385    0.9274    0.6266    0.6149

intertest(:,:,2) =

1.0e+003 *

0.8280    0.8380    1.1028    1.1058    0.9837    0.9818    0.6685    0.6648

0.8260    0.8360    1.1008    1.1038    0.9818    0.9799    0.6666    0.6629

0.6553    0.6649    0.8864    0.8860    0.7424    0.7404    0.4311    0.4310

0.6639    0.6734    0.8876    0.8867    0.7396    0.7376    0.4313    0.4319

0.9176    0.9269    1.1230    1.1202    0.9613    0.9593    0.6689    0.6716

0.9463    0.9556    1.1536    1.1509    0.9923    0.9903    0.6992    0.7018

1.1277    1.1375    1.3640    1.3632    1.2137    1.2117    0.9077    0.9083

1.1275    1.1373    1.3640    1.3631    1.2138    1.2118    0.9077    0.9082

intertest(:,:,3) =

1.0e+003 *

0.7491    0.7548    0.8160    0.8062    0.6278    0.6262    0.4703    0.4809

0.7403    0.7458    0.8027    0.7927    0.6144    0.6127    0.4629    0.4736

0.7452    0.7488    0.7425    0.7298    0.5558    0.5544    0.4946    0.5065

0.7536    0.7572    0.7489    0.7361    0.5625    0.5611    0.5035    0.5154

1.0675    1.0721    1.0800    1.0671    0.8937    0.8923    0.7980    0.8091

1.0754    1.0801    1.0918    1.0790    0.9051    0.9038    0.8043    0.8154

1.0798    1.0868    1.1824    1.1734    0.9955    0.9937    0.7955    0.8040

1.0699    1.0770    1.1754    1.1665    0.9888    0.9870    0.7857    0.7941

The interdifference lattice from comparison of test and refernce lattice is as

interdifference(:,:,1) =

0     0     0     0     0     0     0     0

0     0     0     0     0     0     0     0

0     0     0     0     0     0     0     0

0     0     0     0     0     0     0     0

0     0     0     0     0     0     0     0

0     0     0     0     0     0     0     0

0     0     0     0     0     0     0     0

0     0     0     0     0     0     0     0

interdifference(:,:,2) =

0     0     0     0     0     0     0     0

0     0     0     0     0     0     0     0

0     0     0     0     0     0     0     0

0     0     0     0     0     0     0     0

0     0     0     0     0     0     0     0

0     0     0     0     0     0     0     0

0     0     0     0     0     0     0     0

0     0     0     0     0     0     0     0

interdifference(:,:,3) =

0     0     0     0     0     0     0     0

0     0     0     0     0     0     0     0

0     0     0     0     0     0     0     0

0     0     0     0     0     0     0     0

0     0     0     0     0     0     0     0

0     0     0     0     0     0     0     0

0     0     0     0     0     0     0     0

0     0     0     0     0     0     0     0

The new interdiffernce lattice after taking into account experimental errors and medical relaxation is

newinterdifference(:,:,1) =

0     0     0     0     0     0     0     0

0     0     0     0     0     0     0     0

0     0     0     0     0     0     0     0

0     0     0     0     0     0     0     0

0     0     0     0     0     0     0     0

0     0     0     0     0     0     0     0

0     0     0     0     0     0     0     0

0     0     0     0     0     0     0     0

newinterdifference(:,:,2) =

0     0     0     0     0     0     0     0

0     0     0     0     0     0     0     0

0     0     0     0     0     0     0     0

0     0     0     0     0     0     0     0

0     0     0     0     0     0     0     0

0     0     0     0     0     0     0     0

0     0     0     0     0     0     0     0

0     0     0     0     0     0     0     0

newinterdifference(:,:,3) =

0     0     0     0     0     0     0     0

0     0     0     0     0     0     0     0

0     0     0     0     0     0     0     0

0     0     0     0     0     0     0     0

0     0     0     0     0     0     0     0

0     0     0     0     0     0     0     0

0     0     0     0     0     0     0     0

0     0     0     0     0     0     0     0

The lattice arriving from mahalanobis distance is as

r =

2.1962    2.1937    1.6391    1.7552    1.2606    1.2104    1.8729    1.8718

1.1248    1.1357    1.3184    1.3019    2.3578    2.2896    2.1898    2.2818

2.2402    2.2355    1.4933    1.4788    1.2011    1.1958    2.1309    2.0243

The frequency matrix declares the maximum times a lattice involved in deviation

frequency =

0

0

0

Summing up the mahalanobis distance matrix and storeing its sum in g

g =

14.0000

14.0000

14.0000

No cancer detected but consults a doctor to be on safer side.

Discussion: As we can make up from image itself that it is identical to reference so does is been indicated in the results.

5.2 MRI Images

Reference Image

Fig: 5.10 MRI Reference image

Description: This is the reference image through which various test images will be tested. Though it is cancerous (lets suppose it to be of Stage 1) but still we are taking it as reference.

Fig: 5.11 Test image

Discussion: Here 4 objects are detected.

Test Image:

Fig: 5.12 MRI Test image

Description: This is test image. It must bifurcate into similar objects to start off with comparison with the reference image.

Fig: 5.13 Test image

Discussion: Here the number of objects detected was 8. Now as the number of objects and their position don’t hold any resemblance with the reference so we cannot proceed further.

Options such as trying various kinds of structuring element, grey level threshold for converting to binary were also tried to a great extent but all in vain. The bifurcation was not closed to similar of both images in any case.

Chapter 6

Summary and Conclusions

6.1 Summary

Through the above obtained results, it can be stated that though the handmade images were out quite competently but while working on realistic data a major issue of segmentation crops up. Contrast, zooming factor, lens opening of camera and distance from camera plays quite an important role in how an image will be segmented. Thus all these facts need to be kept in mind while feeding two images to the system to be compared.

To the best of our knowledge and with the best utilization of available time we have been able to come up with these results. Though for making a sincere headway in this field the effort is meager one but not worthless.

6.2 Achievements

- The given program when coupled with MRI techniques will provide comments about the status of cancerous tissue at MRI evaluation itself. Thus helping out of an situation of emergency for the time being till correct evaluation of reports take place.

- The project even aims to verify the conclusions as obtained through the doctor. Thus reducing the discrepancy on the part of doctor if any.

- The watershed principle using morphological functions is quite faster than other segmentation approaches. Thus some day after refinement if the product is used commercially it will even result in faster evaluation of data and procurements of results.

- In depth analysis and accuracy in evaluation of cancerous tissues is what is aimed at through this project.

6.3 Drawbacks:

- If two or more tissues undergo a growth simultaneously the program fails to figure out those and unexpected results are to follow.

- If a tissue overgrowth compresses the neighborhood tissues the inter distance between the two will remain same and thus cancer won’t be detected.

- The program relies on regionprops(‘Extrema’) function for generating points on the periphery of objects detected, this sometimes misses the exact point of overgrowth.

- Watershed algorithm when applied to actual MRI images or sometimes to our handmade images often result in improper segmentation or over segmentation. Thus the tissue shapes that are desired undergo severe changes.

- Unequal segmentation between test image and reference image through watershed is a common place in our project thus rendering to the failure of entire software.

- Bridge between watershed algorithm outputs and further processing of data is missing due to un identical segmentation of reference and test images.

- Focusing and zooming errors of camera can introduce severe discrepancies and could severely affect the least count of algorithm.

6.4 Proposals for future:

- An improved and faster segmentation technique will help bridge the gap between segmentation of image and further processing of data.

- A quantized approach to obtain points on periphery of objects detected will help increase the level of accuracy to manifold.

- Special cases of more than one tissue undergoing an overgrowth or one tissue overgrowth suppressing others needs to be taken care of into the software.

- Applying of above stated algorithm on more realistic data will help get a better insight into the project.

References

- National cancer Control Programme Policies and Managerial Guidelines, IInd Edition, World Health Organisation, Stener Kvinnsiand, Oslo, May 2002.

- www.who.int

- Jeffery Zhi-jie Zheng, Liang Lu, Yinfu Xie. “towards automated image analysis,” IEEE international conference on vol. issue June 2005.

- Carl J. D’Orsi , Early Detection of breast cancer : Mammography, Breast Cancer Research and Treatment, (1991), May; 18(1):107-09.

- H.S.Sheshadri and A. Kandaswamy, “detection of breast cancer tumour based on morphological watershed algorithms” ICGST-GVIP journal, Vol. 5, issue 5, May 2005.

- Jean-Philippe Thiran, Benoit Macq, “morphological feature extraction for the classification of digital images of cancerous tissues”, IEEE transaction on biomedical engineering 1996.

- Jong-Chen-Chen, Chun-Ming Yeh, Jeh-En Tzeng, “Pattern differentiation of glandular cancerous cells and normal cells with cellular automata and evolutionary learning”,  Expert Systems with Applications: An International Journal 2008, Jan ; 34 (1) : 337-46.

- Laurence P. Clarke, Barbara Y. Croft, and Edward Staab, “New NCI Initiatives in Computer Aided Diagnosis”, SPIE Feb. 2000

- B.Weyn, GVan De Wouwer, M. Koprowski, A.Van Daele, K. Dhaene, P. Scheunders, W. Jacob, and E. Van Marck, “ Value of morphometry, texture analysis, densitometry and histometry in the differential diagnosis and prognosis of malignant mesothelioma,” Journal of Pathology, 180, pg 581-589, 1999

- A. Bernasconi, S.B. Antel, D.L. Collins, N Bernasconi, A. Olivier, F. Dubeau, G.B. Pike, F. Andermann and D.L. Arnold, “Texture analysis and morphological processing of magnetic resonance imaging assist detection of focal cortical dysplasia in extra-temoral partial epilepsy,” Annals of Neurology, 49, 2001.

- J.K.Shuttleworth, A.G. Todman, R.N.G.Nauib, B.M. Newman and M.K. Bennett, “Multiresolution colour texture analysis for classifying colon cancer images,” Proceddingsof the Second Joint EMBS/BMES Conference, Houston, TX, USA, 23-26 Oct 2002.

- Yuan-Lie He, Lian-Fang Tian, Chun-Mei Zhu, Ping Chen, Bin Li, Zong-Yuan Mao, “Development Of Intelligent Diagnosis and Report System Based On Whole Body Bone Spect Image” , Proceedings of the Fourth International Conference on Machine Learning and Cybernetics, Guangzhou, 18-21 August 2005.

- S. Goldenstein, C. Vogler, L. Velho, “Adaptive deformable models for graphics and vision”, Computer Graphics Forum, 24 (4) pp.729-741, 2005.

- Kass. M, Witkin. A, Terzopouls. D, “Snake: active contour models”, Proceeding of International Journal of Computer Vision, Vol.1, No.4, pp. 321–331, 1987.

- Germain. O, Refregier. P, “Edge location in SAR images: Performance of the likelihood ratio filter and accuracy improvement with an active contour approach” , IEEE Transactions on Image Processing, Vol. 10, No. 1, pp.72-78, 2001.

- Leymarie. F, Levine. M. D, “Tracking deformable objects in the plane using an active contour model”, IEEE Transl. on PAMI, Vol. 15, pp. 617–634,1993.

- Terzopoulos. D, Szeliski. R, “Tracking with Kalman snakes”, Artificial Intelligence, USA: MIT Press, pp. 3–20, 1992.

- Jin-Yong, Yi-Hui Liu, “ Human body Image segmentation based on Wavelet Aanlysis and active contours Models”, International Conference on Wavelet Analysis and Pattern Recognition, Beijing, China, 2-4 Nov. 2007.

- Dave Tahmoush, “Image differencing approaches to medical image classification”, 36th Applied Imagery Pattern Recognition Workshop

- Luc Vincent, Morphological Algorithms pg 255-287.

- www.mathworks.com/company/newsletters/news_notes/win02/watershed

- Bernhard Ganter, Formal Concept Analysis: Methods and Applications in Computer Science pg 7-36.

- www.mathworks.com/products/image/demos

- www.blogs.mathworks.com/steve/2006/06/02/cell-segmentation

- www.blogs.mathworks.com/steve/2006/11/17/labeling-labeled-objects

- Peter J. Acklam, MATLAB array manipulation tips and tricks pg 4-25

- Simon Vinitski, Ph.D., Carlos, Gonzalez, M.D., Claudio, Burnett, M.D., William

Buchheit,M.D., Feroze Mohamed., M.S., Hector Ortega, M.D., Scott Faro, M.D,” 3D

Segmentation in MRI of Brain Tumors: Preliminary Results, 1995 JEEF-EMBC and

CMBEC.

- Albert K.W. Law, F.K Lam, Francis H.Y. Chan,” A FAST DEFORMABLE REGION MODEL FOR BRAIN TUMOR BOUNDARY EXTRACTION”, Proceedings of the Second Joint EMBS/BMES Conference Houston, TX, USA* October 23-26-2002

- Hui Zhu, Francis.H.Y.Chan, F.K.lam and Paul W.F.Poon,” A DEFORMABLE REGION MODEL FOR LOCATING THE BOUNDARY OF BRAIN TUMOR”, 1995 IEEE-MBC and CMBEC.

- Azzedine Boukerche, Haifa Maamar and Abu Hossain,” A Performance Evaluation of a Hybrid Multicast Transport protocol For a distributed Collaborative Virtual Simulation of a Brain Tumor Tele- Surgery Class of Application”,

- Department of Radiology, Pediatrics and Pathology 	Keck School of Medicine,” A Non- invasive, Multi-modality Approach Based on NIRS and MRI Techniques for Monitoring Intracranial Brain Tumor Angiogenesis”,

- Dept. of Electrical Engineering Nagoya University, Nagoya 464-01, Japan, Dept. of Biotechnology Engineering Nagoya University, Nagoya 464-01, Japan, Dept. of Neurosurgery Medicine, Nagoya University, Nagoya 466, Japan ,” POSITION SENSING OF MAGNETITE GEL USING MI SENSOR FOR BRAIN TUMOR DETECTION “, IEE TRANSPORT IN MAGBETUCS. VOL. 33, NO. 5, SEPTEMBER 1997.

- Institute of Computer and Information Science  National Chiao –Tung University 		     Hsin –Chu, Taiwan, R.O.C.,” A BRAIN TUMOR DIAGNOSTIC SYSTEM WITH AUTOMATIC ARNING ABILITIES”

- “Hausdorff Distance based 3D Qualification of Brain Tumor Evolution from MRI Images”, Proceeding of the 29th Annual International Conference of the IEEE EMBS Cite International, Lyon, France August 23-26, 2007.

- Y.Y.B.Lee, Y.Huang, W.EI- Deredy, P.J.G.Lisboa,	 C.Arus and P. Harris ,” MEDICAL SIGNAL PROCESSING”.

- “Diffusion Tensor Visualization with Glyph Packing”, IEEE TRANSCTIONS ON VISUALIZATION AND COMPUTER GRAPHICS, VOL.12, NO.5, SEPTEMBER/OCTOBER 2006.

- ROBUST METHODOLOGY FOR THE DISCRIMINATION OF BRAIN TUMOURS FROM IN VIVO MAGNETIC RESONANCE SPECTRA

- Mark Schmidt, Ilya Levner, Russell Greiner, Albert Murtha, Aalo Bistritz,” Segmenting Brain Tumors using Alignment-Based Features”, Proceedings of the Fourth International Conference on Machine Learning and Applications (ICMLA’05).

- Abdel-Halim Elamy    Maidong Hu,”Mining Brain Tumors and Tracking their Growth Rates “.

- Y. Shindo, K. Kato, K. Tsuchiya, T. Yabuhara, T. Shigihara, R. Iwazaki, T. Uzuka, H. Takahashi and Y. Fujii ,” Heating Properties of Re-entrant Resonant Applicator for Brain Tumor by Electromagnetic Heating Modes” Proceedings of the 29th Annual InternationalConference of the IEEE EMBS Cité Internationale, Lyon, France August 23-26, 2007.

- Jean-Baptiste Poullet , M Carmen Martinez-Bisbal , Dani Valverde , Daniel Monleon

Bernardo   Celda2,   Carles A,  and  Sabine  Van  Huffel, ”  Quantiﬁcation  and

classiﬁcation of high-resolution magic angle spinning data for brain tumor diagnosis”

Proceedings of the 29th Annual International Conference of the IEEE EMBS Cité

Internationale, Lyon, France August 23-26, 2007.

- Evangelia I. Zacharaki , Cosmina S. Hogea,George Biros, Member, IEEE, and Christos Davatzikos, Senior Member, IEEE,” A Comparative Study of Biomechanical Simulators in Deformable Registration of Brain Tumor Images”, IEEE TRANSACTIONS ON BIOMEDICAL ENGINEERING, VOL. 55, NO. 3, MARCH 2008

- Azzedine Boukerche, Haifa Maamar and Abu Hossain,” A Performance Evaluation of a Hybrid Multicast Transport Protoco for a Distributed Collaborative Virtual Simulation of a Brain Tumor Tele-Surgery Class of Applications” 2007 IEEE

- Jason J. Corso*, Member, IEEE, Eitan Sharon, Shishir Dube, Suzie El-Saden, Usha Sinha, and Alan Yuille, Member, IEEE,” Efﬁcient Multilevel Brain Tumor Segmentation With Integrated Bayesian Model Classiﬁcation”, IEEE TRANSACTIONS ON MEDICAL IMAGING, VOL. 27, NO. 5, MAY 2008