A

DISSERTATION

ON

EFFECT OF STIFFNESS OF BEAM ON THE BEHAVIOUR OF RCC FRAMED CONSTRUCTION

SUBMITTED IN PARTIAL FULFILLMENT OF THE REQUIREMENT

FOR THE AWARD OF THE DEGREE OF

MASTER OF ENGINEERING

(CIVIL ENGINEERING)

SUBMITTED BY:

KAPIL SHARMA

COLLEGE ROLL NO: 06/STR/08

UNIVERSITY ROLL NO. 8486

Under the esteemed Guidance of:

MR. ALOK VERMA

(LECTURER)

DEPARTMENT OF CIVIL & ENVIRONMENT ENGINEERING

DELHI COLLEGE OF ENGINEERING

UNIVERSITY OF DELHI

2008-2010

CERTIFICATE

DELHI COLLEGE OF ENGINEERING

(Govt. of  National Capital Territory of  Delhi)

BAWANA ROAD, DELHI – 110042

Date: ______________

This is certified that the dissertation entitled “Effect Of Stiffness Of Beam On Behaviour Of RCC Framed Construction” is a work of Mr.Kapil Sharma (University Roll No- 8486) a student of Delhi College of Engineering. This work is completed under my direct supervision and guidance and forms a part of master of engineering (Structure Engineering) course and curriculum. He has completed his work with utmost sincerity and diligence.

The work embodied in this major project has not been submitted to any other Institute/University for the award of any other degree to the best of my knowledge.

ALOK VERMA

( Project Guide )

Lecturer

Department of Civil & Environmental Engineering.

Delhi College of Engineering,

University of Delhi, India

ACKNOWLEDGEMENT

It is distinct pleasure to express my deep sense of gratitude and indebtedness to my  supervisor Mr. ALOK VERMA Lecturer, Department of Civil & Environmental Engineering, Delhi College of Engineering, for his invaluable guidance, encouragement and patient reviews. His continuous inspiration only has made me complete this dissertation. Without his help and guidance, this dissertation would have been impossible. He remained a pillar of help throughout the project.

I would also like to take this opportunity to present my sincere regards to all my teachers those who came to my help in some way for marking the project successful. I am also thankful to all non-teaching staff of Civil Engineering Department for providing me unconditional and any time access to the resources.

I am grateful to my parents for their moral support all the time; they have been always around to cheer me up, in the odd times of this work. I am also thankful to my classmates for their unconditional support and motivation during this work. Last but not least, I special thanks to the crowd who are active in the field of Structure Engineering from whom I got the knowledge and inspiration to take up this field for my project work.

KAPIL SHARMA

Master of Engineering

(Structure Engineering)

College Roll No. - 06/STR/08

University Roll No.  - 8486

Department of Civil & Environmental Engineering

Delhi College of Engineering, Delhi-110042

Table Of Contents

Abstract………………………………………………………….5

Objectives of the Project...……………………………………..6

CHAPTER ONE

Literature Survey……………………………………………..7-14

CHAPTER TWO

General Methodology for Building Analysis………………15-17

CHAPTER THREE

Numerical Study..........................................................................18-25

CHAPTER FOUR

Analysis Of Results …………………………………………   26-46

CHAPTER FIVE

Comparative study of various

Structural Analysis Factors ……………………………47-56

CHAPTER SIX

Conclusions …………………………………………….57

CHAPTER SEVEN

Scope of Further Study……………………………………….58

References………………………………………………59

Abstract

Buildings are designed primarily to serve the needs of an intended occupancy, whether residential, commercial, or, in some cases, a combination of the two. The dominant design requirement is therefore the provision of an appropriate internal layout of the building.

The common practice of building construction is a framed structure i.e Beams and columns, with slab resting on beams. But nowadays new type of construction was found in building i.e. slab on columns (without beam),some pictures are shown in this report using this type(Without beam) of construction. This report tries to find the changes in the various structural parameters with two different types of construction.

The change in type(without beam) of construction effects the various structural parameters in building .This aspect can be studied by modeling the building with variation in beam stiffness and comparing various parameters like the displacement in building, column reactions and forces generated in building, base shear developed in building. Similarly the same parameters studied for different earthquake zones of India. This report analyzes the different types of construction effect by repeating numerical study for different earthquake zones of India.

Objectives of Project

The various objectives of this project report are listed below.

- To study the present state of art and state of practice for Building Design by literature survey and by carrying out visits to various building construction locations..

- To study the Codes and guidelines applicable to buildings.

- To carry out a numerical analysis of buildings and study the following:

  - Effect of Stiffness of beam when slab load is applied in the form of floor load.

  - Effect of stiffness of beam when slab is taken as plate element in modeling.

  - Effect of zero stiffness of beam when only slab is taken as plate element in modeling resting on columns.

- Comparing the results obtained from the three cases of Building design.

- To suggest the scope of further study.

Chapter One

Literature Survey

1.1 Introduction

Rational studies along with a knowledge regarding the performance of buildings in earthquakes show that the building architectural design would create maladjustments in building space forming elements that would not only decrease the seismoresistant capacity of the building but also become the cause of collapse of building. It is believed that a structural analysis in itself is not sufficient to ensure the seiesmoresistant stability of the buildings. An integral seismoresistant system must be necessary, in which all components of the buildings can be positively interact during the seismic action. A real compatibility between the architectural and the structural design avoids a stepping of the seismoresistant capacity of the building and also provides a positive, efficient and integral seismic resistant system. Several studies and recommendations have been carried out to avoid situations affecting negatively the building’s earthquake resistant behavior. These studies enable architects to develop a systematic study and a methodology to be applied to the architectural design of buildings to optimize earthquake resistant capacity. This study is called seismoresistant building architecture. The main objective of seismoresistant building architecture is to prevent stepping of seismoresistant capacity of building and to optimize seismoresistance.The major aspects involved in seismoresistant building construction are: (i) selection of load resisting system; (ii) its configuration system; (iii) its basic dynamic characteristics and (iv) its construction quality.

1.2 Lateral Load Resisting Systems

The first step in architectural planning of a building is to select the lateral load resisting system. The load resisting system must be of closed loops, so that it is able to transfer all the forces acting either vertically or horizontally to the ground. Bureau of Indian Standards (BIS) has approved three major types of lateral force resisting system in the code IS 1893 (Part 1):2002.These consists of moment resisting building frame system, bearing wall system and dual system. These systems are further subdivided into types of construction material used. Table 7 of IS 1893(Part 1): 2002 lists the different framing system and response reduction factors. Response reduction factor(R) is basically an indicator of the performance of the structure in earthquakes. A low value of R(=1.5) indicates an extremely earthquake prone building i.e. unreinforced masonary buildings and a high value of R(=5) indicates an earthquake-resistant type building like special moment resistant reinforced concrete frame or shear wall buildings. In this report we will discuss Moment resisting system with different stiffness of beams.

1.3 Moment Resisting Frame

In building frame system, the members (Columns and beams) and joint of frame are resisting the earthquake forces, Primarily by flexure. This system is generally preferred by architects because they are relatively unobtrusive compared to the shear walls or braced frames, but there may be poor economic risk unless special damage control measures are taken. Slab column frames are not recommended as a lateral load resisting system. So based on Moment resisting frame, three cases has been considered in this report with changes in modeling of slab or can say different stiffness of beam. Three Cases are:-

Case 1:- Modeling of simple framed structure comprised of beam column & floor load is applied on that.

Case 2:- Modeling of simple framed structure comprised of Column & slab (which is taken as plate element) with no beam.

Case 3:- Modeling of simple framed structure comprised of beam, column & slab (which is taken as plate element).

1.4 Modeling Of Floor Diaphragms

Based on our three cases modeling of slab is done in case 2 & 3, under seismic action floor, slabs play an important role of transmitting inertial loads to the frame and tying together elements of the later into 3D entity. To perform these roles, slabs should be adequately connected with their supporting beams, walls and columns. The slabs are modeled in two ways: (i) rigid diaphragms; (ii) flexible floor diaphragms. In this report we use rigid diaphragms, so will discuss the rigid diaphragms.

1.5 Modeling of Rigid Diaphragms

The in-plane stiffness of floor should be properly recognized and included in the model. The most convenient way of doing this is by introducing at each floor level an additional node termed ‘Master’ node with 3 DOFs: two translations and a rotation about normal to plane of the floor. The master node is placed close to the centroid of the plan of floor and should not coincide with other floor nodes. The other corresponding 3 DOFs of all floor nodes, called Slaves are related to those of the master node through a 3 x 3 transfer matrix. If the floor is horizontal, all these master and slave DOFs refer to global co-ordinate system and the slave DOFs can be condensed and only master node DOFs is left.

1.6 Case 3 Study:- Rohini Sec-16,Delhi

Case 3:- Structure with flat plate slab with no beams

Case 3:- Structure with flat plate slab with no beams

1.7 Seismic Load

The seismic load analysis in our country is done in accordance with IS: 1893-2002. The Part I of the code deals with the criteria for design of earthquake resistant buildings.

The horizontal base shear VB as per IS 1893-2002 is given by

VB =  Ah  * W

Where,

Ah = design horizontal seismic coefficient

W = effective weight of the structure

The design horizontal seismic coefficient Ah for a structure shall be determined by the following expression:

Ah =  Z I Sa 					(1)

2 R g

Where,

Z 	  = zone factor as given in table below.

I 	  = importance factor

R 	  = Response Reduction factor

Sa / g  = Average response acceleration coefficient for rock or soil sites as given by the figure below.

| Seismic Zone | II | III | IV | V |
| --- | --- | --- | --- | --- |
| Intensity | Low | Moderate | Severe | Very Severe |
| Z | 0.1 | 0.16 | 0.24 | 0.36 |

Figure giving Response Spectra for 5% damping

The code specifies two methods for calculating design seismic force and its distribution to different levels along the height of the structure. These methods are namely static and dynamic analysis. Since this report does the dynamic analysis by the response spectrum method, this method is discussed below.

According to this method,

Design lateral force at each floor in each mode is given by

Qik = AK * Φik * PK * Wi

Where,

Ak 	= Design horizontal acceleration spectrum value as per (1) using the natural period of vibration (TK ) of mode k.

Φik 	= Mode shape coefficient at floor I in mode k.

Wi 	= seismic weight of floor i.

PK 	= modal participation factor of mode k.

The base shear is obtained by adding the design lateral force at each floor starting from the top storey. The peak storey shear force in storey i due to all modes considered is obtained by combining those due to each mode as per Complete Quadratic Combination method.

1.8 Codes for Building Design

The following Codes are generally used for analyzing & designing of building in India.

- IS 1893 -1984: Criteria for Earthquake Resistant Design of Structures (Part 1) General Provisions And Buildings.

- IS 456 -2000: Plain and Reinforced concrete-Code of practice.

3.  IS 875(Part 1)-1987:Code of practice for design loads(Other Than earthquake)

For buildings and structures, Part 1:- Dead Load.

4. IS 875(Part 2)-1987:Code of practice for design loads (Other Than earthquake)

For buildings and structures, Part 1:- Imposed Load.

Chapter Two

General Methodology for Building Analysis

The following paragraph discusses the general method followed for the analysis of the Building, that is, the steps to be followed for calculating the forces in the given building configuration for the loads as applicable.

Analysis of Building

2.1 Seismic Load Analysis

The effect of seismic forces on the buildings can be analyzed either by the static method or by the dynamic analysis. The fundamental difference between the two methods lies in their approach of calculation of the design seismic force and its distribution to different levels along the height of the structure.

The numerical problem in this report has been analyzed using the Response Spectrum Method. The design spectrum, as given by clause 6.4.2 of IS: 1893-2002, has been used to calculate the design horizontal acceleration spectrum value i.e. Ah.

The horizontal base shear VB as per IS 1893-2002 is given by

VB = Ah * W

where,

Ah = design horizontal seismic coefficient

W = effective weight of the structure

The forces and reactions obtained by the STAAD analysis are used for designing the individual members of the buildings.

2.2 Using STAAD

The analysis and design of building members has been carried out using the structural analysis and design software (STAAD 2006). The methodology used by the software in analysis is discussed below.

2.3 Stiffness Analysis

The stiffness analysis implemented in STAAD is based on the matrix displacement method. In the matrix analysis of structures by the displacement method, the structure is first idealized into an assembly of discrete structural components (frame members or finite elements). Each component has an assumed form of displacement in a manner which satisfies the force equilibrium and displacement compatibility at the joints.

2.4 Assumptions of the Analysis

For a complete analysis of the structure, the necessary matrices are generated on the basis of the following assumptions:

- The structure is idealized into an assembly of beam, plate and solid type elements joined together at their vertices (nodes). The assemblage is loaded and reacted by concentrated loads acting at the nodes. These loads may be both forces and moments which may act in any specified direction.

- A beam member is a longitudinal structural member having a constant, doubly symmetric or near-doubly symmetric cross section along its length. Beam members always carry axial forces. They may also be subjected to shear and bending in two arbitrary perpendicular planes, and they may also be subjected to torsion.

- Internal and external loads acting on each node are in equilibrium. If torsional or bending properties are defined for any member, six degrees of freedom are considered at each node (i.e. three translational and three rotational) in the generation of relevant matrices. If the member is defined as truss member (i.e. carrying only axial forces) then only the three degrees (translational) of freedom are considered at each node.

- Two types of coordinate systems are used in the generation of the required matrices and are referred to as local and global systems.

2.5 Seismic Load Input in STAAD

The seismic load analysis of the structures can be done using STAAD by employing the response spectrum method of dynamic analysis. The following steps are involved in this process.

1. User provides the value for Z*I/2R as factors for input spectrum.

2. Program calculates time periods for first six modes or as specified by the user.

3. Program calculates Sa/g for each mode utilizing time period and damping for each mode.

4. The program calculates design horizontal acceleration spectrum Ak for different modes.

5. The program then calculates mode participation factor for different modes.

6. The peak lateral seismic force at each floor in each mode is calculated.

7. All response quantities for each mode are calculated.

8. The peak response quantities are then combined as per method (CQC or SRSS or ABS or TEN or CSM) as defined by the user to get the final results.

Chapter Three

Numerical Study

In this report, 3 building case have been analyzed – in a set of four each located at different earthquake zones of INDIA. The building configuration is same for all of them. All the building is of same property i.e. plot area, beam size, column size etc.

Case 1:- Modeling of simple framed structure comprised of beam column & floor load is applied on that.

Case 2:- Modeling of simple framed structure comprised of Column & slab (which is taken as plate element) with no beam.

Case 3:- Modeling of simple framed structure comprised of beam, column & slab (which is taken as plate element).

3.1 Building Data

Number of Storey’s		=	3

Height of the building		=	9 m

Length of the building		=	4 m

Width of the building		=	12 m

Column size			=	0.3 m X .3 m

Beam size			=	0.3 m X 0.2 m

Concrete Grade used		=	M25

Steel Grade used		=	Fe 415

3.2 Seismic Data

Seismic Zone 			=	IV, III, II, I

Soil type			=	Medium Soil

The buildings have been analyzed for the following load combinations.

- Dead Load + seismic load in X direction

- Dead Load + seismic load in Z direction

Note: Suitable factors have been used in all cases as given in the Code.

For all cases, the building  has been analyzed for the following load combinations.

- Dead Load + Imposed Load.

- Dead Load + Imposed Load ± Earthquake Load.

- Dead Load ± Earthquake Load.

The seismic analysis has been carried in accordance to the IS: 1893 (Part-1)-2002.

All cases & building plan at the four seismic zones are given below.

The different results obtained are tabulated and discussed after the tabulation.

3.3 Load Calculation Input for STAAD:-

3.3.1 Dead Load

i) Self weight (defined in STAAD)

ii)Wall Load(considering 200mm thick wall)

Weight of Wall per sq.m= .2x20= 4 KN/m2

Height of Wall= 3-.3 = 2.7m

Weight Per m length= 4x2.7m= 10.8KN/m(for 1st  & 2nd  floor)

For Terrace (Considering 200mm thick,1m high parapet wall)

Weight Per m length= 4 KN/m (for terrace)

iii)Floor Load(Considering 150mm thick slab with 50mm floor finish)

For 1st & 2nd Floor

Self weight = .15 X 25 = 3.75 KN/m2

Floor Finish=.05 X 24 = 1.2 KN/m2 (For Case 2&3)

Total = 4.95 KN/m2 (For Case1 Only)

For Terrace Floor

Self weight = .15 X 25 = 3.75 KN/m2

Brick Coba =.12 X 24 = 2.88 KN/m2 (For Case 2&3)

Total = 6.63 KN/m2  (For Case1 Only)

3.3.2 Live Load

i)Floor Load.

For 1st & 2nd Floor = 2KN/m2

For Terrace Floor = 1.5KN/m2

Plan of the building

3.4 Case 1:- Modeling of simple framed structure comprised of beam column & floor load is applied on that.

3.5 Case 2:- Modeling of simple framed structure comprised of Column & slab (which is taken as plate element) with no beam.

3.6 Case 3:- Modeling of simple framed structure comprised of beam ,column & slab (which is taken as plate element).

3.7 LOAD CASES FOR CASE 1,2 & 3

Chapter Four

Analysis of Results

4.1 CASE 1:-STUDY

4.1.1 Ground Reaction Summary for Zone V

|  |  |  | Horizontal | Vertical | Horizontal | Moment |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Node | L/C | Fx N | Fy N | Fz N | Mx kNm | My kNm | Mz kNm |
| Max Fx | 9 | 16 1.5 DL + 1.5 EL IN X DIR | 75564.47 | 7.20E+05 | 48146.65 | 36.209 | 1.217 | 57.146 |
| Min Fx | 9 | 17 1.5 DL - 1.5 EL IN X DIR | -75564.5 | 2.84E+05 | -48146.7 | -36.209 | -1.217 | -57.146 |
| Max Fy | 9 | 16 1.5 DL + 1.5 EL IN X DIR | 75564.47 | 7.20E+05 | 48146.65 | 36.209 | 1.217 | 57.146 |
| Min Fy | 9 | 21 0.9 DL - 1.5 EL IN X DIR | -75564.5 | 83132.89 | -48146.7 | -36.209 | -1.217 | -57.146 |
| Max Fz | 9 | 18 1.5 DL + 1.5 EL IN Z DIR | 65915.7 | 7.07E+05 | 53590.8 | 40.31 | 1.18 | 49.8 |
| Min Fz | 9 | 19 1.5 DL - 1.5 EL IN Z DIR | -65915.7 | 2.98E+05 | -53590.8 | -40.31 | -1.18 | -49.8 |
| Max Mx | 9 | 18 1.5 DL + 1.5 EL IN Z DIR | 65915.7 | 7.07E+05 | 53590.8 | 40.31 | 1.18 | 49.8 |
| Min Mx | 9 | 19 1.5 DL - 1.5 EL IN Z DIR | -65915.7 | 2.98E+05 | -53590.8 | -40.31 | -1.18 | -49.8 |
| Max My | 9 | 16 1.5 DL + 1.5 EL IN X DIR | 75564.47 | 7.20E+05 | 48146.65 | 36.209 | 1.217 | 57.146 |
| Min My | 9 | 17 1.5 DL - 1.5 EL IN X DIR | -75564.5 | 2.84E+05 | -48146.7 | -36.209 | -1.217 | -57.146 |
| Max Mz | 9 | 16 1.5 DL + 1.5 EL IN X DIR | 75564.47 | 7.20E+05 | 48146.65 | 36.209 | 1.217 | 57.146 |
| Min Mz | 9 | 17 1.5 DL - 1.5 EL IN X DIR | -75564.5 | 2.84E+05 | -48146.7 | -36.209 | -1.217 | -57.146 |

4.1.2 Ground Reaction Summary for Zone IV

|  |  |  | Horizontal | Vertical | Horizontal | Moment |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Node | L/C | Fx N | Fy N | Fz N | Mx kNm | My kNm | Mz kNm |
| Max Fx | 9 | 16 1.5 DL + 1.5 EL IN X DIR | 50376.31 | 6.48E+05 | 32097.77 | 24.139 | 0.811 | 38.097 |
| Min Fx | 9 | 17 1.5 DL - 1.5 EL IN X DIR | -50376.3 | 3.57E+05 | -32097.8 | -24.139 | -0.811 | -38.097 |
| Max Fy | 9 | 16 1.5 DL + 1.5 EL IN X DIR | 50376.31 | 6.48E+05 | 32097.77 | 24.139 | 0.811 | 38.097 |
| Min Fy | 9 | 21 0.9 DL - 1.5 EL IN X DIR | -50376.3 | 1.56E+05 | -32097.8 | -24.139 | -0.811 | -38.097 |
| Max Fz | 9 | 18 1.5 DL + 1.5 EL IN Z DIR | 43943.79 | 6.39E+05 | 35727.2 | 26.873 | 0.787 | 33.2 |
| Min Fz | 9 | 19 1.5 DL - 1.5 EL IN Z DIR | -43943.8 | 3.66E+05 | -35727.2 | -26.873 | -0.787 | -33.2 |
| Max Mx | 9 | 18 1.5 DL + 1.5 EL IN Z DIR | 43943.79 | 6.39E+05 | 35727.2 | 26.873 | 0.787 | 33.2 |
| Min Mx | 9 | 19 1.5 DL - 1.5 EL IN Z DIR | -43943.8 | 3.66E+05 | -35727.2 | -26.873 | -0.787 | -33.2 |
| Max My | 9 | 16 1.5 DL + 1.5 EL IN X DIR | 50376.31 | 6.48E+05 | 32097.77 | 24.139 | 0.811 | 38.097 |
| Min My | 9 | 17 1.5 DL - 1.5 EL IN X DIR | -50376.3 | 3.57E+05 | -32097.8 | -24.139 | -0.811 | -38.097 |
| Max Mz | 9 | 16 1.5 DL + 1.5 EL IN X DIR | 50376.31 | 6.48E+05 | 32097.77 | 24.139 | 0.811 | 38.097 |
| Min Mz | 9 | 17 1.5 DL - 1.5 EL IN X DIR | -50376.3 | 3.57E+05 | -32097.8 | -24.139 | -0.811 | -38.097 |

4.1.3 Ground Reaction Summary for Zone III & II

|  |  |  | Horizontal | Vertical | Horizontal | Moment |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Node | L/C | Fx N | Fy N | Fz N | Mx kNm | My kNm | Mz kNm |
| Max Fx | 9 | 16 1.5 DL + 1.5 EL IN X DIR | 36425.09 | 6.07E+05 | 23208.61 | 17.454 | 0.586 | 27.547 |
| Min Fx | 9 | 17 1.5 DL - 1.5 EL IN X DIR | -36425.1 | 3.97E+05 | -23208.6 | -17.454 | -0.586 | -27.547 |
| Max Fy | 9 | 16 1.5 DL + 1.5 EL IN X DIR | 36425.09 | 6.07E+05 | 23208.61 | 17.454 | 0.586 | 27.547 |
| Min Fy | 9 | 21 0.9 DL - 1.5 EL IN X DIR | -36425.1 | 1.96E+05 | -23208.6 | -17.454 | -0.586 | -27.547 |
| Max Fz | 9 | 18 1.5 DL + 1.5 EL IN Z DIR | 32035.95 | 6.02E+05 | 26045.88 | 19.591 | 0.574 | 24.204 |
| Min Fz | 9 | 19 1.5 DL - 1.5 EL IN Z DIR | -32035.9 | 4.03E+05 | -26045.9 | -19.591 | -0.574 | -24.204 |
| Max Mx | 9 | 18 1.5 DL + 1.5 EL IN Z DIR | 32035.95 | 6.02E+05 | 26045.88 | 19.591 | 0.574 | 24.204 |
| Min Mx | 9 | 19 1.5 DL - 1.5 EL IN Z DIR | -32035.9 | 4.03E+05 | -26045.9 | -19.591 | -0.574 | -24.204 |
| Max My | 9 | 16 1.5 DL + 1.5 EL IN X DIR | 36425.09 | 6.07E+05 | 23208.61 | 17.454 | 0.586 | 27.547 |
| Min My | 9 | 17 1.5 DL - 1.5 EL IN X DIR | -36425.1 | 3.97E+05 | -23208.6 | -17.454 | -0.586 | -27.547 |
| Max Mz | 9 | 16 1.5 DL + 1.5 EL IN X DIR | 36425.09 | 6.07E+05 | 23208.61 | 17.454 | 0.586 | 27.547 |
| Min Mz | 9 | 17 1.5 DL - 1.5 EL IN X DIR | -36425.1 | 3.97E+05 | -23208.6 | -17.454 | -0.586 | -27.547 |

4.1.4 Mode Shapes For Case 1

4.2 Case 2 :-Study

4.2.1 Ground Reaction Summary for Zone V

|  |  |  | Horizontal | Vertical | Horizontal | Moment |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Node | L/C | Fx N | Fy N | Fz N | Mx kNm | My kNm | Mz kNm |
| Max Fx | 9 | 16 1.5 DL + 1.5 EL IN X DIR | 59335.33 | 6.05E+05 | 8569.354 | 6.427 | 0.572 | 44.992 |
| Min Fx | 9 | 17 1.5 DL - 1.5 EL IN X DIR | -59335.3 | 3.32E+05 | -8569.35 | -6.427 | -0.572 | -44.992 |
| Max Fy | 10 | 16 1.5 DL + 1.5 EL IN X DIR | 59335.33 | 6.05E+05 | 7210.731 | 5.408 | 0.572 | 44.992 |
| Min Fy | 10 | 21 0.9 DL - 1.5 EL IN X DIR | -59335.3 | 1.44E+05 | -7210.73 | -5.408 | -0.572 | -44.992 |
| Max Fz | 9 | 18 1.5 DL + 1.5 EL IN Z DIR | 6933.921 | 5.50E+05 | 39980.05 | 30.086 | 0.126 | 5.202 |
| Min Fz | 9 | 19 1.5 DL - 1.5 EL IN Z DIR | -6933.92 | 3.87E+05 | -39980.1 | -30.086 | -0.126 | -5.202 |
| Max Mx | 9 | 18 1.5 DL + 1.5 EL IN Z DIR | 6933.921 | 5.50E+05 | 39980.05 | 30.086 | 0.126 | 5.202 |
| Min Mx | 9 | 19 1.5 DL - 1.5 EL IN Z DIR | -6933.92 | 3.87E+05 | -39980.1 | -30.086 | -0.126 | -5.202 |
| Max My | 9 | 16 1.5 DL + 1.5 EL IN X DIR | 59335.33 | 6.05E+05 | 8569.354 | 6.427 | 0.572 | 44.992 |
| Min My | 9 | 17 1.5 DL - 1.5 EL IN X DIR | -59335.3 | 3.32E+05 | -8569.35 | -6.427 | -0.572 | -44.992 |
| Max Mz | 9 | 16 1.5 DL + 1.5 EL IN X DIR | 59335.33 | 6.05E+05 | 8569.354 | 6.427 | 0.572 | 44.992 |
| Min Mz | 9 | 17 1.5 DL - 1.5 EL IN X DIR | -59335.3 | 3.32E+05 | -8569.35 | -6.427 | -0.572 | -44.992 |

4.2.2 Ground Reaction Summary for Zone IV, III & II

|  |  |  | Horizontal | Vertical | Horizontal | Moment |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Node | L/C | Fx N | Fy N | Fz N | Mx kNm | My kNm | Mz kNm |
| Max Fx | 9 | 16 1.5 DL + 1.5 EL IN X DIR | 47298.67 | 5.77E+05 | 6830.989 | 5.123 | 0.456 | 35.865 |
| Min Fx | 9 | 17 1.5 DL - 1.5 EL IN X DIR | -47298.7 | 3.60E+05 | -6830.99 | -5.123 | -0.456 | -35.865 |
| Max Fy | 10 | 16 1.5 DL + 1.5 EL IN X DIR | 47298.67 | 5.77E+05 | 5747.975 | 4.311 | 0.456 | 35.865 |
| Min Fy | 10 | 21 0.9 DL - 1.5 EL IN X DIR | -47298.7 | 1.72E+05 | -5747.98 | -4.311 | -0.456 | -35.865 |
| Max Fz | 9 | 18 1.5 DL + 1.5 EL IN Z DIR | 6277.712 | 5.43E+05 | 36196.44 | 27.239 | 0.114 | 4.709 |
| Min Fz | 9 | 19 1.5 DL - 1.5 EL IN Z DIR | -6277.71 | 3.94E+05 | -36196.4 | -27.239 | -0.114 | -4.709 |
| Max Mx | 9 | 18 1.5 DL + 1.5 EL IN Z DIR | 6277.712 | 5.43E+05 | 36196.44 | 27.239 | 0.114 | 4.709 |
| Min Mx | 9 | 19 1.5 DL - 1.5 EL IN Z DIR | -6277.71 | 3.94E+05 | -36196.4 | -27.239 | -0.114 | -4.709 |
| Max My | 9 | 16 1.5 DL + 1.5 EL IN X DIR | 47298.67 | 5.77E+05 | 6830.989 | 5.123 | 0.456 | 35.865 |
| Min My | 9 | 17 1.5 DL - 1.5 EL IN X DIR | -47298.7 | 3.60E+05 | -6830.99 | -5.123 | -0.456 | -35.865 |
| Max Mz | 9 | 16 1.5 DL + 1.5 EL IN X DIR | 47298.67 | 5.77E+05 | 6830.989 | 5.123 | 0.456 | 35.865 |
| Min Mz | 9 | 17 1.5 DL - 1.5 EL IN X DIR | -47298.7 | 3.60E+05 | -6830.99 | -5.123 | -0.456 | -35.865 |

4.2.3 Mode Shapes For Case 2

4.3 Case 3:-Study

4.3.1 Ground Reaction Summary for Zone V

|  |  |  | Horizontal | Vertical | Horizontal | Moment |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Node | L/C | Fx N | Fy N | Fz N | Mx kNm | My kNm | Mz kNm |
| Max Fx | 9 | 16 1.5 DL + 1.5 EL IN X DIR | 49888.763 | 6.39E+05 | 5426.289 | 4.07 | 0.32 | 37.914 |
| Min Fx | 9 | 17 1.5 DL - 1.5 EL IN X DIR | -49888.76 | 3.66E+05 | -5426.29 | -4.07 | -0.32 | -37.914 |
| Max Fy | 10 | 16 1.5 DL + 1.5 EL IN X DIR | 49888.763 | 6.39E+05 | 3829.478 | 2.872 | 0.32 | 37.914 |
| Min Fy | 10 | 21 0.9 DL - 1.5 EL IN X DIR | -49888.76 | 1.65E+05 | -3829.48 | -2.872 | -0.32 | -37.914 |
| Max Fz | 9 | 18 1.5 DL + 1.5 EL IN Z DIR | 6711.858 | 5.84E+05 | 39662.59 | 29.848 | 0.122 | 5.035 |
| Min Fz | 9 | 19 1.5 DL - 1.5 EL IN Z DIR | -6711.858 | 4.21E+05 | -39662.6 | -29.848 | -0.122 | -5.035 |
| Max Mx | 9 | 18 1.5 DL + 1.5 EL IN Z DIR | 6711.858 | 5.84E+05 | 39662.59 | 29.848 | 0.122 | 5.035 |
| Min Mx | 9 | 19 1.5 DL - 1.5 EL IN Z DIR | -6711.858 | 4.21E+05 | -39662.6 | -29.848 | -0.122 | -5.035 |
| Max My | 9 | 16 1.5 DL + 1.5 EL IN X DIR | 49888.763 | 6.39E+05 | 5426.289 | 4.07 | 0.32 | 37.914 |
| Min My | 9 | 17 1.5 DL - 1.5 EL IN X DIR | -49888.76 | 3.66E+05 | -5426.29 | -4.07 | -0.32 | -37.914 |
| Max Mz | 9 | 16 1.5 DL + 1.5 EL IN X DIR | 49888.763 | 6.39E+05 | 5426.289 | 4.07 | 0.32 | 37.914 |
| Min Mz | 9 | 17 1.5 DL - 1.5 EL IN X DIR | -49888.76 | 3.66E+05 | -5426.29 | -4.07 | -0.32 | -37.914 |

4.3.2 Ground Reaction Summary for Zone IV, III & II

|  |  |  | Horizontal | Vertical | Horizontal | Moment |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Node | L/C | Fx N | Fy N | Fz N | Mx kNm | My kNm | Mz kNm |
| Max Fx | 9 | 16 1.5 DL + 1.5 EL IN X DIR | 44329.42 | 6.24E+05 | 4821.611 | 3.616 | 0.285 | 33.689 |
| Min Fx | 9 | 17 1.5 DL - 1.5 EL IN X DIR | -44329.42 | 3.81E+05 | -4821.61 | -3.616 | -0.285 | -33.689 |
| Max Fy | 10 | 16 1.5 DL + 1.5 EL IN X DIR | 44329.42 | 6.24E+05 | 3402.741 | 2.552 | 0.285 | 33.689 |
| Min Fy | 10 | 21 0.9 DL - 1.5 EL IN X DIR | -44329.42 | 1.80E+05 | -3402.74 | -2.552 | -0.285 | -33.689 |
| Max Fz | 9 | 18 1.5 DL + 1.5 EL IN Z DIR | 6329.933 | 5.79E+05 | 37405.66 | 28.15 | 0.115 | 4.749 |
| Min Fz | 9 | 19 1.5 DL - 1.5 EL IN Z DIR | -6329.933 | 4.25E+05 | -37405.7 | -28.15 | -0.115 | -4.749 |
| Max Mx | 9 | 18 1.5 DL + 1.5 EL IN Z DIR | 6329.933 | 5.79E+05 | 37405.66 | 28.15 | 0.115 | 4.749 |
| Min Mx | 9 | 19 1.5 DL - 1.5 EL IN Z DIR | -6329.933 | 4.25E+05 | -37405.7 | -28.15 | -0.115 | -4.749 |
| Max My | 9 | 16 1.5 DL + 1.5 EL IN X DIR | 44329.42 | 6.24E+05 | 4821.611 | 3.616 | 0.285 | 33.689 |
| Min My | 9 | 17 1.5 DL - 1.5 EL IN X DIR | -44329.42 | 3.81E+05 | -4821.61 | -3.616 | -0.285 | -33.689 |
| Max Mz | 9 | 16 1.5 DL + 1.5 EL IN X DIR | 44329.42 | 6.24E+05 | 4821.611 | 3.616 | 0.285 | 33.689 |
| Min Mz | 9 | 17 1.5 DL - 1.5 EL IN X DIR | -44329.42 | 3.81E+05 | -4821.61 | -3.616 | -0.285 | -33.689 |

4.3.3 Mode Shapes for Case 3

Chapter 5

Comparative Study Of Various Structural Factors

** Section Not Adequate**

** Section Not Adequate**

**Section not adequate**

**Section Not Adequate**

Chapter Six

Conclusions

From the results obtained as above, the following conclusions can be drawn.

- The results obtained by modeling the building with variation in stiffness of beam, showed variation in different cases with different earthquake zones.

- The maximum storey displacement of a building was found to be reduced from Case1 (Beam & Column) to Case2 (Slab & Column) & found further reduced from Case2 (Slab & Column) to Case3 (Beam, Slab & Column).

- Base shear is found to be increasing from Case1 (Beam & Column) to Case3 ((Beam, Slab & Column).This may be effect increased stiffness of the frame because of provision slab element.

- Column reactions in centre and corner column were found to be reduced in Case2 (Slab & Column).

- Column forces were found to be increasing from Case1 (Beam & Column) to Case3 ((Beam, Slab & Column).

- Time period of building was found maximum in Case1 (Beam & Column) and minimum in Case2 (Slab & Column).

- This shows that the behavior pattern of buildings is dependent on the method of construction and variation in building parameters. The results of the study show that the type of building construction considered in this study(without beam) should be further explored. It is suggested that such buildings, being a new type of construction should be properly analyzed.

Chapter Seven

Scope Of Further Study

There could be many permutations and computations of the said problem and each one would present a unique solution when analysed. The scope can be summarized as below.

  - In the new type of construction considered in this study (without beam) stress concentration may take place near column-slab joint this aspect may be further explored.

  - The variation in reaction can be compared for various heights of buildings considering wind load.

  - The plan of the building can be unsymmetrical as against the symmetrical plan chosen in this report. This aspect can be further explored.

  - Different type of RC building with   consideration of stiffness of paneled wall may be considered.

  - Change in behavior of column in such buildings may be investigated.

References

- IS 1893 -2002: Criteria for Earthquake Resistant Design of Structures (Part 1) General Provisions And Buildings

2.   IS 456 -2000: Plain and Reinforced concrete-Code of practice.

3.   IS 875(Part 1)-1987:Code of practice for design loads(Other Than earthquake)

For buildings and structures, Part 1:- Dead Load.

4.  IS 875(Part 2)-1987:Code of practice for design loads (Other Than earthquake)

For buildings and structures, Part 1:- Imposed Load.

5.   Agrawal Pankaj, Shrikhande Manish, “Earthquake Resistant Design Of

Structures”, PHI Learning Private Limited, 2009.

6.  Chopra A.K, “Dynamics of Structure”, PHI Learning Private Limited, 2008.

7.  Punmia B.C., Jain A.K, “RCC Designs”, Laxmi Publications, 1998.

Staad Input

Case 1

STAAD SPACE

START JOB INFORMATION

ENGINEER DATE 10-Jun-10

END JOB INFORMATION

INPUT WIDTH 79

UNIT METER KN

JOINT COORDINATES

1 0 0 0; 2 4 0 0; 3 0 0 4; 4 4 0 4; 5 0 0 8; 6 4 0 8; 7 0 0 12; 8 4 0 12;

9 0 -1.5 0; 10 4 -1.5 0; 11 0 -1.5 4; 12 4 -1.5 4; 13 0 -1.5 8; 14 4 -1.5 8;

15 0 -1.5 12; 16 4 -1.5 12; 17 0 3 0; 18 4 3 0; 19 0 3 4; 20 4 3 4; 21 0 3 8;

22 4 3 8; 23 0 3 12; 24 4 3 12; 25 0 6 0; 26 4 6 0; 27 0 6 4; 28 4 6 4;

29 0 6 8; 30 4 6 8; 31 0 6 12; 32 4 6 12; 33 0 9 0; 34 4 9 0; 35 0 9 4;

36 4 9 4; 37 0 9 8; 38 4 9 8; 39 0 9 12; 40 4 9 12;

MEMBER INCIDENCES

1 1 2; 2 3 4; 3 5 6; 4 7 8; 5 7 5; 6 5 3; 7 3 1; 8 8 6; 9 6 4; 10 4 2;

21 17 18; 22 19 20; 23 21 22; 24 23 24; 25 23 21; 26 21 19; 27 19 17; 28 24 22;

29 22 20; 30 20 18; 31 25 26; 32 27 28; 33 29 30; 34 31 32; 35 31 29; 36 29 27;

37 27 25; 38 32 30; 39 30 28; 40 28 26; 41 9 1; 42 1 17; 43 17 25; 44 11 3;

45 3 19; 46 19 27; 47 13 5; 48 5 21; 49 21 29; 50 15 7; 51 7 23; 52 23 31;

53 16 8; 54 8 24; 55 24 32; 56 14 6; 57 6 22; 58 22 30; 59 12 4; 60 4 20;

61 20 28; 62 10 2; 63 2 18; 64 18 26; 65 33 34; 66 35 36; 67 37 38; 68 39 40;

69 39 37; 70 37 35; 71 35 33; 72 40 38; 73 38 36; 74 36 34; 75 25 33; 76 27 35;

77 29 37; 78 31 39; 79 32 40; 80 30 38; 81 28 36; 82 26 34;

DEFINE MATERIAL START

ISOTROPIC CONCRETE

E 2.17185e+007

POISSON 0.17

DENSITY 25

ALPHA 1e-005

DAMP 0.05

END DEFINE MATERIAL

MEMBER PROPERTY INDIAN

1 TO 10 21 TO 40 65 TO 74 PRIS YD 0.3 ZD 0.2

41 TO 64 75 TO 82 PRIS YD 0.3 ZD 0.3

CONSTANTS

MATERIAL CONCRETE ALL

SUPPORTS

9 TO 16 FIXED

*1 TO 8 17 TO 40 PINNED

*******************************************************

UNIT MMS NEWTON

SLAVE RIGID MASTER 35 JOINT 33 TO 40

SLAVE RIGID MASTER 27 JOINT 25 TO 32

SLAVE RIGID MASTER 19 JOINT 17 TO 24

SLAVE RIGID MASTER 3 JOINT 1 TO 8

UNIT METER KN

DEFINE 1893 LOAD

ZONE 0.24 RF 5 I 1 SS 2 ST 1 DM 5 DT 2

JOINT WEIGHT

**********************************************************

1 WEIGHT 53.626

2 WEIGHT 53.626

3 WEIGHT 79.499

4 WEIGHT 79.499

5 WEIGHT 79.499

6 WEIGHT 79.499

7 WEIGHT 53.626

8 WEIGHT 53.626

9 WEIGHT 1.688

10 WEIGHT 1.688

11 WEIGHT 1.688

12 WEIGHT 1.688

13 WEIGHT 1.688

14 WEIGHT 1.688

15 WEIGHT 1.688

16 WEIGHT 1.688

17 WEIGHT 82.164

18 WEIGHT 82.164

19 WEIGHT 137.736

20 WEIGHT 137.736

21 WEIGHT 137.736

22 WEIGHT 137.736

23 WEIGHT 82.164

24 WEIGHT 82.164

25 WEIGHT 82.455

26 WEIGHT 82.455

27 WEIGHT 137.445

28 WEIGHT 137.445

29 WEIGHT 137.445

30 WEIGHT 137.445

31 WEIGHT 82.455

32 WEIGHT 82.455

33 WEIGHT 55.966

34 WEIGHT 55.966

35 WEIGHT 103.344

36 WEIGHT 103.344

37 WEIGHT 103.344

38 WEIGHT 103.344

39 WEIGHT 55.966

40 WEIGHT 55.966

CUT OFF MODE SHAPE 10

LOAD 1 EQX

JOINT LOAD

*******************

1 FX 53.626 FZ 53.626

2 FX 53.626 FZ 53.626

3 FX 79.499 FZ 79.499

4 FX 79.499 FZ 79.499

5 FX 79.499 FZ 79.499

6 FX 79.499 FZ 79.499

7 FX 53.626 FZ 53.626

8 FX 53.626 FZ 53.626

9 FX 1.688 FZ 1.688

10 FX 1.688 FZ 1.688

11 FX 1.688 FZ 1.688

12 FX 1.688 FZ 1.688

13 FX 1.688 FZ 1.688

14 FX 1.688 FZ 1.688

15 FX 1.688 FZ 1.688

16 FX 1.688 FZ 1.688

17 FX 82.164 FZ 82.164

18 FX 82.164 FZ 82.164

19 FX 137.736 FZ 137.736

20 FX 137.736 FZ 137.736

21 FX 137.736 FZ 137.736

22 FX 137.736 FZ 137.736

23 FX 82.164 FZ 82.164

24 FX 82.164 FZ 82.164

25 FX 82.455 FZ 82.455

26 FX 82.455 FZ 82.455

27 FX 137.445 FZ 137.445

28 FX 137.445 FZ 137.445

29 FX 137.445 FZ 137.445

30 FX 137.445 FZ 137.445

31 FX 82.455 FZ 82.455

32 FX 82.455 FZ 82.455

33 FX 55.966 FZ 55.966

34 FX 55.966 FZ 55.966

35 FX 103.344 FZ 103.344

36 FX 103.344 FZ 103.344

37 FX 103.344 FZ 103.344

38 FX 103.344 FZ 103.344

39 FX 55.966 FZ 55.966

40 FX 55.966 FZ 55.966

*************************************************

SPECTRUM CQC 1893 X 0.036 ACC SCALE 1 DAMP 0.05

SOIL TYPE 2

LOAD 2 EQZ

SPECTRUM CQC 1893 Z 0.036 ACC SCALE 1 DAMP 0.05

SOIL TYPE 2

***************************************************

LOAD 3 LOADTYPE Dead  TITLE 3(SELF WEIGHT)(DL)

SELFWEIGHT Y -1

************************************************

LOAD 4 LOADTYPE Dead  TITLE 4(WALL LOAD)(DL)

MEMBER LOAD

1 TO 10 21 TO 40 UNI GY -10.8

65 TO 74 UNI GY -4

*************************************************

LOAD 5 LOADTYPE Dead  TITLE 5(FLOOR LOAD)

FLOOR LOAD

YRANGE 3 6 FLOAD -4.95 XRANGE 0 4  ZRANGE 0 12  GY

YRANGE 9 9 FLOAD -6.63 XRANGE 0 4  ZRANGE 0 12  GY

*************************************************************

LOAD 6 LOADTYPE Dead  TITLE 6(LIVE LOAD)

FLOOR LOAD

YRANGE 3 6 FLOAD -2 XRANGE 0 4  ZRANGE 0 12  GY

YRANGE 9 9 FLOAD -1.5 XRANGE 0 4  ZRANGE 0 12  GY

********************************************************

*LOAD COMBINATION 7

*3 1.0 4 1.0 5 1.0 6 1

*PERFORM ANALYSIS

*LOAD LIST 7

*FINISH

*

***************************************

LOAD COMBINATION 8

3 1.0 4 1.0 5 1.0 6 0.8

*PERFORM ANALYSIS

*LOAD LIST 7

*PRINT SUPPORT REACTION

*FINISH

*******************************************

LOAD COMB 11 1.5 DL 1.5 IL

3 1.5 4 1.5 5 1.5 6 1.5

LOAD COMB 12 1.2 DL + 0.3 IL + 1.2 EL IN X DIR

3 1.2 4 1.2 5 1.2 1 1.2 6 0.3

LOAD COMB 13 1.2 DL + 0.3 IL - 1.2 EL IN X DIR

3 1.2 4 1.2 5 1.2 1 -1.2 6 0.3

LOAD COMB 14 1.2 DL + 0.3 IL + 1.2 EL IN Z DIR

3 1.2 4 1.2 5 1.2 2 1.2 6 0.3

LOAD COMB 15 1.2 DL + 0.3 IL - 1.2 EL IN Z DIR

3 1.2 4 1.2 5 1.2 6 0.3 2 -1.2

LOAD COMB 16 1.5 DL + 1.5 EL IN X DIR

3 1.5 4 1.5 5 1.5 1 1.5

LOAD COMB 17 1.5 DL - 1.5 EL IN X DIR

3 1.5 4 1.5 5 1.5 1 -1.5

LOAD COMB 18 1.5 DL + 1.5 EL IN Z DIR

3 1.5 4 1.5 5 1.5 2 1.5

LOAD COMB 19 1.5 DL - 1.5 EL IN Z DIR

3 1.5 4 1.5 5 1.5 2 -1.5

LOAD COMB 20 0.9 DL + 1.5 EL IN X DIR

3 0.9 4 0.9 5 0.9 1 1.5

LOAD COMB 21 0.9 DL - 1.5 EL IN X DIR

3 0.9 4 0.9 5 0.9 1 -1.5

LOAD COMB 22 0.9 DL + 1.5 EL IN Z DIR

3 0.9 4 0.9 5 0.9 2 1.5

LOAD COMB 23 0.9 DL - 1.5 EL IN Z DIR

3 0.9 4 0.9 5 0.9 2 -1.5

LOAD COMB 24 1 DL + 0.9 IL

3 1.0 4 1.0 5 1.0 6 0.9

PERFORM ANALYSIS

LOAD LIST 11 TO 24

START CONCRETE DESIGN

CODE INDIAN

UNIT MMS NEWTON

FYMAIN 415 ALL

FYSEC 415 ALL

TRACK 1 ALL

RATIO 4 ALL

FC 25 ALL

DESIGN BEAM 1 TO 10 21 TO 40 65 TO 74

DESIGN COLUMN 41 TO 64 75 TO 82

concrete take

END CONCRETE DESIGN

FINISH

Case 2

STAAD SPACE

START JOB INFORMATION

ENGINEER DATE 10-Jun-10

END JOB INFORMATION

INPUT WIDTH 79

UNIT METER KN

JOINT COORDINATES

1 0 0 0; 2 4 0 0; 3 0 0 4; 4 4 0 4; 5 0 0 8; 6 4 0 8; 7 0 0 12; 8 4 0 12;

9 0 -1.5 0; 10 4 -1.5 0; 11 0 -1.5 4; 12 4 -1.5 4; 13 0 -1.5 8; 14 4 -1.5 8;

15 0 -1.5 12; 16 4 -1.5 12; 17 0 3 0; 18 4 3 0; 19 0 3 4; 20 4 3 4; 21 0 3 8;

22 4 3 8; 23 0 3 12; 24 4 3 12; 25 0 6 0; 26 4 6 0; 27 0 6 4; 28 4 6 4;

29 0 6 8; 30 4 6 8; 31 0 6 12; 32 4 6 12; 33 0 9 0; 34 4 9 0; 35 0 9 4;

36 4 9 4; 37 0 9 8; 38 4 9 8; 39 0 9 12; 40 4 9 12; 374 0 3 0.4; 375 0.4 3 0;

376 0.4 3 0.4; 377 0 3 0.8; 378 0.4 3 0.8; 379 0 3 1.2; 380 0.4 3 1.2;

381 0 3 1.6; 382 0.4 3 1.6; 383 0 3 2; 384 0.4 3 2; 385 0 3 2.4; 386 0.4 3 2.4;

387 0 3 2.8; 388 0.4 3 2.8; 389 0 3 3.2; 390 0.4 3 3.2; 391 0 3 3.6;

392 0.4 3 3.6; 393 0.4 3 4; 394 0.8 3 0; 395 0.8 3 0.4; 396 0.8 3 0.8;

397 0.8 3 1.2; 398 0.8 3 1.6; 399 0.8 3 2; 400 0.8 3 2.4; 401 0.8 3 2.8;

402 0.8 3 3.2; 403 0.8 3 3.6; 404 0.8 3 4; 405 1.2 3 0; 406 1.2 3 0.4;

407 1.2 3 0.8; 408 1.2 3 1.2; 409 1.2 3 1.6; 410 1.2 3 2; 411 1.2 3 2.4;

412 1.2 3 2.8; 413 1.2 3 3.2; 414 1.2 3 3.6; 415 1.2 3 4; 416 1.6 3 0;

417 1.6 3 0.4; 418 1.6 3 0.8; 419 1.6 3 1.2; 420 1.6 3 1.6; 421 1.6 3 2;

422 1.6 3 2.4; 423 1.6 3 2.8; 424 1.6 3 3.2; 425 1.6 3 3.6; 426 1.6 3 4;

427 2 3 0; 428 2 3 0.4; 429 2 3 0.8; 430 2 3 1.2; 431 2 3 1.6; 432 2 3 2;

433 2 3 2.4; 434 2 3 2.8; 435 2 3 3.2; 436 2 3 3.6; 437 2 3 4; 438 2.4 3 0;

439 2.4 3 0.4; 440 2.4 3 0.8; 441 2.4 3 1.2; 442 2.4 3 1.6; 443 2.4 3 2;

444 2.4 3 2.4; 445 2.4 3 2.8; 446 2.4 3 3.2; 447 2.4 3 3.6; 448 2.4 3 4;

449 2.8 3 0; 450 2.8 3 0.4; 451 2.8 3 0.8; 452 2.8 3 1.2; 453 2.8 3 1.6;

454 2.8 3 2; 455 2.8 3 2.4; 456 2.8 3 2.8; 457 2.8 3 3.2; 458 2.8 3 3.6;

459 2.8 3 4; 460 3.2 3 0; 461 3.2 3 0.4; 462 3.2 3 0.8; 463 3.2 3 1.2;

464 3.2 3 1.6; 465 3.2 3 2; 466 3.2 3 2.4; 467 3.2 3 2.8; 468 3.2 3 3.2;

469 3.2 3 3.6; 470 3.2 3 4; 471 3.6 3 0; 472 3.6 3 0.4; 473 3.6 3 0.8;

474 3.6 3 1.2; 475 3.6 3 1.6; 476 3.6 3 2; 477 3.6 3 2.4; 478 3.6 3 2.8;

479 3.6 3 3.2; 480 3.6 3 3.6; 481 3.6 3 4; 482 4 3 0.4; 483 4 3 0.8;

484 4 3 1.2; 485 4 3 1.6; 486 4 3 2; 487 4 3 2.4; 488 4 3 2.8; 489 4 3 3.2;

490 4 3 3.6; 491 0 3 4.4; 492 0.4 3 4.4; 493 0 3 4.8; 494 0.4 3 4.8;

495 0 3 5.2; 496 0.4 3 5.2; 497 0 3 5.6; 498 0.4 3 5.6; 499 0 3 6; 500 0.4 3 6;

501 0 3 6.4; 502 0.4 3 6.4; 503 0 3 6.8; 504 0.4 3 6.8; 505 0 3 7.2;

506 0.4 3 7.2; 507 0 3 7.6; 508 0.4 3 7.6; 509 0.4 3 8; 510 0.8 3 4.4;

511 0.8 3 4.8; 512 0.8 3 5.2; 513 0.8 3 5.6; 514 0.8 3 6; 515 0.8 3 6.4;

516 0.8 3 6.8; 517 0.8 3 7.2; 518 0.8 3 7.6; 519 0.8 3 8; 520 1.2 3 4.4;

521 1.2 3 4.8; 522 1.2 3 5.2; 523 1.2 3 5.6; 524 1.2 3 6; 525 1.2 3 6.4;

526 1.2 3 6.8; 527 1.2 3 7.2; 528 1.2 3 7.6; 529 1.2 3 8; 530 1.6 3 4.4;

531 1.6 3 4.8; 532 1.6 3 5.2; 533 1.6 3 5.6; 534 1.6 3 6; 535 1.6 3 6.4;

536 1.6 3 6.8; 537 1.6 3 7.2; 538 1.6 3 7.6; 539 1.6 3 8; 540 2 3 4.4;

541 2 3 4.8; 542 2 3 5.2; 543 2 3 5.6; 544 2 3 6; 545 2 3 6.4; 546 2 3 6.8;

547 2 3 7.2; 548 2 3 7.6; 549 2 3 8; 550 2.4 3 4.4; 551 2.4 3 4.8;

552 2.4 3 5.2; 553 2.4 3 5.6; 554 2.4 3 6; 555 2.4 3 6.4; 556 2.4 3 6.8;

557 2.4 3 7.2; 558 2.4 3 7.6; 559 2.4 3 8; 560 2.8 3 4.4; 561 2.8 3 4.8;

562 2.8 3 5.2; 563 2.8 3 5.6; 564 2.8 3 6; 565 2.8 3 6.4; 566 2.8 3 6.8;

567 2.8 3 7.2; 568 2.8 3 7.6; 569 2.8 3 8; 570 3.2 3 4.4; 571 3.2 3 4.8;

572 3.2 3 5.2; 573 3.2 3 5.6; 574 3.2 3 6; 575 3.2 3 6.4; 576 3.2 3 6.8;

577 3.2 3 7.2; 578 3.2 3 7.6; 579 3.2 3 8; 580 3.6 3 4.4; 581 3.6 3 4.8;

582 3.6 3 5.2; 583 3.6 3 5.6; 584 3.6 3 6; 585 3.6 3 6.4; 586 3.6 3 6.8;

587 3.6 3 7.2; 588 3.6 3 7.6; 589 3.6 3 8; 590 4 3 4.4; 591 4 3 4.8;

592 4 3 5.2; 593 4 3 5.6; 594 4 3 6; 595 4 3 6.4; 596 4 3 6.8; 597 4 3 7.2;

598 4 3 7.6; 599 0 3 8.4; 600 0.4 3 8.4; 601 0 3 8.8; 602 0.4 3 8.8;

603 0 3 9.2; 604 0.4 3 9.2; 605 0 3 9.6; 606 0.4 3 9.6; 607 0 3 10;

608 0.4 3 10; 609 0 3 10.4; 610 0.4 3 10.4; 611 0 3 10.8; 612 0.4 3 10.8;

613 0 3 11.2; 614 0.4 3 11.2; 615 0 3 11.6; 616 0.4 3 11.6; 617 0.4 3 12;

618 0.8 3 8.4; 619 0.8 3 8.8; 620 0.8 3 9.2; 621 0.8 3 9.6; 622 0.8 3 10;

623 0.8 3 10.4; 624 0.8 3 10.8; 625 0.8 3 11.2; 626 0.8 3 11.6; 627 0.8 3 12;

628 1.2 3 8.4; 629 1.2 3 8.8; 630 1.2 3 9.2; 631 1.2 3 9.6; 632 1.2 3 10;

633 1.2 3 10.4; 634 1.2 3 10.8; 635 1.2 3 11.2; 636 1.2 3 11.6; 637 1.2 3 12;

638 1.6 3 8.4; 639 1.6 3 8.8; 640 1.6 3 9.2; 641 1.6 3 9.6; 642 1.6 3 10;

643 1.6 3 10.4; 644 1.6 3 10.8; 645 1.6 3 11.2; 646 1.6 3 11.6; 647 1.6 3 12;

648 2 3 8.4; 649 2 3 8.8; 650 2 3 9.2; 651 2 3 9.6; 652 2 3 10; 653 2 3 10.4;

654 2 3 10.8; 655 2 3 11.2; 656 2 3 11.6; 657 2 3 12; 658 2.4 3 8.4;

659 2.4 3 8.8; 660 2.4 3 9.2; 661 2.4 3 9.6; 662 2.4 3 10; 663 2.4 3 10.4;

664 2.4 3 10.8; 665 2.4 3 11.2; 666 2.4 3 11.6; 667 2.4 3 12; 668 2.8 3 8.4;

669 2.8 3 8.8; 670 2.8 3 9.2; 671 2.8 3 9.6; 672 2.8 3 10; 673 2.8 3 10.4;

674 2.8 3 10.8; 675 2.8 3 11.2; 676 2.8 3 11.6; 677 2.8 3 12; 678 3.2 3 8.4;

679 3.2 3 8.8; 680 3.2 3 9.2; 681 3.2 3 9.6; 682 3.2 3 10; 683 3.2 3 10.4;

684 3.2 3 10.8; 685 3.2 3 11.2; 686 3.2 3 11.6; 687 3.2 3 12; 688 3.6 3 8.4;

689 3.6 3 8.8; 690 3.6 3 9.2; 691 3.6 3 9.6; 692 3.6 3 10; 693 3.6 3 10.4;

694 3.6 3 10.8; 695 3.6 3 11.2; 696 3.6 3 11.6; 697 3.6 3 12; 698 4 3 8.4;

699 4 3 8.8; 700 4 3 9.2; 701 4 3 9.6; 702 4 3 10; 703 4 3 10.4; 704 4 3 10.8;

705 4 3 11.2; 706 4 3 11.6; 707 0 6 0.4; 708 0.4 6 0; 709 0.4 6 0.4;

710 0 6 0.8; 711 0.4 6 0.8; 712 0 6 1.2; 713 0.4 6 1.2; 714 0 6 1.6;

715 0.4 6 1.6; 716 0 6 2; 717 0.4 6 2; 718 0 6 2.4; 719 0.4 6 2.4; 720 0 6 2.8;

721 0.4 6 2.8; 722 0 6 3.2; 723 0.4 6 3.2; 724 0 6 3.6; 725 0.4 6 3.6;

726 0.4 6 4; 727 0.8 6 0; 728 0.8 6 0.4; 729 0.8 6 0.8; 730 0.8 6 1.2;

731 0.8 6 1.6; 732 0.8 6 2; 733 0.8 6 2.4; 734 0.8 6 2.8; 735 0.8 6 3.2;

736 0.8 6 3.6; 737 0.8 6 4; 738 1.2 6 0; 739 1.2 6 0.4; 740 1.2 6 0.8;

741 1.2 6 1.2; 742 1.2 6 1.6; 743 1.2 6 2; 744 1.2 6 2.4; 745 1.2 6 2.8;

746 1.2 6 3.2; 747 1.2 6 3.6; 748 1.2 6 4; 749 1.6 6 0; 750 1.6 6 0.4;

751 1.6 6 0.8; 752 1.6 6 1.2; 753 1.6 6 1.6; 754 1.6 6 2; 755 1.6 6 2.4;

756 1.6 6 2.8; 757 1.6 6 3.2; 758 1.6 6 3.6; 759 1.6 6 4; 760 2 6 0;

761 2 6 0.4; 762 2 6 0.8; 763 2 6 1.2; 764 2 6 1.6; 765 2 6 2; 766 2 6 2.4;

767 2 6 2.8; 768 2 6 3.2; 769 2 6 3.6; 770 2 6 4; 771 2.4 6 0; 772 2.4 6 0.4;

773 2.4 6 0.8; 774 2.4 6 1.2; 775 2.4 6 1.6; 776 2.4 6 2; 777 2.4 6 2.4;

778 2.4 6 2.8; 779 2.4 6 3.2; 780 2.4 6 3.6; 781 2.4 6 4; 782 2.8 6 0;

783 2.8 6 0.4; 784 2.8 6 0.8; 785 2.8 6 1.2; 786 2.8 6 1.6; 787 2.8 6 2;

788 2.8 6 2.4; 789 2.8 6 2.8; 790 2.8 6 3.2; 791 2.8 6 3.6; 792 2.8 6 4;

793 3.2 6 0; 794 3.2 6 0.4; 795 3.2 6 0.8; 796 3.2 6 1.2; 797 3.2 6 1.6;

798 3.2 6 2; 799 3.2 6 2.4; 800 3.2 6 2.8; 801 3.2 6 3.2; 802 3.2 6 3.6;

803 3.2 6 4; 804 3.6 6 0; 805 3.6 6 0.4; 806 3.6 6 0.8; 807 3.6 6 1.2;

808 3.6 6 1.6; 809 3.6 6 2; 810 3.6 6 2.4; 811 3.6 6 2.8; 812 3.6 6 3.2;

813 3.6 6 3.6; 814 3.6 6 4; 815 4 6 0.4; 816 4 6 0.8; 817 4 6 1.2; 818 4 6 1.6;

819 4 6 2; 820 4 6 2.4; 821 4 6 2.8; 822 4 6 3.2; 823 4 6 3.6; 824 0 6 4.4;

825 0.4 6 4.4; 826 0 6 4.8; 827 0.4 6 4.8; 828 0 6 5.2; 829 0.4 6 5.2;

830 0 6 5.6; 831 0.4 6 5.6; 832 0 6 6; 833 0.4 6 6; 834 0 6 6.4; 835 0.4 6 6.4;

836 0 6 6.8; 837 0.4 6 6.8; 838 0 6 7.2; 839 0.4 6 7.2; 840 0 6 7.6;

841 0.4 6 7.6; 842 0.4 6 8; 843 0.8 6 4.4; 844 0.8 6 4.8; 845 0.8 6 5.2;

846 0.8 6 5.6; 847 0.8 6 6; 848 0.8 6 6.4; 849 0.8 6 6.8; 850 0.8 6 7.2;

851 0.8 6 7.6; 852 0.8 6 8; 853 1.2 6 4.4; 854 1.2 6 4.8; 855 1.2 6 5.2;

856 1.2 6 5.6; 857 1.2 6 6; 858 1.2 6 6.4; 859 1.2 6 6.8; 860 1.2 6 7.2;

861 1.2 6 7.6; 862 1.2 6 8; 863 1.6 6 4.4; 864 1.6 6 4.8; 865 1.6 6 5.2;

866 1.6 6 5.6; 867 1.6 6 6; 868 1.6 6 6.4; 869 1.6 6 6.8; 870 1.6 6 7.2;

871 1.6 6 7.6; 872 1.6 6 8; 873 2 6 4.4; 874 2 6 4.8; 875 2 6 5.2; 876 2 6 5.6;

877 2 6 6; 878 2 6 6.4; 879 2 6 6.8; 880 2 6 7.2; 881 2 6 7.6; 882 2 6 8;

883 2.4 6 4.4; 884 2.4 6 4.8; 885 2.4 6 5.2; 886 2.4 6 5.6; 887 2.4 6 6;

888 2.4 6 6.4; 889 2.4 6 6.8; 890 2.4 6 7.2; 891 2.4 6 7.6; 892 2.4 6 8;

893 2.8 6 4.4; 894 2.8 6 4.8; 895 2.8 6 5.2; 896 2.8 6 5.6; 897 2.8 6 6;

898 2.8 6 6.4; 899 2.8 6 6.8; 900 2.8 6 7.2; 901 2.8 6 7.6; 902 2.8 6 8;

903 3.2 6 4.4; 904 3.2 6 4.8; 905 3.2 6 5.2; 906 3.2 6 5.6; 907 3.2 6 6;

908 3.2 6 6.4; 909 3.2 6 6.8; 910 3.2 6 7.2; 911 3.2 6 7.6; 912 3.2 6 8;

913 3.6 6 4.4; 914 3.6 6 4.8; 915 3.6 6 5.2; 916 3.6 6 5.6; 917 3.6 6 6;

918 3.6 6 6.4; 919 3.6 6 6.8; 920 3.6 6 7.2; 921 3.6 6 7.6; 922 3.6 6 8;

923 4 6 4.4; 924 4 6 4.8; 925 4 6 5.2; 926 4 6 5.6; 927 4 6 6; 928 4 6 6.4;

929 4 6 6.8; 930 4 6 7.2; 931 4 6 7.6; 932 0 6 8.4; 933 0.4 6 8.4; 934 0 6 8.8;

935 0.4 6 8.8; 936 0 6 9.2; 937 0.4 6 9.2; 938 0 6 9.6; 939 0.4 6 9.6;

940 0 6 10; 941 0.4 6 10; 942 0 6 10.4; 943 0.4 6 10.4; 944 0 6 10.8;

945 0.4 6 10.8; 946 0 6 11.2; 947 0.4 6 11.2; 948 0 6 11.6; 949 0.4 6 11.6;

950 0.4 6 12; 951 0.8 6 8.4; 952 0.8 6 8.8; 953 0.8 6 9.2; 954 0.8 6 9.6;

955 0.8 6 10; 956 0.8 6 10.4; 957 0.8 6 10.8; 958 0.8 6 11.2; 959 0.8 6 11.6;

960 0.8 6 12; 961 1.2 6 8.4; 962 1.2 6 8.8; 963 1.2 6 9.2; 964 1.2 6 9.6;

965 1.2 6 10; 966 1.2 6 10.4; 967 1.2 6 10.8; 968 1.2 6 11.2; 969 1.2 6 11.6;

970 1.2 6 12; 971 1.6 6 8.4; 972 1.6 6 8.8; 973 1.6 6 9.2; 974 1.6 6 9.6;

975 1.6 6 10; 976 1.6 6 10.4; 977 1.6 6 10.8; 978 1.6 6 11.2; 979 1.6 6 11.6;

980 1.6 6 12; 981 2 6 8.4; 982 2 6 8.8; 983 2 6 9.2; 984 2 6 9.6; 985 2 6 10;

986 2 6 10.4; 987 2 6 10.8; 988 2 6 11.2; 989 2 6 11.6; 990 2 6 12;

991 2.4 6 8.4; 992 2.4 6 8.8; 993 2.4 6 9.2; 994 2.4 6 9.6; 995 2.4 6 10;

996 2.4 6 10.4; 997 2.4 6 10.8; 998 2.4 6 11.2; 999 2.4 6 11.6; 1000 2.4 6 12;

1001 2.8 6 8.4; 1002 2.8 6 8.8; 1003 2.8 6 9.2; 1004 2.8 6 9.6; 1005 2.8 6 10;

1006 2.8 6 10.4; 1007 2.8 6 10.8; 1008 2.8 6 11.2; 1009 2.8 6 11.6;

1010 2.8 6 12; 1011 3.2 6 8.4; 1012 3.2 6 8.8; 1013 3.2 6 9.2; 1014 3.2 6 9.6;

1015 3.2 6 10; 1016 3.2 6 10.4; 1017 3.2 6 10.8; 1018 3.2 6 11.2;

1019 3.2 6 11.6; 1020 3.2 6 12; 1021 3.6 6 8.4; 1022 3.6 6 8.8; 1023 3.6 6 9.2;

1024 3.6 6 9.6; 1025 3.6 6 10; 1026 3.6 6 10.4; 1027 3.6 6 10.8;

1028 3.6 6 11.2; 1029 3.6 6 11.6; 1030 3.6 6 12; 1031 4 6 8.4; 1032 4 6 8.8;

1033 4 6 9.2; 1034 4 6 9.6; 1035 4 6 10; 1036 4 6 10.4; 1037 4 6 10.8;

1038 4 6 11.2; 1039 4 6 11.6; 1040 0 9 0.4; 1041 0.4 9 0; 1042 0.4 9 0.4;

1043 0 9 0.8; 1044 0.4 9 0.8; 1045 0 9 1.2; 1046 0.4 9 1.2; 1047 0 9 1.6;

1048 0.4 9 1.6; 1049 0 9 2; 1050 0.4 9 2; 1051 0 9 2.4; 1052 0.4 9 2.4;

1053 0 9 2.8; 1054 0.4 9 2.8; 1055 0 9 3.2; 1056 0.4 9 3.2; 1057 0 9 3.6;

1058 0.4 9 3.6; 1059 0.4 9 4; 1060 0.8 9 0; 1061 0.8 9 0.4; 1062 0.8 9 0.8;

1063 0.8 9 1.2; 1064 0.8 9 1.6; 1065 0.8 9 2; 1066 0.8 9 2.4; 1067 0.8 9 2.8;

1068 0.8 9 3.2; 1069 0.8 9 3.6; 1070 0.8 9 4; 1071 1.2 9 0; 1072 1.2 9 0.4;

1073 1.2 9 0.8; 1074 1.2 9 1.2; 1075 1.2 9 1.6; 1076 1.2 9 2; 1077 1.2 9 2.4;

1078 1.2 9 2.8; 1079 1.2 9 3.2; 1080 1.2 9 3.6; 1081 1.2 9 4; 1082 1.6 9 0;

1083 1.6 9 0.4; 1084 1.6 9 0.8; 1085 1.6 9 1.2; 1086 1.6 9 1.6; 1087 1.6 9 2;

1088 1.6 9 2.4; 1089 1.6 9 2.8; 1090 1.6 9 3.2; 1091 1.6 9 3.6; 1092 1.6 9 4;

1093 2 9 0; 1094 2 9 0.4; 1095 2 9 0.8; 1096 2 9 1.2; 1097 2 9 1.6; 1098 2 9 2;

1099 2 9 2.4; 1100 2 9 2.8; 1101 2 9 3.2; 1102 2 9 3.6; 1103 2 9 4;

1104 2.4 9 0; 1105 2.4 9 0.4; 1106 2.4 9 0.8; 1107 2.4 9 1.2; 1108 2.4 9 1.6;

1109 2.4 9 2; 1110 2.4 9 2.4; 1111 2.4 9 2.8; 1112 2.4 9 3.2; 1113 2.4 9 3.6;

1114 2.4 9 4; 1115 2.8 9 0; 1116 2.8 9 0.4; 1117 2.8 9 0.8; 1118 2.8 9 1.2;

1119 2.8 9 1.6; 1120 2.8 9 2; 1121 2.8 9 2.4; 1122 2.8 9 2.8; 1123 2.8 9 3.2;

1124 2.8 9 3.6; 1125 2.8 9 4; 1126 3.2 9 0; 1127 3.2 9 0.4; 1128 3.2 9 0.8;

1129 3.2 9 1.2; 1130 3.2 9 1.6; 1131 3.2 9 2; 1132 3.2 9 2.4; 1133 3.2 9 2.8;

1134 3.2 9 3.2; 1135 3.2 9 3.6; 1136 3.2 9 4; 1137 3.6 9 0; 1138 3.6 9 0.4;

1139 3.6 9 0.8; 1140 3.6 9 1.2; 1141 3.6 9 1.6; 1142 3.6 9 2; 1143 3.6 9 2.4;

1144 3.6 9 2.8; 1145 3.6 9 3.2; 1146 3.6 9 3.6; 1147 3.6 9 4; 1148 4 9 0.4;

1149 4 9 0.8; 1150 4 9 1.2; 1151 4 9 1.6; 1152 4 9 2; 1153 4 9 2.4;

1154 4 9 2.8; 1155 4 9 3.2; 1156 4 9 3.6; 1157 0 9 4.4; 1158 0.4 9 4.4;

1159 0 9 4.8; 1160 0.4 9 4.8; 1161 0 9 5.2; 1162 0.4 9 5.2; 1163 0 9 5.6;

1164 0.4 9 5.6; 1165 0 9 6; 1166 0.4 9 6; 1167 0 9 6.4; 1168 0.4 9 6.4;

1169 0 9 6.8; 1170 0.4 9 6.8; 1171 0 9 7.2; 1172 0.4 9 7.2; 1173 0 9 7.6;

1174 0.4 9 7.6; 1175 0.4 9 8; 1176 0.8 9 4.4; 1177 0.8 9 4.8; 1178 0.8 9 5.2;

1179 0.8 9 5.6; 1180 0.8 9 6; 1181 0.8 9 6.4; 1182 0.8 9 6.8; 1183 0.8 9 7.2;

1184 0.8 9 7.6; 1185 0.8 9 8; 1186 1.2 9 4.4; 1187 1.2 9 4.8; 1188 1.2 9 5.2;

1189 1.2 9 5.6; 1190 1.2 9 6; 1191 1.2 9 6.4; 1192 1.2 9 6.8; 1193 1.2 9 7.2;

1194 1.2 9 7.6; 1195 1.2 9 8; 1196 1.6 9 4.4; 1197 1.6 9 4.8; 1198 1.6 9 5.2;

1199 1.6 9 5.6; 1200 1.6 9 6; 1201 1.6 9 6.4; 1202 1.6 9 6.8; 1203 1.6 9 7.2;

1204 1.6 9 7.6; 1205 1.6 9 8; 1206 2 9 4.4; 1207 2 9 4.8; 1208 2 9 5.2;

1209 2 9 5.6; 1210 2 9 6; 1211 2 9 6.4; 1212 2 9 6.8; 1213 2 9 7.2;

1214 2 9 7.6; 1215 2 9 8; 1216 2.4 9 4.4; 1217 2.4 9 4.8; 1218 2.4 9 5.2;

1219 2.4 9 5.6; 1220 2.4 9 6; 1221 2.4 9 6.4; 1222 2.4 9 6.8; 1223 2.4 9 7.2;

1224 2.4 9 7.6; 1225 2.4 9 8; 1226 2.8 9 4.4; 1227 2.8 9 4.8; 1228 2.8 9 5.2;

1229 2.8 9 5.6; 1230 2.8 9 6; 1231 2.8 9 6.4; 1232 2.8 9 6.8; 1233 2.8 9 7.2;

1234 2.8 9 7.6; 1235 2.8 9 8; 1236 3.2 9 4.4; 1237 3.2 9 4.8; 1238 3.2 9 5.2;

1239 3.2 9 5.6; 1240 3.2 9 6; 1241 3.2 9 6.4; 1242 3.2 9 6.8; 1243 3.2 9 7.2;

1244 3.2 9 7.6; 1245 3.2 9 8; 1246 3.6 9 4.4; 1247 3.6 9 4.8; 1248 3.6 9 5.2;

1249 3.6 9 5.6; 1250 3.6 9 6; 1251 3.6 9 6.4; 1252 3.6 9 6.8; 1253 3.6 9 7.2;

1254 3.6 9 7.6; 1255 3.6 9 8; 1256 4 9 4.4; 1257 4 9 4.8; 1258 4 9 5.2;

1259 4 9 5.6; 1260 4 9 6; 1261 4 9 6.4; 1262 4 9 6.8; 1263 4 9 7.2;

1264 4 9 7.6; 1265 0 9 8.4; 1266 0.4 9 8.4; 1267 0 9 8.8; 1268 0.4 9 8.8;

1269 0 9 9.2; 1270 0.4 9 9.2; 1271 0 9 9.6; 1272 0.4 9 9.6; 1273 0 9 10;

1274 0.4 9 10; 1275 0 9 10.4; 1276 0.4 9 10.4; 1277 0 9 10.8; 1278 0.4 9 10.8;

1279 0 9 11.2; 1280 0.4 9 11.2; 1281 0 9 11.6; 1282 0.4 9 11.6; 1283 0.4 9 12;

1284 0.8 9 8.4; 1285 0.8 9 8.8; 1286 0.8 9 9.2; 1287 0.8 9 9.6; 1288 0.8 9 10;

1289 0.8 9 10.4; 1290 0.8 9 10.8; 1291 0.8 9 11.2; 1292 0.8 9 11.6;

1293 0.8 9 12; 1294 1.2 9 8.4; 1295 1.2 9 8.8; 1296 1.2 9 9.2; 1297 1.2 9 9.6;

1298 1.2 9 10; 1299 1.2 9 10.4; 1300 1.2 9 10.8; 1301 1.2 9 11.2;

1302 1.2 9 11.6; 1303 1.2 9 12; 1304 1.6 9 8.4; 1305 1.6 9 8.8; 1306 1.6 9 9.2;

1307 1.6 9 9.6; 1308 1.6 9 10; 1309 1.6 9 10.4; 1310 1.6 9 10.8;

1311 1.6 9 11.2; 1312 1.6 9 11.6; 1313 1.6 9 12; 1314 2 9 8.4; 1315 2 9 8.8;

1316 2 9 9.2; 1317 2 9 9.6; 1318 2 9 10; 1319 2 9 10.4; 1320 2 9 10.8;

1321 2 9 11.2; 1322 2 9 11.6; 1323 2 9 12; 1324 2.4 9 8.4; 1325 2.4 9 8.8;

1326 2.4 9 9.2; 1327 2.4 9 9.6; 1328 2.4 9 10; 1329 2.4 9 10.4;

1330 2.4 9 10.8; 1331 2.4 9 11.2; 1332 2.4 9 11.6; 1333 2.4 9 12;

1334 2.8 9 8.4; 1335 2.8 9 8.8; 1336 2.8 9 9.2; 1337 2.8 9 9.6; 1338 2.8 9 10;

1339 2.8 9 10.4; 1340 2.8 9 10.8; 1341 2.8 9 11.2; 1342 2.8 9 11.6;

1343 2.8 9 12; 1344 3.2 9 8.4; 1345 3.2 9 8.8; 1346 3.2 9 9.2; 1347 3.2 9 9.6;

1348 3.2 9 10; 1349 3.2 9 10.4; 1350 3.2 9 10.8; 1351 3.2 9 11.2;

1352 3.2 9 11.6; 1353 3.2 9 12; 1354 3.6 9 8.4; 1355 3.6 9 8.8; 1356 3.6 9 9.2;

1357 3.6 9 9.6; 1358 3.6 9 10; 1359 3.6 9 10.4; 1360 3.6 9 10.8;

1361 3.6 9 11.2; 1362 3.6 9 11.6; 1363 3.6 9 12; 1364 4 9 8.4; 1365 4 9 8.8;

1366 4 9 9.2; 1367 4 9 9.6; 1368 4 9 10; 1369 4 9 10.4; 1370 4 9 10.8;

1371 4 9 11.2; 1372 4 9 11.6;

MEMBER INCIDENCES

1 9 1; 2 1 17; 3 17 25; 4 25 33; 5 10 2; 6 2 18; 7 18 26; 8 26 34; 9 11 3;

10 3 19; 11 19 27; 12 27 35; 13 12 4; 14 4 20; 15 20 28; 16 28 36; 17 13 5;

18 5 21; 19 21 29; 20 29 37; 21 14 6; 22 6 22; 23 22 30; 24 30 38; 25 15 7;

26 7 23; 27 23 31; 28 31 39; 29 16 8; 30 8 24; 31 24 32; 32 32 40; 33 1 2;

34 3 4; 35 5 6; 36 7 8; 37 17 375; 38 375 394; 39 394 405; 40 405 416;

41 416 427; 42 427 438; 43 438 449; 44 449 460; 45 460 471; 46 471 18;

47 19 393; 48 393 404; 49 404 415; 50 415 426; 51 426 437; 52 437 448;

53 448 459; 54 459 470; 55 470 481; 56 481 20; 57 21 509; 58 509 519;

59 519 529; 60 529 539; 61 539 549; 62 549 559; 63 559 569; 64 569 579;

65 579 589; 66 589 22; 67 23 617; 68 617 627; 69 627 637; 70 637 647;

71 647 657; 72 657 667; 73 667 677; 74 677 687; 75 687 697; 76 697 24;

77 25 708; 78 708 727; 79 727 738; 80 738 749; 81 749 760; 82 760 771;

83 771 782; 84 782 793; 85 793 804; 86 804 26; 87 27 726; 88 726 737;

89 737 748; 90 748 759; 91 759 770; 92 770 781; 93 781 792; 94 792 803;

95 803 814; 96 814 28; 97 29 842; 98 842 852; 99 852 862; 100 862 872;

101 872 882; 102 882 892; 103 892 902; 104 902 912; 105 912 922; 106 922 30;

107 31 950; 108 950 960; 109 960 970; 110 970 980; 111 980 990; 112 990 1000;

113 1000 1010; 114 1010 1020; 115 1020 1030; 116 1030 32; 117 33 1041;

118 1041 1060; 119 1060 1071; 120 1071 1082; 121 1082 1093; 122 1093 1104;

123 1104 1115; 124 1115 1126; 125 1126 1137; 126 1137 34; 127 35 1059;

128 1059 1070; 129 1070 1081; 130 1081 1092; 131 1092 1103; 132 1103 1114;

133 1114 1125; 134 1125 1136; 135 1136 1147; 136 1147 36; 137 37 1175;

138 1175 1185; 139 1185 1195; 140 1195 1205; 141 1205 1215; 142 1215 1225;

143 1225 1235; 144 1235 1245; 145 1245 1255; 146 1255 38; 147 39 1283;

148 1283 1293; 149 1293 1303; 150 1303 1313; 151 1313 1323; 152 1323 1333;

153 1333 1343; 154 1343 1353; 155 1353 1363; 156 1363 40; 157 7 5; 158 5 3;

159 3 1; 160 8 6; 161 6 4; 162 4 2; 163 23 615; 164 615 613; 165 613 611;

166 611 609; 167 609 607; 168 607 605; 169 605 603; 170 603 601; 171 601 599;

172 599 21; 173 21 507; 174 507 505; 175 505 503; 176 503 501; 177 501 499;

178 499 497; 179 497 495; 180 495 493; 181 493 491; 182 491 19; 183 19 391;

184 391 389; 185 389 387; 186 387 385; 187 385 383; 188 383 381; 189 381 379;

190 379 377; 191 377 374; 192 374 17; 193 24 706; 194 706 705; 195 705 704;

196 704 703; 197 703 702; 198 702 701; 199 701 700; 200 700 699; 201 699 698;

202 698 22; 203 22 598; 204 598 597; 205 597 596; 206 596 595; 207 595 594;

208 594 593; 209 593 592; 210 592 591; 211 591 590; 212 590 20; 213 20 490;

214 490 489; 215 489 488; 216 488 487; 217 487 486; 218 486 485; 219 485 484;

220 484 483; 221 483 482; 222 482 18; 223 31 948; 224 948 946; 225 946 944;

226 944 942; 227 942 940; 228 940 938; 229 938 936; 230 936 934; 231 934 932;

232 932 29; 233 29 840; 234 840 838; 235 838 836; 236 836 834; 237 834 832;

238 832 830; 239 830 828; 240 828 826; 241 826 824; 242 824 27; 243 27 724;

244 724 722; 245 722 720; 246 720 718; 247 718 716; 248 716 714; 249 714 712;

250 712 710; 251 710 707; 252 707 25; 253 32 1039; 254 1039 1038;

255 1038 1037; 256 1037 1036; 257 1036 1035; 258 1035 1034; 259 1034 1033;

260 1033 1032; 261 1032 1031; 262 1031 30; 263 30 931; 264 931 930;

265 930 929; 266 929 928; 267 928 927; 268 927 926; 269 926 925; 270 925 924;

271 924 923; 272 923 28; 273 28 823; 274 823 822; 275 822 821; 276 821 820;

277 820 819; 278 819 818; 279 818 817; 280 817 816; 281 816 815; 282 815 26;

283 39 1281; 284 1281 1279; 285 1279 1277; 286 1277 1275; 287 1275 1273;

288 1273 1271; 289 1271 1269; 290 1269 1267; 291 1267 1265; 292 1265 37;

293 37 1173; 294 1173 1171; 295 1171 1169; 296 1169 1167; 297 1167 1165;

298 1165 1163; 299 1163 1161; 300 1161 1159; 301 1159 1157; 302 1157 35;

303 35 1057; 304 1057 1055; 305 1055 1053; 306 1053 1051; 307 1051 1049;

308 1049 1047; 309 1047 1045; 310 1045 1043; 311 1043 1040; 312 1040 33;

313 40 1372; 314 1372 1371; 315 1371 1370; 316 1370 1369; 317 1369 1368;

318 1368 1367; 319 1367 1366; 320 1366 1365; 321 1365 1364; 322 1364 38;

323 38 1264; 324 1264 1263; 325 1263 1262; 326 1262 1261; 327 1261 1260;

328 1260 1259; 329 1259 1258; 330 1258 1257; 331 1257 1256; 332 1256 36;

333 36 1156; 334 1156 1155; 335 1155 1154; 336 1154 1153; 337 1153 1152;

338 1152 1151; 339 1151 1150; 340 1150 1149; 341 1149 1148; 342 1148 34;

ELEMENT INCIDENCES SHELL

10000 374 17 375 376; 10001 377 374 376 378; 10002 379 377 378 380;

10003 381 379 380 382; 10004 383 381 382 384; 10005 385 383 384 386;

10006 387 385 386 388; 10007 389 387 388 390; 10008 391 389 390 392;

10009 19 391 392 393; 10010 491 19 393 492; 10011 493 491 492 494;

10012 495 493 494 496; 10013 497 495 496 498; 10014 499 497 498 500;

10015 501 499 500 502; 10016 503 501 502 504; 10017 505 503 504 506;

10018 507 505 506 508; 10019 21 507 508 509; 10020 599 21 509 600;

10021 601 599 600 602; 10022 603 601 602 604; 10023 605 603 604 606;

10024 607 605 606 608; 10025 609 607 608 610; 10026 611 609 610 612;

10027 613 611 612 614; 10028 615 613 614 616; 10029 23 615 616 617;

10030 707 25 708 709; 10031 710 707 709 711; 10032 712 710 711 713;

10033 714 712 713 715; 10034 716 714 715 717; 10035 718 716 717 719;

10036 720 718 719 721; 10037 722 720 721 723; 10038 724 722 723 725;

10039 27 724 725 726; 10040 824 27 726 825; 10041 826 824 825 827;

10042 828 826 827 829; 10043 830 828 829 831; 10044 832 830 831 833;

10045 834 832 833 835; 10046 836 834 835 837; 10047 838 836 837 839;

10048 840 838 839 841; 10049 29 840 841 842; 10050 932 29 842 933;

10051 934 932 933 935; 10052 936 934 935 937; 10053 938 936 937 939;

10054 940 938 939 941; 10055 942 940 941 943; 10056 944 942 943 945;

10057 946 944 945 947; 10058 948 946 947 949; 10059 31 948 949 950;

10060 1040 33 1041 1042; 10061 1043 1040 1042 1044; 10062 1045 1043 1044 1046;

10063 1047 1045 1046 1048; 10064 1049 1047 1048 1050;

10065 1051 1049 1050 1052; 10066 1053 1051 1052 1054;

10067 1055 1053 1054 1056; 10068 1057 1055 1056 1058; 10069 35 1057 1058 1059;

10070 1157 35 1059 1158; 10071 1159 1157 1158 1160; 10072 1161 1159 1160 1162;

10073 1163 1161 1162 1164; 10074 1165 1163 1164 1166;

10075 1167 1165 1166 1168; 10076 1169 1167 1168 1170;

10077 1171 1169 1170 1172; 10078 1173 1171 1172 1174; 10079 37 1173 1174 1175;

10080 1265 37 1175 1266; 10081 1267 1265 1266 1268; 10082 1269 1267 1268 1270;

10083 1271 1269 1270 1272; 10084 1273 1271 1272 1274;

10085 1275 1273 1274 1276; 10086 1277 1275 1276 1278;

10087 1279 1277 1278 1280; 10088 1281 1279 1280 1282; 10089 39 1281 1282 1283;

10090 376 375 394 395; 10091 378 376 395 396; 10092 380 378 396 397;

10093 382 380 397 398; 10094 384 382 398 399; 10095 386 384 399 400;

10096 388 386 400 401; 10097 390 388 401 402; 10098 392 390 402 403;

10099 393 392 403 404; 10100 492 393 404 510; 10101 494 492 510 511;

10102 496 494 511 512; 10103 498 496 512 513; 10104 500 498 513 514;

10105 502 500 514 515; 10106 504 502 515 516; 10107 506 504 516 517;

10108 508 506 517 518; 10109 509 508 518 519; 10110 600 509 519 618;

10111 602 600 618 619; 10112 604 602 619 620; 10113 606 604 620 621;

10114 608 606 621 622; 10115 610 608 622 623; 10116 612 610 623 624;

10117 614 612 624 625; 10118 616 614 625 626; 10119 617 616 626 627;

10120 709 708 727 728; 10121 711 709 728 729; 10122 713 711 729 730;

10123 715 713 730 731; 10124 717 715 731 732; 10125 719 717 732 733;

10126 721 719 733 734; 10127 723 721 734 735; 10128 725 723 735 736;

10129 726 725 736 737; 10130 825 726 737 843; 10131 827 825 843 844;

10132 829 827 844 845; 10133 831 829 845 846; 10134 833 831 846 847;

10135 835 833 847 848; 10136 837 835 848 849; 10137 839 837 849 850;

10138 841 839 850 851; 10139 842 841 851 852; 10140 933 842 852 951;

10141 935 933 951 952; 10142 937 935 952 953; 10143 939 937 953 954;

10144 941 939 954 955; 10145 943 941 955 956; 10146 945 943 956 957;

10147 947 945 957 958; 10148 949 947 958 959; 10149 950 949 959 960;

10150 1042 1041 1060 1061; 10151 1044 1042 1061 1062;

10152 1046 1044 1062 1063; 10153 1048 1046 1063 1064;

10154 1050 1048 1064 1065; 10155 1052 1050 1065 1066;

10156 1054 1052 1066 1067; 10157 1056 1054 1067 1068;

10158 1058 1056 1068 1069; 10159 1059 1058 1069 1070;

10160 1158 1059 1070 1176; 10161 1160 1158 1176 1177;

10162 1162 1160 1177 1178; 10163 1164 1162 1178 1179;

10164 1166 1164 1179 1180; 10165 1168 1166 1180 1181;

10166 1170 1168 1181 1182; 10167 1172 1170 1182 1183;

10168 1174 1172 1183 1184; 10169 1175 1174 1184 1185;

10170 1266 1175 1185 1284; 10171 1268 1266 1284 1285;

10172 1270 1268 1285 1286; 10173 1272 1270 1286 1287;

10174 1274 1272 1287 1288; 10175 1276 1274 1288 1289;

10176 1278 1276 1289 1290; 10177 1280 1278 1290 1291;

10178 1282 1280 1291 1292; 10179 1283 1282 1292 1293; 10180 395 394 405 406;

10181 396 395 406 407; 10182 397 396 407 408; 10183 398 397 408 409;

10184 399 398 409 410; 10185 400 399 410 411; 10186 401 400 411 412;

10187 402 401 412 413; 10188 403 402 413 414; 10189 404 403 414 415;

10190 510 404 415 520; 10191 511 510 520 521; 10192 512 511 521 522;

10193 513 512 522 523; 10194 514 513 523 524; 10195 515 514 524 525;

10196 516 515 525 526; 10197 517 516 526 527; 10198 518 517 527 528;

10199 519 518 528 529; 10200 618 519 529 628; 10201 619 618 628 629;

10202 620 619 629 630; 10203 621 620 630 631; 10204 622 621 631 632;

10205 623 622 632 633; 10206 624 623 633 634; 10207 625 624 634 635;

10208 626 625 635 636; 10209 627 626 636 637; 10210 728 727 738 739;

10211 729 728 739 740; 10212 730 729 740 741; 10213 731 730 741 742;

10214 732 731 742 743; 10215 733 732 743 744; 10216 734 733 744 745;

10217 735 734 745 746; 10218 736 735 746 747; 10219 737 736 747 748;

10220 843 737 748 853; 10221 844 843 853 854; 10222 845 844 854 855;

10223 846 845 855 856; 10224 847 846 856 857; 10225 848 847 857 858;

10226 849 848 858 859; 10227 850 849 859 860; 10228 851 850 860 861;

10229 852 851 861 862; 10230 951 852 862 961; 10231 952 951 961 962;

10232 953 952 962 963; 10233 954 953 963 964; 10234 955 954 964 965;

10235 956 955 965 966; 10236 957 956 966 967; 10237 958 957 967 968;

10238 959 958 968 969; 10239 960 959 969 970; 10240 1061 1060 1071 1072;

10241 1062 1061 1072 1073; 10242 1063 1062 1073 1074;

10243 1064 1063 1074 1075; 10244 1065 1064 1075 1076;

10245 1066 1065 1076 1077; 10246 1067 1066 1077 1078;

10247 1068 1067 1078 1079; 10248 1069 1068 1079 1080;

10249 1070 1069 1080 1081; 10250 1176 1070 1081 1186;

10251 1177 1176 1186 1187; 10252 1178 1177 1187 1188;

10253 1179 1178 1188 1189; 10254 1180 1179 1189 1190;

10255 1181 1180 1190 1191; 10256 1182 1181 1191 1192;

10257 1183 1182 1192 1193; 10258 1184 1183 1193 1194;

10259 1185 1184 1194 1195; 10260 1284 1185 1195 1294;

10261 1285 1284 1294 1295; 10262 1286 1285 1295 1296;

10263 1287 1286 1296 1297; 10264 1288 1287 1297 1298;

10265 1289 1288 1298 1299; 10266 1290 1289 1299 1300;

10267 1291 1290 1300 1301; 10268 1292 1291 1301 1302;

10269 1293 1292 1302 1303; 10270 406 405 416 417; 10271 407 406 417 418;

10272 408 407 418 419; 10273 409 408 419 420; 10274 410 409 420 421;

10275 411 410 421 422; 10276 412 411 422 423; 10277 413 412 423 424;

10278 414 413 424 425; 10279 415 414 425 426; 10280 520 415 426 530;

10281 521 520 530 531; 10282 522 521 531 532; 10283 523 522 532 533;

10284 524 523 533 534; 10285 525 524 534 535; 10286 526 525 535 536;

10287 527 526 536 537; 10288 528 527 537 538; 10289 529 528 538 539;

10290 628 529 539 638; 10291 629 628 638 639; 10292 630 629 639 640;

10293 631 630 640 641; 10294 632 631 641 642; 10295 633 632 642 643;

10296 634 633 643 644; 10297 635 634 644 645; 10298 636 635 645 646;

10299 637 636 646 647; 10300 739 738 749 750; 10301 740 739 750 751;

10302 741 740 751 752; 10303 742 741 752 753; 10304 743 742 753 754;

10305 744 743 754 755; 10306 745 744 755 756; 10307 746 745 756 757;

10308 747 746 757 758; 10309 748 747 758 759; 10310 853 748 759 863;

10311 854 853 863 864; 10312 855 854 864 865; 10313 856 855 865 866;

10314 857 856 866 867; 10315 858 857 867 868; 10316 859 858 868 869;

10317 860 859 869 870; 10318 861 860 870 871; 10319 862 861 871 872;

10320 961 862 872 971; 10321 962 961 971 972; 10322 963 962 972 973;

10323 964 963 973 974; 10324 965 964 974 975; 10325 966 965 975 976;

10326 967 966 976 977; 10327 968 967 977 978; 10328 969 968 978 979;

10329 970 969 979 980; 10330 1072 1071 1082 1083; 10331 1073 1072 1083 1084;

10332 1074 1073 1084 1085; 10333 1075 1074 1085 1086;

10334 1076 1075 1086 1087; 10335 1077 1076 1087 1088;

10336 1078 1077 1088 1089; 10337 1079 1078 1089 1090;

10338 1080 1079 1090 1091; 10339 1081 1080 1091 1092;

10340 1186 1081 1092 1196; 10341 1187 1186 1196 1197;

10342 1188 1187 1197 1198; 10343 1189 1188 1198 1199;

10344 1190 1189 1199 1200; 10345 1191 1190 1200 1201;

10346 1192 1191 1201 1202; 10347 1193 1192 1202 1203;

10348 1194 1193 1203 1204; 10349 1195 1194 1204 1205;

10350 1294 1195 1205 1304; 10351 1295 1294 1304 1305;

10352 1296 1295 1305 1306; 10353 1297 1296 1306 1307;

10354 1298 1297 1307 1308; 10355 1299 1298 1308 1309;

10356 1300 1299 1309 1310; 10357 1301 1300 1310 1311;

10358 1302 1301 1311 1312; 10359 1303 1302 1312 1313; 10360 417 416 427 428;

10361 418 417 428 429; 10362 419 418 429 430; 10363 420 419 430 431;

10364 421 420 431 432; 10365 422 421 432 433; 10366 423 422 433 434;

10367 424 423 434 435; 10368 425 424 435 436; 10369 426 425 436 437;

10370 530 426 437 540; 10371 531 530 540 541; 10372 532 531 541 542;

10373 533 532 542 543; 10374 534 533 543 544; 10375 535 534 544 545;

10376 536 535 545 546; 10377 537 536 546 547; 10378 538 537 547 548;

10379 539 538 548 549; 10380 638 539 549 648; 10381 639 638 648 649;

10382 640 639 649 650; 10383 641 640 650 651; 10384 642 641 651 652;

10385 643 642 652 653; 10386 644 643 653 654; 10387 645 644 654 655;

10388 646 645 655 656; 10389 647 646 656 657; 10390 750 749 760 761;

10391 751 750 761 762; 10392 752 751 762 763; 10393 753 752 763 764;

10394 754 753 764 765; 10395 755 754 765 766; 10396 756 755 766 767;

10397 757 756 767 768; 10398 758 757 768 769; 10399 759 758 769 770;

10400 863 759 770 873; 10401 864 863 873 874; 10402 865 864 874 875;

10403 866 865 875 876; 10404 867 866 876 877; 10405 868 867 877 878;

10406 869 868 878 879; 10407 870 869 879 880; 10408 871 870 880 881;

10409 872 871 881 882; 10410 971 872 882 981; 10411 972 971 981 982;

10412 973 972 982 983; 10413 974 973 983 984; 10414 975 974 984 985;

10415 976 975 985 986; 10416 977 976 986 987; 10417 978 977 987 988;

10418 979 978 988 989; 10419 980 979 989 990; 10420 1083 1082 1093 1094;

10421 1084 1083 1094 1095; 10422 1085 1084 1095 1096;

10423 1086 1085 1096 1097; 10424 1087 1086 1097 1098;

10425 1088 1087 1098 1099; 10426 1089 1088 1099 1100;

10427 1090 1089 1100 1101; 10428 1091 1090 1101 1102;

10429 1092 1091 1102 1103; 10430 1196 1092 1103 1206;

10431 1197 1196 1206 1207; 10432 1198 1197 1207 1208;

10433 1199 1198 1208 1209; 10434 1200 1199 1209 1210;

10435 1201 1200 1210 1211; 10436 1202 1201 1211 1212;

10437 1203 1202 1212 1213; 10438 1204 1203 1213 1214;

10439 1205 1204 1214 1215; 10440 1304 1205 1215 1314;

10441 1305 1304 1314 1315; 10442 1306 1305 1315 1316;

10443 1307 1306 1316 1317; 10444 1308 1307 1317 1318;

10445 1309 1308 1318 1319; 10446 1310 1309 1319 1320;

10447 1311 1310 1320 1321; 10448 1312 1311 1321 1322;

10449 1313 1312 1322 1323; 10450 428 427 438 439; 10451 429 428 439 440;

10452 430 429 440 441; 10453 431 430 441 442; 10454 432 431 442 443;

10455 433 432 443 444; 10456 434 433 444 445; 10457 435 434 445 446;

10458 436 435 446 447; 10459 437 436 447 448; 10460 540 437 448 550;

10461 541 540 550 551; 10462 542 541 551 552; 10463 543 542 552 553;

10464 544 543 553 554; 10465 545 544 554 555; 10466 546 545 555 556;

10467 547 546 556 557; 10468 548 547 557 558; 10469 549 548 558 559;

10470 648 549 559 658; 10471 649 648 658 659; 10472 650 649 659 660;

10473 651 650 660 661; 10474 652 651 661 662; 10475 653 652 662 663;

10476 654 653 663 664; 10477 655 654 664 665; 10478 656 655 665 666;

10479 657 656 666 667; 10480 761 760 771 772; 10481 762 761 772 773;

10482 763 762 773 774; 10483 764 763 774 775; 10484 765 764 775 776;

10485 766 765 776 777; 10486 767 766 777 778; 10487 768 767 778 779;

10488 769 768 779 780; 10489 770 769 780 781; 10490 873 770 781 883;

10491 874 873 883 884; 10492 875 874 884 885; 10493 876 875 885 886;

10494 877 876 886 887; 10495 878 877 887 888; 10496 879 878 888 889;

10497 880 879 889 890; 10498 881 880 890 891; 10499 882 881 891 892;

10500 981 882 892 991; 10501 982 981 991 992; 10502 983 982 992 993;

10503 984 983 993 994; 10504 985 984 994 995; 10505 986 985 995 996;

10506 987 986 996 997; 10507 988 987 997 998; 10508 989 988 998 999;

10509 990 989 999 1000; 10510 1094 1093 1104 1105; 10511 1095 1094 1105 1106;

10512 1096 1095 1106 1107; 10513 1097 1096 1107 1108;

10514 1098 1097 1108 1109; 10515 1099 1098 1109 1110;

10516 1100 1099 1110 1111; 10517 1101 1100 1111 1112;

10518 1102 1101 1112 1113; 10519 1103 1102 1113 1114;

10520 1206 1103 1114 1216; 10521 1207 1206 1216 1217;

10522 1208 1207 1217 1218; 10523 1209 1208 1218 1219;

10524 1210 1209 1219 1220; 10525 1211 1210 1220 1221;

10526 1212 1211 1221 1222; 10527 1213 1212 1222 1223;

10528 1214 1213 1223 1224; 10529 1215 1214 1224 1225;

10530 1314 1215 1225 1324; 10531 1315 1314 1324 1325;

10532 1316 1315 1325 1326; 10533 1317 1316 1326 1327;

10534 1318 1317 1327 1328; 10535 1319 1318 1328 1329;

10536 1320 1319 1329 1330; 10537 1321 1320 1330 1331;

10538 1322 1321 1331 1332; 10539 1323 1322 1332 1333; 10540 439 438 449 450;

10541 440 439 450 451; 10542 441 440 451 452; 10543 442 441 452 453;

10544 443 442 453 454; 10545 444 443 454 455; 10546 445 444 455 456;

10547 446 445 456 457; 10548 447 446 457 458; 10549 448 447 458 459;

10550 550 448 459 560; 10551 551 550 560 561; 10552 552 551 561 562;

10553 553 552 562 563; 10554 554 553 563 564; 10555 555 554 564 565;

10556 556 555 565 566; 10557 557 556 566 567; 10558 558 557 567 568;

10559 559 558 568 569; 10560 658 559 569 668; 10561 659 658 668 669;

10562 660 659 669 670; 10563 661 660 670 671; 10564 662 661 671 672;

10565 663 662 672 673; 10566 664 663 673 674; 10567 665 664 674 675;

10568 666 665 675 676; 10569 667 666 676 677; 10570 772 771 782 783;

10571 773 772 783 784; 10572 774 773 784 785; 10573 775 774 785 786;

10574 776 775 786 787; 10575 777 776 787 788; 10576 778 777 788 789;

10577 779 778 789 790; 10578 780 779 790 791; 10579 781 780 791 792;

10580 883 781 792 893; 10581 884 883 893 894; 10582 885 884 894 895;

10583 886 885 895 896; 10584 887 886 896 897; 10585 888 887 897 898;

10586 889 888 898 899; 10587 890 889 899 900; 10588 891 890 900 901;

10589 892 891 901 902; 10590 991 892 902 1001; 10591 992 991 1001 1002;

10592 993 992 1002 1003; 10593 994 993 1003 1004; 10594 995 994 1004 1005;

10595 996 995 1005 1006; 10596 997 996 1006 1007; 10597 998 997 1007 1008;

10598 999 998 1008 1009; 10599 1000 999 1009 1010; 10600 1105 1104 1115 1116;

10601 1106 1105 1116 1117; 10602 1107 1106 1117 1118;

10603 1108 1107 1118 1119; 10604 1109 1108 1119 1120;

10605 1110 1109 1120 1121; 10606 1111 1110 1121 1122;

10607 1112 1111 1122 1123; 10608 1113 1112 1123 1124;

10609 1114 1113 1124 1125; 10610 1216 1114 1125 1226;

10611 1217 1216 1226 1227; 10612 1218 1217 1227 1228;

10613 1219 1218 1228 1229; 10614 1220 1219 1229 1230;

10615 1221 1220 1230 1231; 10616 1222 1221 1231 1232;

10617 1223 1222 1232 1233; 10618 1224 1223 1233 1234;

10619 1225 1224 1234 1235; 10620 1324 1225 1235 1334;

10621 1325 1324 1334 1335; 10622 1326 1325 1335 1336;

10623 1327 1326 1336 1337; 10624 1328 1327 1337 1338;

10625 1329 1328 1338 1339; 10626 1330 1329 1339 1340;

10627 1331 1330 1340 1341; 10628 1332 1331 1341 1342;

10629 1333 1332 1342 1343; 10630 450 449 460 461; 10631 451 450 461 462;

10632 452 451 462 463; 10633 453 452 463 464; 10634 454 453 464 465;

10635 455 454 465 466; 10636 456 455 466 467; 10637 457 456 467 468;

10638 458 457 468 469; 10639 459 458 469 470; 10640 560 459 470 570;

10641 561 560 570 571; 10642 562 561 571 572; 10643 563 562 572 573;

10644 564 563 573 574; 10645 565 564 574 575; 10646 566 565 575 576;

10647 567 566 576 577; 10648 568 567 577 578; 10649 569 568 578 579;

10650 668 569 579 678; 10651 669 668 678 679; 10652 670 669 679 680;

10653 671 670 680 681; 10654 672 671 681 682; 10655 673 672 682 683;

10656 674 673 683 684; 10657 675 674 684 685; 10658 676 675 685 686;

10659 677 676 686 687; 10660 783 782 793 794; 10661 784 783 794 795;

10662 785 784 795 796; 10663 786 785 796 797; 10664 787 786 797 798;

10665 788 787 798 799; 10666 789 788 799 800; 10667 790 789 800 801;

10668 791 790 801 802; 10669 792 791 802 803; 10670 893 792 803 903;

10671 894 893 903 904; 10672 895 894 904 905; 10673 896 895 905 906;

10674 897 896 906 907; 10675 898 897 907 908; 10676 899 898 908 909;

10677 900 899 909 910; 10678 901 900 910 911; 10679 902 901 911 912;

10680 1001 902 912 1011; 10681 1002 1001 1011 1012; 10682 1003 1002 1012 1013;

10683 1004 1003 1013 1014; 10684 1005 1004 1014 1015;

10685 1006 1005 1015 1016; 10686 1007 1006 1016 1017;

10687 1008 1007 1017 1018; 10688 1009 1008 1018 1019;

10689 1010 1009 1019 1020; 10690 1116 1115 1126 1127;

10691 1117 1116 1127 1128; 10692 1118 1117 1128 1129;

10693 1119 1118 1129 1130; 10694 1120 1119 1130 1131;

10695 1121 1120 1131 1132; 10696 1122 1121 1132 1133;

10697 1123 1122 1133 1134; 10698 1124 1123 1134 1135;

10699 1125 1124 1135 1136; 10700 1226 1125 1136 1236;

10701 1227 1226 1236 1237; 10702 1228 1227 1237 1238;

10703 1229 1228 1238 1239; 10704 1230 1229 1239 1240;

10705 1231 1230 1240 1241; 10706 1232 1231 1241 1242;

10707 1233 1232 1242 1243; 10708 1234 1233 1243 1244;

10709 1235 1234 1244 1245; 10710 1334 1235 1245 1344;

10711 1335 1334 1344 1345; 10712 1336 1335 1345 1346;

10713 1337 1336 1346 1347; 10714 1338 1337 1347 1348;

10715 1339 1338 1348 1349; 10716 1340 1339 1349 1350;

10717 1341 1340 1350 1351; 10718 1342 1341 1351 1352;

10719 1343 1342 1352 1353; 10720 461 460 471 472; 10721 462 461 472 473;

10722 463 462 473 474; 10723 464 463 474 475; 10724 465 464 475 476;

10725 466 465 476 477; 10726 467 466 477 478; 10727 468 467 478 479;

10728 469 468 479 480; 10729 470 469 480 481; 10730 570 470 481 580;

10731 571 570 580 581; 10732 572 571 581 582; 10733 573 572 582 583;

10734 574 573 583 584; 10735 575 574 584 585; 10736 576 575 585 586;

10737 577 576 586 587; 10738 578 577 587 588; 10739 579 578 588 589;

10740 678 579 589 688; 10741 679 678 688 689; 10742 680 679 689 690;

10743 681 680 690 691; 10744 682 681 691 692; 10745 683 682 692 693;

10746 684 683 693 694; 10747 685 684 694 695; 10748 686 685 695 696;

10749 687 686 696 697; 10750 794 793 804 805; 10751 795 794 805 806;

10752 796 795 806 807; 10753 797 796 807 808; 10754 798 797 808 809;

10755 799 798 809 810; 10756 800 799 810 811; 10757 801 800 811 812;

10758 802 801 812 813; 10759 803 802 813 814; 10760 903 803 814 913;

10761 904 903 913 914; 10762 905 904 914 915; 10763 906 905 915 916;

10764 907 906 916 917; 10765 908 907 917 918; 10766 909 908 918 919;

10767 910 909 919 920; 10768 911 910 920 921; 10769 912 911 921 922;

10770 1011 912 922 1021; 10771 1012 1011 1021 1022; 10772 1013 1012 1022 1023;

10773 1014 1013 1023 1024; 10774 1015 1014 1024 1025;

10775 1016 1015 1025 1026; 10776 1017 1016 1026 1027;

10777 1018 1017 1027 1028; 10778 1019 1018 1028 1029;

10779 1020 1019 1029 1030; 10780 1127 1126 1137 1138;

10781 1128 1127 1138 1139; 10782 1129 1128 1139 1140;

10783 1130 1129 1140 1141; 10784 1131 1130 1141 1142;

10785 1132 1131 1142 1143; 10786 1133 1132 1143 1144;

10787 1134 1133 1144 1145; 10788 1135 1134 1145 1146;

10789 1136 1135 1146 1147; 10790 1236 1136 1147 1246;

10791 1237 1236 1246 1247; 10792 1238 1237 1247 1248;

10793 1239 1238 1248 1249; 10794 1240 1239 1249 1250;

10795 1241 1240 1250 1251; 10796 1242 1241 1251 1252;

10797 1243 1242 1252 1253; 10798 1244 1243 1253 1254;

10799 1245 1244 1254 1255; 10800 1344 1245 1255 1354;

10801 1345 1344 1354 1355; 10802 1346 1345 1355 1356;

10803 1347 1346 1356 1357; 10804 1348 1347 1357 1358;

10805 1349 1348 1358 1359; 10806 1350 1349 1359 1360;

10807 1351 1350 1360 1361; 10808 1352 1351 1361 1362;

10809 1353 1352 1362 1363; 10810 472 471 18 482; 10811 473 472 482 483;

10812 474 473 483 484; 10813 475 474 484 485; 10814 476 475 485 486;

10815 477 476 486 487; 10816 478 477 487 488; 10817 479 478 488 489;

10818 480 479 489 490; 10819 481 480 490 20; 10820 580 481 20 590;

10821 581 580 590 591; 10822 582 581 591 592; 10823 583 582 592 593;

10824 584 583 593 594; 10825 585 584 594 595; 10826 586 585 595 596;

10827 587 586 596 597; 10828 588 587 597 598; 10829 589 588 598 22;

10830 688 589 22 698; 10831 689 688 698 699; 10832 690 689 699 700;

10833 691 690 700 701; 10834 692 691 701 702; 10835 693 692 702 703;

10836 694 693 703 704; 10837 695 694 704 705; 10838 696 695 705 706;

10839 697 696 706 24; 10840 805 804 26 815; 10841 806 805 815 816;

10842 807 806 816 817; 10843 808 807 817 818; 10844 809 808 818 819;

10845 810 809 819 820; 10846 811 810 820 821; 10847 812 811 821 822;

10848 813 812 822 823; 10849 814 813 823 28; 10850 913 814 28 923;

10851 914 913 923 924; 10852 915 914 924 925; 10853 916 915 925 926;

10854 917 916 926 927; 10855 918 917 927 928; 10856 919 918 928 929;

10857 920 919 929 930; 10858 921 920 930 931; 10859 922 921 931 30;

10860 1021 922 30 1031; 10861 1022 1021 1031 1032; 10862 1023 1022 1032 1033;

10863 1024 1023 1033 1034; 10864 1025 1024 1034 1035;

10865 1026 1025 1035 1036; 10866 1027 1026 1036 1037;

10867 1028 1027 1037 1038; 10868 1029 1028 1038 1039; 10869 1030 1029 1039 32;

10870 1138 1137 34 1148; 10871 1139 1138 1148 1149; 10872 1140 1139 1149 1150;

10873 1141 1140 1150 1151; 10874 1142 1141 1151 1152;

10875 1143 1142 1152 1153; 10876 1144 1143 1153 1154;

10877 1145 1144 1154 1155; 10878 1146 1145 1155 1156; 10879 1147 1146 1156 36;

10880 1246 1147 36 1256; 10881 1247 1246 1256 1257; 10882 1248 1247 1257 1258;

10883 1249 1248 1258 1259; 10884 1250 1249 1259 1260;

10885 1251 1250 1260 1261; 10886 1252 1251 1261 1262;

10887 1253 1252 1262 1263; 10888 1254 1253 1263 1264; 10889 1255 1254 1264 38;

10890 1354 1255 38 1364; 10891 1355 1354 1364 1365; 10892 1356 1355 1365 1366;

10893 1357 1356 1366 1367; 10894 1358 1357 1367 1368;

10895 1359 1358 1368 1369; 10896 1360 1359 1369 1370;

10897 1361 1360 1370 1371; 10898 1362 1361 1371 1372; 10899 1363 1362 1372 40;

ELEMENT PROPERTY

10000 TO 10059 10090 TO 10149 10180 TO 10239 10270 TO 10329 10360 TO 10419 -

10450 TO 10509 10540 TO 10599 10630 TO 10689 10720 TO 10779 10810 TO 10868 -

10869 THICKNESS 0.0001

10060 TO 10089 10150 TO 10179 10240 TO 10269 10330 TO 10359 10420 TO 10449 -

10510 TO 10539 10600 TO 10629 10690 TO 10719 10780 TO 10809 10870 TO 10898 -

10899 THICKNESS 0.0001

MEMBER OFFSET

37 TO 156 163 TO 342 START 0 -5e-005 0

37 TO 156 163 TO 342 END 0 -5e-005 0

DEFINE MATERIAL START

ISOTROPIC CONCRETE

E 2.17185e+007

POISSON 0.17

DENSITY 25

ALPHA 1e-005

DAMP 0.05

END DEFINE MATERIAL

MEMBER PROPERTY INDIAN

37 TO 156 163 TO 342 PRIS YD 0.005 ZD 0.005

1 TO 32 PRIS YD 0.3 ZD 0.3

MEMBER PROPERTY INDIAN

33 TO 36 157 TO 162 PRIS YD 0.3 ZD 0.2

CONSTANTS

MATERIAL CONCRETE ALL

SUPPORTS

9 TO 16 FIXED

*1 TO 8 17 TO 40 374 TO 1372 PINNED

******************************************************

UNIT MMS NEWTON

SLAVE RIGID MASTER 1208 JOINT 33 TO 40 1040 TO 1372

SLAVE RIGID MASTER 875 JOINT 25 TO 32 707 TO 1039

SLAVE RIGID MASTER 542 JOINT 17 TO 24 374 TO 706

SLAVE RIGID MASTER 3 JOINT 1 TO 8

UNIT METER KN

DEFINE 1893 LOAD

ZONE 0.24 RF 5 I 1 SS 2 ST 1 DM 5 DT 2

JOINT WEIGHT

**********************************************************

1 WEIGHT 53.38

2 WEIGHT 53.38

3 WEIGHT 79.745

4 WEIGHT 79.745

5 WEIGHT 79.745

6 WEIGHT 79.745

7 WEIGHT 53.38

8 WEIGHT 53.38

9 WEIGHT 1.688

10 WEIGHT 1.688

11 WEIGHT 1.688

12 WEIGHT 1.688

13 WEIGHT 1.688

14 WEIGHT 1.688

15 WEIGHT 1.688

16 WEIGHT 1.688

17 WEIGHT 11.249

18 WEIGHT 11.249

19 WEIGHT 13.588

20 WEIGHT 13.588

21 WEIGHT 13.588

22 WEIGHT 13.588

23 WEIGHT 11.249

24 WEIGHT 11.249

25 WEIGHT 11.249

26 WEIGHT 11.249

27 WEIGHT 13.588

28 WEIGHT 13.588

29 WEIGHT 13.588

30 WEIGHT 13.588

31 WEIGHT 11.249

32 WEIGHT 11.249

33 WEIGHT 5.226

34 WEIGHT 5.226

35 WEIGHT 6.277

36 WEIGHT 6.277

37 WEIGHT 6.277

38 WEIGHT 6.277

39 WEIGHT 5.226

40 WEIGHT 5.226

374 WEIGHT 4.677

375 WEIGHT 4.677

376 WEIGHT 0.712

377 WEIGHT 4.677

378 WEIGHT 0.712

379 WEIGHT 4.677

380 WEIGHT 0.712

381 WEIGHT 4.677

382 WEIGHT 0.712

383 WEIGHT 4.677

384 WEIGHT 0.712

385 WEIGHT 4.677

386 WEIGHT 0.712

387 WEIGHT 4.677

388 WEIGHT 0.712

389 WEIGHT 4.677

390 WEIGHT 0.712

391 WEIGHT 4.677

392 WEIGHT 0.712

393 WEIGHT 5.033

394 WEIGHT 4.677

395 WEIGHT 0.712

396 WEIGHT 0.712

397 WEIGHT 0.712

398 WEIGHT 0.712

399 WEIGHT 0.712

400 WEIGHT 0.712

401 WEIGHT 0.712

402 WEIGHT 0.712

403 WEIGHT 0.712

404 WEIGHT 5.033

405 WEIGHT 4.677

406 WEIGHT 0.712

407 WEIGHT 0.712

408 WEIGHT 0.712

409 WEIGHT 0.712

410 WEIGHT 0.712

411 WEIGHT 0.712

412 WEIGHT 0.712

413 WEIGHT 0.712

414 WEIGHT 0.712

415 WEIGHT 5.033

416 WEIGHT 4.677

417 WEIGHT 0.712

418 WEIGHT 0.712

419 WEIGHT 0.712

420 WEIGHT 0.712

421 WEIGHT 0.712

422 WEIGHT 0.712

423 WEIGHT 0.712

424 WEIGHT 0.712

425 WEIGHT 0.712

426 WEIGHT 5.033

427 WEIGHT 4.677

428 WEIGHT 0.712

429 WEIGHT 0.712

430 WEIGHT 0.712

431 WEIGHT 0.712

432 WEIGHT 0.712

433 WEIGHT 0.712

434 WEIGHT 0.712

435 WEIGHT 0.712

436 WEIGHT 0.712

437 WEIGHT 5.033

438 WEIGHT 4.677

439 WEIGHT 0.712

440 WEIGHT 0.712

441 WEIGHT 0.712

442 WEIGHT 0.712

443 WEIGHT 0.712

444 WEIGHT 0.712

445 WEIGHT 0.712

446 WEIGHT 0.712

447 WEIGHT 0.712

448 WEIGHT 5.033

449 WEIGHT 4.677

450 WEIGHT 0.712

451 WEIGHT 0.712

452 WEIGHT 0.712

453 WEIGHT 0.712

454 WEIGHT 0.712

455 WEIGHT 0.712

456 WEIGHT 0.712

457 WEIGHT 0.712

458 WEIGHT 0.712

459 WEIGHT 5.033

460 WEIGHT 4.677

461 WEIGHT 0.712

462 WEIGHT 0.712

463 WEIGHT 0.712

464 WEIGHT 0.712

465 WEIGHT 0.712

466 WEIGHT 0.712

467 WEIGHT 0.712

468 WEIGHT 0.712

469 WEIGHT 0.712

470 WEIGHT 5.033

471 WEIGHT 4.677

472 WEIGHT 0.712

473 WEIGHT 0.712

474 WEIGHT 0.712

475 WEIGHT 0.712

476 WEIGHT 0.712

477 WEIGHT 0.712

478 WEIGHT 0.712

479 WEIGHT 0.712

480 WEIGHT 0.712

481 WEIGHT 5.033

482 WEIGHT 4.677

483 WEIGHT 4.677

484 WEIGHT 4.677

485 WEIGHT 4.677

486 WEIGHT 4.677

487 WEIGHT 4.677

488 WEIGHT 4.677

489 WEIGHT 4.677

490 WEIGHT 4.677

491 WEIGHT 4.677

492 WEIGHT 0.712

493 WEIGHT 4.677

494 WEIGHT 0.712

495 WEIGHT 4.677

496 WEIGHT 0.712

497 WEIGHT 4.677

498 WEIGHT 0.712

499 WEIGHT 4.677

500 WEIGHT 0.712

501 WEIGHT 4.677

502 WEIGHT 0.712

503 WEIGHT 4.677

504 WEIGHT 0.712

505 WEIGHT 4.677

506 WEIGHT 0.712

507 WEIGHT 4.677

508 WEIGHT 0.712

509 WEIGHT 5.033

510 WEIGHT 0.712

511 WEIGHT 0.712

512 WEIGHT 0.712

513 WEIGHT 0.712

514 WEIGHT 0.712

515 WEIGHT 0.712

516 WEIGHT 0.712

517 WEIGHT 0.712

518 WEIGHT 0.712

519 WEIGHT 5.033

520 WEIGHT 0.712

521 WEIGHT 0.712

522 WEIGHT 0.712

523 WEIGHT 0.712

524 WEIGHT 0.712

525 WEIGHT 0.712

526 WEIGHT 0.712

527 WEIGHT 0.712

528 WEIGHT 0.712

529 WEIGHT 5.033

530 WEIGHT 0.712

531 WEIGHT 0.712

532 WEIGHT 0.712

533 WEIGHT 0.712

534 WEIGHT 0.712

535 WEIGHT 0.712

536 WEIGHT 0.712

537 WEIGHT 0.712

538 WEIGHT 0.712

539 WEIGHT 5.033

540 WEIGHT 0.712

541 WEIGHT 0.712

542 WEIGHT 0.712

543 WEIGHT 0.712

544 WEIGHT 0.712

545 WEIGHT 0.712

546 WEIGHT 0.712

547 WEIGHT 0.712

548 WEIGHT 0.712

549 WEIGHT 5.033

550 WEIGHT 0.712

551 WEIGHT 0.712

552 WEIGHT 0.712

553 WEIGHT 0.712

554 WEIGHT 0.712

555 WEIGHT 0.712

556 WEIGHT 0.712

557 WEIGHT 0.712

558 WEIGHT 0.712

559 WEIGHT 5.033

560 WEIGHT 0.712

561 WEIGHT 0.712

562 WEIGHT 0.712

563 WEIGHT 0.712

564 WEIGHT 0.712

565 WEIGHT 0.712

566 WEIGHT 0.712

567 WEIGHT 0.712

568 WEIGHT 0.712

569 WEIGHT 5.033

570 WEIGHT 0.712

571 WEIGHT 0.712

572 WEIGHT 0.712

573 WEIGHT 0.712

574 WEIGHT 0.712

575 WEIGHT 0.712

576 WEIGHT 0.712

577 WEIGHT 0.712

578 WEIGHT 0.712

579 WEIGHT 5.033

580 WEIGHT 0.712

581 WEIGHT 0.712

582 WEIGHT 0.712

583 WEIGHT 0.712

584 WEIGHT 0.712

585 WEIGHT 0.712

586 WEIGHT 0.712

587 WEIGHT 0.712

588 WEIGHT 0.712

589 WEIGHT 5.033

590 WEIGHT 4.677

591 WEIGHT 4.677

592 WEIGHT 4.677

593 WEIGHT 4.677

594 WEIGHT 4.677

595 WEIGHT 4.677

596 WEIGHT 4.677

597 WEIGHT 4.677

598 WEIGHT 4.677

599 WEIGHT 4.677

600 WEIGHT 0.712

601 WEIGHT 4.677

602 WEIGHT 0.712

603 WEIGHT 4.677

604 WEIGHT 0.712

605 WEIGHT 4.677

606 WEIGHT 0.712

607 WEIGHT 4.677

608 WEIGHT 0.712

609 WEIGHT 4.677

610 WEIGHT 0.712

611 WEIGHT 4.677

612 WEIGHT 0.712

613 WEIGHT 4.677

614 WEIGHT 0.712

615 WEIGHT 4.677

616 WEIGHT 0.712

617 WEIGHT 4.677

618 WEIGHT 0.712

619 WEIGHT 0.712

620 WEIGHT 0.712

621 WEIGHT 0.712

622 WEIGHT 0.712

623 WEIGHT 0.712

624 WEIGHT 0.712

625 WEIGHT 0.712

626 WEIGHT 0.712

627 WEIGHT 4.677

628 WEIGHT 0.712

629 WEIGHT 0.712

630 WEIGHT 0.712

631 WEIGHT 0.712

632 WEIGHT 0.712

633 WEIGHT 0.712

634 WEIGHT 0.712

635 WEIGHT 0.712

636 WEIGHT 0.712

637 WEIGHT 4.677

638 WEIGHT 0.712

639 WEIGHT 0.712

640 WEIGHT 0.712

641 WEIGHT 0.712

642 WEIGHT 0.712

643 WEIGHT 0.712

644 WEIGHT 0.712

645 WEIGHT 0.712

646 WEIGHT 0.712

647 WEIGHT 4.677

648 WEIGHT 0.712

649 WEIGHT 0.712

650 WEIGHT 0.712

651 WEIGHT 0.712

652 WEIGHT 0.712

653 WEIGHT 0.712

654 WEIGHT 0.712

655 WEIGHT 0.712

656 WEIGHT 0.712

657 WEIGHT 4.677

658 WEIGHT 0.712

659 WEIGHT 0.712

660 WEIGHT 0.712

661 WEIGHT 0.712

662 WEIGHT 0.712

663 WEIGHT 0.712

664 WEIGHT 0.712

665 WEIGHT 0.712

666 WEIGHT 0.712

667 WEIGHT 4.677

668 WEIGHT 0.712

669 WEIGHT 0.712

670 WEIGHT 0.712

671 WEIGHT 0.712

672 WEIGHT 0.712

673 WEIGHT 0.712

674 WEIGHT 0.712

675 WEIGHT 0.712

676 WEIGHT 0.712

677 WEIGHT 4.677

678 WEIGHT 0.712

679 WEIGHT 0.712

680 WEIGHT 0.712

681 WEIGHT 0.712

682 WEIGHT 0.712

683 WEIGHT 0.712

684 WEIGHT 0.712

685 WEIGHT 0.712

686 WEIGHT 0.712

687 WEIGHT 4.677

688 WEIGHT 0.712

689 WEIGHT 0.712

690 WEIGHT 0.712

691 WEIGHT 0.712

692 WEIGHT 0.712

693 WEIGHT 0.712

694 WEIGHT 0.712

695 WEIGHT 0.712

696 WEIGHT 0.712

697 WEIGHT 4.677

698 WEIGHT 4.677

699 WEIGHT 4.677

700 WEIGHT 4.677

701 WEIGHT 4.677

702 WEIGHT 4.677

703 WEIGHT 4.677

704 WEIGHT 4.677

705 WEIGHT 4.677

706 WEIGHT 4.677

707 WEIGHT 4.677

708 WEIGHT 4.677

709 WEIGHT 0.712

710 WEIGHT 4.677

711 WEIGHT 0.712

712 WEIGHT 4.677

713 WEIGHT 0.712

714 WEIGHT 4.677

715 WEIGHT 0.712

716 WEIGHT 4.677

717 WEIGHT 0.712

718 WEIGHT 4.677

719 WEIGHT 0.712

720 WEIGHT 4.677

721 WEIGHT 0.712

722 WEIGHT 4.677

723 WEIGHT 0.712

724 WEIGHT 4.677

725 WEIGHT 0.712

726 WEIGHT 5.033

727 WEIGHT 4.677

728 WEIGHT 0.712

729 WEIGHT 0.712

730 WEIGHT 0.712

731 WEIGHT 0.712

732 WEIGHT 0.712

733 WEIGHT 0.712

734 WEIGHT 0.712

735 WEIGHT 0.712

736 WEIGHT 0.712

737 WEIGHT 5.033

738 WEIGHT 4.677

739 WEIGHT 0.712

740 WEIGHT 0.712

741 WEIGHT 0.712

742 WEIGHT 0.712

743 WEIGHT 0.712

744 WEIGHT 0.712

745 WEIGHT 0.712

746 WEIGHT 0.712

747 WEIGHT 0.712

748 WEIGHT 5.033

749 WEIGHT 4.677

750 WEIGHT 0.712

751 WEIGHT 0.712

752 WEIGHT 0.712

753 WEIGHT 0.712

754 WEIGHT 0.712

755 WEIGHT 0.712

756 WEIGHT 0.712

757 WEIGHT 0.712

758 WEIGHT 0.712

759 WEIGHT 5.033

760 WEIGHT 4.677

761 WEIGHT 0.712

762 WEIGHT 0.712

763 WEIGHT 0.712

764 WEIGHT 0.712

765 WEIGHT 0.712

766 WEIGHT 0.712

767 WEIGHT 0.712

768 WEIGHT 0.712

769 WEIGHT 0.712

770 WEIGHT 5.033

771 WEIGHT 4.677

772 WEIGHT 0.712

773 WEIGHT 0.712

774 WEIGHT 0.712

775 WEIGHT 0.712

776 WEIGHT 0.712

777 WEIGHT 0.712

778 WEIGHT 0.712

779 WEIGHT 0.712

780 WEIGHT 0.712

781 WEIGHT 5.033

782 WEIGHT 4.677

783 WEIGHT 0.712

784 WEIGHT 0.712

785 WEIGHT 0.712

786 WEIGHT 0.712

787 WEIGHT 0.712

788 WEIGHT 0.712

789 WEIGHT 0.712

790 WEIGHT 0.712

791 WEIGHT 0.712

792 WEIGHT 5.033

793 WEIGHT 4.677

794 WEIGHT 0.712

795 WEIGHT 0.712

796 WEIGHT 0.712

797 WEIGHT 0.712

798 WEIGHT 0.712

799 WEIGHT 0.712

800 WEIGHT 0.712

801 WEIGHT 0.712

802 WEIGHT 0.712

803 WEIGHT 5.033

804 WEIGHT 4.677

805 WEIGHT 0.712

806 WEIGHT 0.712

807 WEIGHT 0.712

808 WEIGHT 0.712

809 WEIGHT 0.712

810 WEIGHT 0.712

811 WEIGHT 0.712

812 WEIGHT 0.712

813 WEIGHT 0.712

814 WEIGHT 5.033

815 WEIGHT 4.677

816 WEIGHT 4.677

817 WEIGHT 4.677

818 WEIGHT 4.677

819 WEIGHT 4.677

820 WEIGHT 4.677

821 WEIGHT 4.677

822 WEIGHT 4.677

823 WEIGHT 4.677

824 WEIGHT 4.677

825 WEIGHT 0.712

826 WEIGHT 4.677

827 WEIGHT 0.712

828 WEIGHT 4.677

829 WEIGHT 0.712

830 WEIGHT 4.677

831 WEIGHT 0.712

832 WEIGHT 4.677

833 WEIGHT 0.712

834 WEIGHT 4.677

835 WEIGHT 0.712

836 WEIGHT 4.677

837 WEIGHT 0.712

838 WEIGHT 4.677

839 WEIGHT 0.712

840 WEIGHT 4.677

841 WEIGHT 0.712

842 WEIGHT 5.033

843 WEIGHT 0.712

844 WEIGHT 0.712

845 WEIGHT 0.712

846 WEIGHT 0.712

847 WEIGHT 0.712

848 WEIGHT 0.712

849 WEIGHT 0.712

850 WEIGHT 0.712

851 WEIGHT 0.712

852 WEIGHT 5.033

853 WEIGHT 0.712

854 WEIGHT 0.712

855 WEIGHT 0.712

856 WEIGHT 0.712

857 WEIGHT 0.712

858 WEIGHT 0.712

859 WEIGHT 0.712

860 WEIGHT 0.712

861 WEIGHT 0.712

862 WEIGHT 5.033

863 WEIGHT 0.712

864 WEIGHT 0.712

865 WEIGHT 0.712

866 WEIGHT 0.712

867 WEIGHT 0.712

868 WEIGHT 0.712

869 WEIGHT 0.712

870 WEIGHT 0.712

871 WEIGHT 0.712

872 WEIGHT 5.033

873 WEIGHT 0.712

874 WEIGHT 0.712

875 WEIGHT 0.712

876 WEIGHT 0.712

877 WEIGHT 0.712

878 WEIGHT 0.712

879 WEIGHT 0.712

880 WEIGHT 0.712

881 WEIGHT 0.712

882 WEIGHT 5.033

883 WEIGHT 0.712

884 WEIGHT 0.712

885 WEIGHT 0.712

886 WEIGHT 0.712

887 WEIGHT 0.712

888 WEIGHT 0.712

889 WEIGHT 0.712

890 WEIGHT 0.712

891 WEIGHT 0.712

892 WEIGHT 5.033

893 WEIGHT 0.712

894 WEIGHT 0.712

895 WEIGHT 0.712

896 WEIGHT 0.712

897 WEIGHT 0.712

898 WEIGHT 0.712

899 WEIGHT 0.712

900 WEIGHT 0.712

901 WEIGHT 0.712

902 WEIGHT 5.033

903 WEIGHT 0.712

904 WEIGHT 0.712

905 WEIGHT 0.712

906 WEIGHT 0.712

907 WEIGHT 0.712

908 WEIGHT 0.712

909 WEIGHT 0.712

910 WEIGHT 0.712

911 WEIGHT 0.712

912 WEIGHT 5.033

913 WEIGHT 0.712

914 WEIGHT 0.712

915 WEIGHT 0.712

916 WEIGHT 0.712

917 WEIGHT 0.712

918 WEIGHT 0.712

919 WEIGHT 0.712

920 WEIGHT 0.712

921 WEIGHT 0.712

922 WEIGHT 5.033

923 WEIGHT 4.677

924 WEIGHT 4.677

925 WEIGHT 4.677

926 WEIGHT 4.677

927 WEIGHT 4.677

928 WEIGHT 4.677

929 WEIGHT 4.677

930 WEIGHT 4.677

931 WEIGHT 4.677

932 WEIGHT 4.677

933 WEIGHT 0.712

934 WEIGHT 4.677

935 WEIGHT 0.712

936 WEIGHT 4.677

937 WEIGHT 0.712

938 WEIGHT 4.677

939 WEIGHT 0.712

940 WEIGHT 4.677

941 WEIGHT 0.712

942 WEIGHT 4.677

943 WEIGHT 0.712

944 WEIGHT 4.677

945 WEIGHT 0.712

946 WEIGHT 4.677

947 WEIGHT 0.712

948 WEIGHT 4.677

949 WEIGHT 0.712

950 WEIGHT 4.677

951 WEIGHT 0.712

952 WEIGHT 0.712

953 WEIGHT 0.712

954 WEIGHT 0.712

955 WEIGHT 0.712

956 WEIGHT 0.712

957 WEIGHT 0.712

958 WEIGHT 0.712

959 WEIGHT 0.712

960 WEIGHT 4.677

961 WEIGHT 0.712

962 WEIGHT 0.712

963 WEIGHT 0.712

964 WEIGHT 0.712

965 WEIGHT 0.712

966 WEIGHT 0.712

967 WEIGHT 0.712

968 WEIGHT 0.712

969 WEIGHT 0.712

970 WEIGHT 4.677

971 WEIGHT 0.712

972 WEIGHT 0.712

973 WEIGHT 0.712

974 WEIGHT 0.712

975 WEIGHT 0.712

976 WEIGHT 0.712

977 WEIGHT 0.712

978 WEIGHT 0.712

979 WEIGHT 0.712

980 WEIGHT 4.677

981 WEIGHT 0.712

982 WEIGHT 0.712

983 WEIGHT 0.712

984 WEIGHT 0.712

985 WEIGHT 0.712

986 WEIGHT 0.712

987 WEIGHT 0.712

988 WEIGHT 0.712

989 WEIGHT 0.712

990 WEIGHT 4.677

991 WEIGHT 0.712

992 WEIGHT 0.712

993 WEIGHT 0.712

994 WEIGHT 0.712

995 WEIGHT 0.712

996 WEIGHT 0.712

997 WEIGHT 0.712

998 WEIGHT 0.712

999 WEIGHT 0.712

1000 WEIGHT 4.677

1001 WEIGHT 0.712

1002 WEIGHT 0.712

1003 WEIGHT 0.712

1004 WEIGHT 0.712

1005 WEIGHT 0.712

1006 WEIGHT 0.712

1007 WEIGHT 0.712

1008 WEIGHT 0.712

1009 WEIGHT 0.712

1010 WEIGHT 4.677

1011 WEIGHT 0.712

1012 WEIGHT 0.712

1013 WEIGHT 0.712

1014 WEIGHT 0.712

1015 WEIGHT 0.712

1016 WEIGHT 0.712

1017 WEIGHT 0.712

1018 WEIGHT 0.712

1019 WEIGHT 0.712

1020 WEIGHT 4.677

1021 WEIGHT 0.712

1022 WEIGHT 0.712

1023 WEIGHT 0.712

1024 WEIGHT 0.712

1025 WEIGHT 0.712

1026 WEIGHT 0.712

1027 WEIGHT 0.712

1028 WEIGHT 0.712

1029 WEIGHT 0.712

1030 WEIGHT 4.677

1031 WEIGHT 4.677

1032 WEIGHT 4.677

1033 WEIGHT 4.677

1034 WEIGHT 4.677

1035 WEIGHT 4.677

1036 WEIGHT 4.677

1037 WEIGHT 4.677

1038 WEIGHT 4.677

1039 WEIGHT 4.677

1040 WEIGHT 2.102

1041 WEIGHT 2.102

1042 WEIGHT 1.001

1043 WEIGHT 2.102

1044 WEIGHT 1.001

1045 WEIGHT 2.102

1046 WEIGHT 1.001

1047 WEIGHT 2.102

1048 WEIGHT 1.001

1049 WEIGHT 2.102

1050 WEIGHT 1.001

1051 WEIGHT 2.102

1052 WEIGHT 1.001

1053 WEIGHT 2.102

1054 WEIGHT 1.001

1055 WEIGHT 2.102

1056 WEIGHT 1.001

1057 WEIGHT 2.102

1058 WEIGHT 1.001

1059 WEIGHT 2.602

1060 WEIGHT 2.102

1061 WEIGHT 1.001

1062 WEIGHT 1.001

1063 WEIGHT 1.001

1064 WEIGHT 1.001

1065 WEIGHT 1.001

1066 WEIGHT 1.001

1067 WEIGHT 1.001

1068 WEIGHT 1.001

1069 WEIGHT 1.001

1070 WEIGHT 2.602

1071 WEIGHT 2.102

1072 WEIGHT 1.001

1073 WEIGHT 1.001

1074 WEIGHT 1.001

1075 WEIGHT 1.001

1076 WEIGHT 1.001

1077 WEIGHT 1.001

1078 WEIGHT 1.001

1079 WEIGHT 1.001

1080 WEIGHT 1.001

1081 WEIGHT 2.602

1082 WEIGHT 2.102

1083 WEIGHT 1.001

1084 WEIGHT 1.001

1085 WEIGHT 1.001

1086 WEIGHT 1.001

1087 WEIGHT 1.001

1088 WEIGHT 1.001

1089 WEIGHT 1.001

1090 WEIGHT 1.001

1091 WEIGHT 1.001

1092 WEIGHT 2.602

1093 WEIGHT 2.102

1094 WEIGHT 1.001

1095 WEIGHT 1.001

1096 WEIGHT 1.001

1097 WEIGHT 1.001

1098 WEIGHT 1.001

1099 WEIGHT 1.001

1100 WEIGHT 1.001

1101 WEIGHT 1.001

1102 WEIGHT 1.001

1103 WEIGHT 2.602

1104 WEIGHT 2.102

1105 WEIGHT 1.001

1106 WEIGHT 1.001

1107 WEIGHT 1.001

1108 WEIGHT 1.001

1109 WEIGHT 1.001

1110 WEIGHT 1.001

1111 WEIGHT 1.001

1112 WEIGHT 1.001

1113 WEIGHT 1.001

1114 WEIGHT 2.602

1115 WEIGHT 2.102

1116 WEIGHT 1.001

1117 WEIGHT 1.001

1118 WEIGHT 1.001

1119 WEIGHT 1.001

1120 WEIGHT 1.001

1121 WEIGHT 1.001

1122 WEIGHT 1.001

1123 WEIGHT 1.001

1124 WEIGHT 1.001

1125 WEIGHT 2.602

1126 WEIGHT 2.102

1127 WEIGHT 1.001

1128 WEIGHT 1.001

1129 WEIGHT 1.001

1130 WEIGHT 1.001

1131 WEIGHT 1.001

1132 WEIGHT 1.001

1133 WEIGHT 1.001

1134 WEIGHT 1.001

1135 WEIGHT 1.001

1136 WEIGHT 2.602

1137 WEIGHT 2.102

1138 WEIGHT 1.001

1139 WEIGHT 1.001

1140 WEIGHT 1.001

1141 WEIGHT 1.001

1142 WEIGHT 1.001

1143 WEIGHT 1.001

1144 WEIGHT 1.001

1145 WEIGHT 1.001

1146 WEIGHT 1.001

1147 WEIGHT 2.602

1148 WEIGHT 2.102

1149 WEIGHT 2.102

1150 WEIGHT 2.102

1151 WEIGHT 2.102

1152 WEIGHT 2.102

1153 WEIGHT 2.102

1154 WEIGHT 2.102

1155 WEIGHT 2.102

1156 WEIGHT 2.102

1157 WEIGHT 2.102

1158 WEIGHT 1.001

1159 WEIGHT 2.102

1160 WEIGHT 1.001

1161 WEIGHT 2.102

1162 WEIGHT 1.001

1163 WEIGHT 2.102

1164 WEIGHT 1.001

1165 WEIGHT 2.102

1166 WEIGHT 1.001

1167 WEIGHT 2.102

1168 WEIGHT 1.001

1169 WEIGHT 2.102

1170 WEIGHT 1.001

1171 WEIGHT 2.102

1172 WEIGHT 1.001

1173 WEIGHT 2.102

1174 WEIGHT 1.001

1175 WEIGHT 2.602

1176 WEIGHT 1.001

1177 WEIGHT 1.001

1178 WEIGHT 1.001

1179 WEIGHT 1.001

1180 WEIGHT 1.001

1181 WEIGHT 1.001

1182 WEIGHT 1.001

1183 WEIGHT 1.001

1184 WEIGHT 1.001

1185 WEIGHT 2.602

1186 WEIGHT 1.001

1187 WEIGHT 1.001

1188 WEIGHT 1.001

1189 WEIGHT 1.001

1190 WEIGHT 1.001

1191 WEIGHT 1.001

1192 WEIGHT 1.001

1193 WEIGHT 1.001

1194 WEIGHT 1.001

1195 WEIGHT 2.602

1196 WEIGHT 1.001

1197 WEIGHT 1.001

1198 WEIGHT 1.001

1199 WEIGHT 1.001

1200 WEIGHT 1.001

1201 WEIGHT 1.001

1202 WEIGHT 1.001

1203 WEIGHT 1.001

1204 WEIGHT 1.001

1205 WEIGHT 2.602

1206 WEIGHT 1.001

1207 WEIGHT 1.001

1208 WEIGHT 1.001

1209 WEIGHT 1.001

1210 WEIGHT 1.001

1211 WEIGHT 1.001

1212 WEIGHT 1.001

1213 WEIGHT 1.001

1214 WEIGHT 1.001

1215 WEIGHT 2.602

1216 WEIGHT 1.001

1217 WEIGHT 1.001

1218 WEIGHT 1.001

1219 WEIGHT 1.001

1220 WEIGHT 1.001

1221 WEIGHT 1.001

1222 WEIGHT 1.001

1223 WEIGHT 1.001

1224 WEIGHT 1.001

1225 WEIGHT 2.602

1226 WEIGHT 1.001

1227 WEIGHT 1.001

1228 WEIGHT 1.001

1229 WEIGHT 1.001

1230 WEIGHT 1.001

1231 WEIGHT 1.001

1232 WEIGHT 1.001

1233 WEIGHT 1.001

1234 WEIGHT 1.001

1235 WEIGHT 2.602

1236 WEIGHT 1.001

1237 WEIGHT 1.001

1238 WEIGHT 1.001

1239 WEIGHT 1.001

1240 WEIGHT 1.001

1241 WEIGHT 1.001

1242 WEIGHT 1.001

1243 WEIGHT 1.001

1244 WEIGHT 1.001

1245 WEIGHT 2.602

1246 WEIGHT 1.001

1247 WEIGHT 1.001

1248 WEIGHT 1.001

1249 WEIGHT 1.001

1250 WEIGHT 1.001

1251 WEIGHT 1.001

1252 WEIGHT 1.001

1253 WEIGHT 1.001

1254 WEIGHT 1.001

1255 WEIGHT 2.602

1256 WEIGHT 2.102

1257 WEIGHT 2.102

1258 WEIGHT 2.102

1259 WEIGHT 2.102

1260 WEIGHT 2.102

1261 WEIGHT 2.102

1262 WEIGHT 2.102

1263 WEIGHT 2.102

1264 WEIGHT 2.102

1265 WEIGHT 2.102

1266 WEIGHT 1.001

1267 WEIGHT 2.102

1268 WEIGHT 1.001

1269 WEIGHT 2.102

1270 WEIGHT 1.001

1271 WEIGHT 2.102

1272 WEIGHT 1.001

1273 WEIGHT 2.102

1274 WEIGHT 1.001

1275 WEIGHT 2.102

1276 WEIGHT 1.001

1277 WEIGHT 2.102

1278 WEIGHT 1.001

1279 WEIGHT 2.102

1280 WEIGHT 1.001

1281 WEIGHT 2.102

1282 WEIGHT 1.001

1283 WEIGHT 2.102

1284 WEIGHT 1.001

1285 WEIGHT 1.001

1286 WEIGHT 1.001

1287 WEIGHT 1.001

1288 WEIGHT 1.001

1289 WEIGHT 1.001

1290 WEIGHT 1.001

1291 WEIGHT 1.001

1292 WEIGHT 1.001

1293 WEIGHT 2.102

1294 WEIGHT 1.001

1295 WEIGHT 1.001

1296 WEIGHT 1.001

1297 WEIGHT 1.001

1298 WEIGHT 1.001

1299 WEIGHT 1.001

1300 WEIGHT 1.001

1301 WEIGHT 1.001

1302 WEIGHT 1.001

1303 WEIGHT 2.102

1304 WEIGHT 1.001

1305 WEIGHT 1.001

1306 WEIGHT 1.001

1307 WEIGHT 1.001

1308 WEIGHT 1.001

1309 WEIGHT 1.001

1310 WEIGHT 1.001

1311 WEIGHT 1.001

1312 WEIGHT 1.001

1313 WEIGHT 2.102

1314 WEIGHT 1.001

1315 WEIGHT 1.001

1316 WEIGHT 1.001

1317 WEIGHT 1.001

1318 WEIGHT 1.001

1319 WEIGHT 1.001

1320 WEIGHT 1.001

1321 WEIGHT 1.001

1322 WEIGHT 1.001

1323 WEIGHT 2.102

1324 WEIGHT 1.001

1325 WEIGHT 1.001

1326 WEIGHT 1.001

1327 WEIGHT 1.001

1328 WEIGHT 1.001

1329 WEIGHT 1.001

1330 WEIGHT 1.001

1331 WEIGHT 1.001

1332 WEIGHT 1.001

1333 WEIGHT 2.102

1334 WEIGHT 1.001

1335 WEIGHT 1.001

1336 WEIGHT 1.001

1337 WEIGHT 1.001

1338 WEIGHT 1.001

1339 WEIGHT 1.001

1340 WEIGHT 1.001

1341 WEIGHT 1.001

1342 WEIGHT 1.001

1343 WEIGHT 2.102

1344 WEIGHT 1.001

1345 WEIGHT 1.001

1346 WEIGHT 1.001

1347 WEIGHT 1.001

1348 WEIGHT 1.001

1349 WEIGHT 1.001

1350 WEIGHT 1.001

1351 WEIGHT 1.001

1352 WEIGHT 1.001

1353 WEIGHT 2.102

1354 WEIGHT 1.001

1355 WEIGHT 1.001

1356 WEIGHT 1.001

1357 WEIGHT 1.001

1358 WEIGHT 1.001

1359 WEIGHT 1.001

1360 WEIGHT 1.001

1361 WEIGHT 1.001

1362 WEIGHT 1.001

1363 WEIGHT 2.102

1364 WEIGHT 2.102

1365 WEIGHT 2.102

1366 WEIGHT 2.102

1367 WEIGHT 2.102

1368 WEIGHT 2.102

1369 WEIGHT 2.102

1370 WEIGHT 2.102

1371 WEIGHT 2.102

1372 WEIGHT 2.102

CUT OFF MODE SHAPE 10

LOAD 1 EQX

JOINT LOAD

**************************

1 FX 53.38 FZ 53.38

2 FX 53.38 FZ 53.38

3 FX 79.745 FZ 79.745

4 FX 79.745 FZ 79.745

5 FX 79.745 FZ 79.745

6 FX 79.745 FZ 79.745

7 FX 53.38 FZ 53.38

8 FX 53.38 FZ 53.38

9 FX 1.688 FZ 1.688

10 FX 1.688 FZ 1.688

11 FX 1.688 FZ 1.688

12 FX 1.688 FZ 1.688

13 FX 1.688 FZ 1.688

14 FX 1.688 FZ 1.688

15 FX 1.688 FZ 1.688

16 FX 1.688 FZ 1.688

17 FX 11.349 FZ 11.349

18 FX 11.349 FZ 11.349

19 FX 13.788 FZ 13.788

20 FX 13.788 FZ 13.788

21 FX 13.788 FZ 13.788

22 FX 13.788 FZ 13.788

23 FX 11.349 FZ 11.349

24 FX 11.349 FZ 11.349

25 FX 11.349 FZ 11.349

26 FX 11.349 FZ 11.349

27 FX 13.788 FZ 13.788

28 FX 13.788 FZ 13.788

29 FX 13.788 FZ 13.788

30 FX 13.788 FZ 13.788

31 FX 11.349 FZ 11.349

32 FX 11.349 FZ 11.349

33 FX 5.301 FZ 5.301

34 FX 5.301 FZ 5.301

35 FX 6.427 FZ 6.427

36 FX 6.427 FZ 6.427

37 FX 6.427 FZ 6.427

38 FX 6.427 FZ 6.427

39 FX 5.301 FZ 5.301

40 FX 5.301 FZ 5.301

374 FX 4.877 FZ 4.877

375 FX 4.877 FZ 4.877

376 FX 1.112 FZ 1.112

377 FX 4.877 FZ 4.877

378 FX 1.112 FZ 1.112

379 FX 4.877 FZ 4.877

380 FX 1.112 FZ 1.112

381 FX 4.877 FZ 4.877

382 FX 1.112 FZ 1.112

383 FX 4.877 FZ 4.877

384 FX 1.112 FZ 1.112

385 FX 4.877 FZ 4.877

386 FX 1.112 FZ 1.112

387 FX 4.877 FZ 4.877

388 FX 1.112 FZ 1.112

389 FX 4.877 FZ 4.877

390 FX 1.112 FZ 1.112

391 FX 4.877 FZ 4.877

392 FX 1.112 FZ 1.112

393 FX 5.433 FZ 5.433

394 FX 4.877 FZ 4.877

395 FX 1.112 FZ 1.112

396 FX 1.112 FZ 1.112

397 FX 1.112 FZ 1.112

398 FX 1.112 FZ 1.112

399 FX 1.112 FZ 1.112

400 FX 1.112 FZ 1.112

401 FX 1.112 FZ 1.112

402 FX 1.112 FZ 1.112

403 FX 1.112 FZ 1.112

404 FX 5.433 FZ 5.433

405 FX 4.877 FZ 4.877

406 FX 1.112 FZ 1.112

407 FX 1.112 FZ 1.112

408 FX 1.112 FZ 1.112

409 FX 1.112 FZ 1.112

410 FX 1.112 FZ 1.112

411 FX 1.112 FZ 1.112

412 FX 1.112 FZ 1.112

413 FX 1.112 FZ 1.112

414 FX 1.112 FZ 1.112

415 FX 5.433 FZ 5.433

416 FX 4.877 FZ 4.877

417 FX 1.112 FZ 1.112

418 FX 1.112 FZ 1.112

419 FX 1.112 FZ 1.112

420 FX 1.112 FZ 1.112

421 FX 1.112 FZ 1.112

422 FX 1.112 FZ 1.112

423 FX 1.112 FZ 1.112

424 FX 1.112 FZ 1.112

425 FX 1.112 FZ 1.112

426 FX 5.433 FZ 5.433

427 FX 4.877 FZ 4.877

428 FX 1.112 FZ 1.112

429 FX 1.112 FZ 1.112

430 FX 1.112 FZ 1.112

431 FX 1.112 FZ 1.112

432 FX 1.112 FZ 1.112

433 FX 1.112 FZ 1.112

434 FX 1.112 FZ 1.112

435 FX 1.112 FZ 1.112

436 FX 1.112 FZ 1.112

437 FX 5.433 FZ 5.433

438 FX 4.877 FZ 4.877

439 FX 1.112 FZ 1.112

440 FX 1.112 FZ 1.112

441 FX 1.112 FZ 1.112

442 FX 1.112 FZ 1.112

443 FX 1.112 FZ 1.112

444 FX 1.112 FZ 1.112

445 FX 1.112 FZ 1.112

446 FX 1.112 FZ 1.112

447 FX 1.112 FZ 1.112

448 FX 5.433 FZ 5.433

449 FX 4.877 FZ 4.877

450 FX 1.112 FZ 1.112

451 FX 1.112 FZ 1.112

452 FX 1.112 FZ 1.112

453 FX 1.112 FZ 1.112

454 FX 1.112 FZ 1.112

455 FX 1.112 FZ 1.112

456 FX 1.112 FZ 1.112

457 FX 1.112 FZ 1.112

458 FX 1.112 FZ 1.112

459 FX 5.433 FZ 5.433

460 FX 4.877 FZ 4.877

461 FX 1.112 FZ 1.112

462 FX 1.112 FZ 1.112

463 FX 1.112 FZ 1.112

464 FX 1.112 FZ 1.112

465 FX 1.112 FZ 1.112

466 FX 1.112 FZ 1.112

467 FX 1.112 FZ 1.112

468 FX 1.112 FZ 1.112

469 FX 1.112 FZ 1.112

470 FX 5.433 FZ 5.433

471 FX 4.877 FZ 4.877

472 FX 1.112 FZ 1.112

473 FX 1.112 FZ 1.112

474 FX 1.112 FZ 1.112

475 FX 1.112 FZ 1.112

476 FX 1.112 FZ 1.112

477 FX 1.112 FZ 1.112

478 FX 1.112 FZ 1.112

479 FX 1.112 FZ 1.112

480 FX 1.112 FZ 1.112

481 FX 5.433 FZ 5.433

482 FX 4.877 FZ 4.877

483 FX 4.877 FZ 4.877

484 FX 4.877 FZ 4.877

485 FX 4.877 FZ 4.877

486 FX 4.877 FZ 4.877

487 FX 4.877 FZ 4.877

488 FX 4.877 FZ 4.877

489 FX 4.877 FZ 4.877

490 FX 4.877 FZ 4.877

491 FX 4.877 FZ 4.877

492 FX 1.112 FZ 1.112

493 FX 4.877 FZ 4.877

494 FX 1.112 FZ 1.112

495 FX 4.877 FZ 4.877

496 FX 1.112 FZ 1.112

497 FX 4.877 FZ 4.877

498 FX 1.112 FZ 1.112

499 FX 4.877 FZ 4.877

500 FX 1.112 FZ 1.112

501 FX 4.877 FZ 4.877

502 FX 1.112 FZ 1.112

503 FX 4.877 FZ 4.877

504 FX 1.112 FZ 1.112

505 FX 4.877 FZ 4.877

506 FX 1.112 FZ 1.112

507 FX 4.877 FZ 4.877

508 FX 1.112 FZ 1.112

509 FX 5.433 FZ 5.433

510 FX 1.112 FZ 1.112

511 FX 1.112 FZ 1.112

512 FX 1.112 FZ 1.112

513 FX 1.112 FZ 1.112

514 FX 1.112 FZ 1.112

515 FX 1.112 FZ 1.112

516 FX 1.112 FZ 1.112

517 FX 1.112 FZ 1.112

518 FX 1.112 FZ 1.112

519 FX 5.433 FZ 5.433

520 FX 1.112 FZ 1.112

521 FX 1.112 FZ 1.112

522 FX 1.112 FZ 1.112

523 FX 1.112 FZ 1.112

524 FX 1.112 FZ 1.112

525 FX 1.112 FZ 1.112

526 FX 1.112 FZ 1.112

527 FX 1.112 FZ 1.112

528 FX 1.112 FZ 1.112

529 FX 5.433 FZ 5.433

530 FX 1.112 FZ 1.112

531 FX 1.112 FZ 1.112

532 FX 1.112 FZ 1.112

533 FX 1.112 FZ 1.112

534 FX 1.112 FZ 1.112

535 FX 1.112 FZ 1.112

536 FX 1.112 FZ 1.112

537 FX 1.112 FZ 1.112

538 FX 1.112 FZ 1.112

539 FX 5.433 FZ 5.433

540 FX 1.112 FZ 1.112

541 FX 1.112 FZ 1.112

542 FX 1.112 FZ 1.112

543 FX 1.112 FZ 1.112

544 FX 1.112 FZ 1.112

545 FX 1.112 FZ 1.112

546 FX 1.112 FZ 1.112

547 FX 1.112 FZ 1.112

548 FX 1.112 FZ 1.112

549 FX 5.433 FZ 5.433

550 FX 1.112 FZ 1.112

551 FX 1.112 FZ 1.112

552 FX 1.112 FZ 1.112

553 FX 1.112 FZ 1.112

554 FX 1.112 FZ 1.112

555 FX 1.112 FZ 1.112

556 FX 1.112 FZ 1.112

557 FX 1.112 FZ 1.112

558 FX 1.112 FZ 1.112

559 FX 5.433 FZ 5.433

560 FX 1.112 FZ 1.112

561 FX 1.112 FZ 1.112

562 FX 1.112 FZ 1.112

563 FX 1.112 FZ 1.112

564 FX 1.112 FZ 1.112

565 FX 1.112 FZ 1.112

566 FX 1.112 FZ 1.112

567 FX 1.112 FZ 1.112

568 FX 1.112 FZ 1.112

569 FX 5.433 FZ 5.433

570 FX 1.112 FZ 1.112

571 FX 1.112 FZ 1.112

572 FX 1.112 FZ 1.112

573 FX 1.112 FZ 1.112

574 FX 1.112 FZ 1.112

575 FX 1.112 FZ 1.112

576 FX 1.112 FZ 1.112

577 FX 1.112 FZ 1.112

578 FX 1.112 FZ 1.112

579 FX 5.433 FZ 5.433

580 FX 1.112 FZ 1.112

581 FX 1.112 FZ 1.112

582 FX 1.112 FZ 1.112

583 FX 1.112 FZ 1.112

584 FX 1.112 FZ 1.112

585 FX 1.112 FZ 1.112

586 FX 1.112 FZ 1.112

587 FX 1.112 FZ 1.112

588 FX 1.112 FZ 1.112

589 FX 5.433 FZ 5.433

590 FX 4.877 FZ 4.877

591 FX 4.877 FZ 4.877

592 FX 4.877 FZ 4.877

593 FX 4.877 FZ 4.877

594 FX 4.877 FZ 4.877

595 FX 4.877 FZ 4.877

596 FX 4.877 FZ 4.877

597 FX 4.877 FZ 4.877

598 FX 4.877 FZ 4.877

599 FX 4.877 FZ 4.877

600 FX 1.112 FZ 1.112

601 FX 4.877 FZ 4.877

602 FX 1.112 FZ 1.112

603 FX 4.877 FZ 4.877

604 FX 1.112 FZ 1.112

605 FX 4.877 FZ 4.877

606 FX 1.112 FZ 1.112

607 FX 4.877 FZ 4.877

608 FX 1.112 FZ 1.112

609 FX 4.877 FZ 4.877

610 FX 1.112 FZ 1.112

611 FX 4.877 FZ 4.877

612 FX 1.112 FZ 1.112

613 FX 4.877 FZ 4.877

614 FX 1.112 FZ 1.112

615 FX 4.877 FZ 4.877

616 FX 1.112 FZ 1.112

617 FX 4.877 FZ 4.877

618 FX 1.112 FZ 1.112

619 FX 1.112 FZ 1.112

620 FX 1.112 FZ 1.112

621 FX 1.112 FZ 1.112

622 FX 1.112 FZ 1.112

623 FX 1.112 FZ 1.112

624 FX 1.112 FZ 1.112

625 FX 1.112 FZ 1.112

626 FX 1.112 FZ 1.112

627 FX 4.877 FZ 4.877

628 FX 1.112 FZ 1.112

629 FX 1.112 FZ 1.112

630 FX 1.112 FZ 1.112

631 FX 1.112 FZ 1.112

632 FX 1.112 FZ 1.112

633 FX 1.112 FZ 1.112

634 FX 1.112 FZ 1.112

635 FX 1.112 FZ 1.112

636 FX 1.112 FZ 1.112

637 FX 4.877 FZ 4.877

638 FX 1.112 FZ 1.112

639 FX 1.112 FZ 1.112

640 FX 1.112 FZ 1.112

641 FX 1.112 FZ 1.112

642 FX 1.112 FZ 1.112

643 FX 1.112 FZ 1.112

644 FX 1.112 FZ 1.112

645 FX 1.112 FZ 1.112

646 FX 1.112 FZ 1.112

647 FX 4.877 FZ 4.877

648 FX 1.112 FZ 1.112

649 FX 1.112 FZ 1.112

650 FX 1.112 FZ 1.112

651 FX 1.112 FZ 1.112

652 FX 1.112 FZ 1.112

653 FX 1.112 FZ 1.112

654 FX 1.112 FZ 1.112

655 FX 1.112 FZ 1.112

656 FX 1.112 FZ 1.112

657 FX 4.877 FZ 4.877

658 FX 1.112 FZ 1.112

659 FX 1.112 FZ 1.112

660 FX 1.112 FZ 1.112

661 FX 1.112 FZ 1.112

662 FX 1.112 FZ 1.112

663 FX 1.112 FZ 1.112

664 FX 1.112 FZ 1.112

665 FX 1.112 FZ 1.112

666 FX 1.112 FZ 1.112

667 FX 4.877 FZ 4.877

668 FX 1.112 FZ 1.112

669 FX 1.112 FZ 1.112

670 FX 1.112 FZ 1.112

671 FX 1.112 FZ 1.112

672 FX 1.112 FZ 1.112

673 FX 1.112 FZ 1.112

674 FX 1.112 FZ 1.112

675 FX 1.112 FZ 1.112

676 FX 1.112 FZ 1.112

677 FX 4.877 FZ 4.877

678 FX 1.112 FZ 1.112

679 FX 1.112 FZ 1.112

680 FX 1.112 FZ 1.112

681 FX 1.112 FZ 1.112

682 FX 1.112 FZ 1.112

683 FX 1.112 FZ 1.112

684 FX 1.112 FZ 1.112

685 FX 1.112 FZ 1.112

686 FX 1.112 FZ 1.112

687 FX 4.877 FZ 4.877

688 FX 1.112 FZ 1.112

689 FX 1.112 FZ 1.112

690 FX 1.112 FZ 1.112

691 FX 1.112 FZ 1.112

692 FX 1.112 FZ 1.112

693 FX 1.112 FZ 1.112

694 FX 1.112 FZ 1.112

695 FX 1.112 FZ 1.112

696 FX 1.112 FZ 1.112

697 FX 4.877 FZ 4.877

698 FX 4.877 FZ 4.877

699 FX 4.877 FZ 4.877

700 FX 4.877 FZ 4.877

701 FX 4.877 FZ 4.877

702 FX 4.877 FZ 4.877

703 FX 4.877 FZ 4.877

704 FX 4.877 FZ 4.877

705 FX 4.877 FZ 4.877

706 FX 4.877 FZ 4.877

707 FX 4.877 FZ 4.877

708 FX 4.877 FZ 4.877

709 FX 1.112 FZ 1.112

710 FX 4.877 FZ 4.877

711 FX 1.112 FZ 1.112

712 FX 4.877 FZ 4.877

713 FX 1.112 FZ 1.112

714 FX 4.877 FZ 4.877

715 FX 1.112 FZ 1.112

716 FX 4.877 FZ 4.877

717 FX 1.112 FZ 1.112

718 FX 4.877 FZ 4.877

719 FX 1.112 FZ 1.112

720 FX 4.877 FZ 4.877

721 FX 1.112 FZ 1.112

722 FX 4.877 FZ 4.877

723 FX 1.112 FZ 1.112

724 FX 4.877 FZ 4.877

725 FX 1.112 FZ 1.112

726 FX 5.433 FZ 5.433

727 FX 4.877 FZ 4.877

728 FX 1.112 FZ 1.112

729 FX 1.112 FZ 1.112

730 FX 1.112 FZ 1.112

731 FX 1.112 FZ 1.112

732 FX 1.112 FZ 1.112

733 FX 1.112 FZ 1.112

734 FX 1.112 FZ 1.112

735 FX 1.112 FZ 1.112

736 FX 1.112 FZ 1.112

737 FX 5.433 FZ 5.433

738 FX 4.877 FZ 4.877

739 FX 1.112 FZ 1.112

740 FX 1.112 FZ 1.112

741 FX 1.112 FZ 1.112

742 FX 1.112 FZ 1.112

743 FX 1.112 FZ 1.112

744 FX 1.112 FZ 1.112

745 FX 1.112 FZ 1.112

746 FX 1.112 FZ 1.112

747 FX 1.112 FZ 1.112

748 FX 5.433 FZ 5.433

749 FX 4.877 FZ 4.877

750 FX 1.112 FZ 1.112

751 FX 1.112 FZ 1.112

752 FX 1.112 FZ 1.112

753 FX 1.112 FZ 1.112

754 FX 1.112 FZ 1.112

755 FX 1.112 FZ 1.112

756 FX 1.112 FZ 1.112

757 FX 1.112 FZ 1.112

758 FX 1.112 FZ 1.112

759 FX 5.433 FZ 5.433

760 FX 4.877 FZ 4.877

761 FX 1.112 FZ 1.112

762 FX 1.112 FZ 1.112

763 FX 1.112 FZ 1.112

764 FX 1.112 FZ 1.112

765 FX 1.112 FZ 1.112

766 FX 1.112 FZ 1.112

767 FX 1.112 FZ 1.112

768 FX 1.112 FZ 1.112

769 FX 1.112 FZ 1.112

770 FX 5.433 FZ 5.433

771 FX 4.877 FZ 4.877

772 FX 1.112 FZ 1.112

773 FX 1.112 FZ 1.112

774 FX 1.112 FZ 1.112

775 FX 1.112 FZ 1.112

776 FX 1.112 FZ 1.112

777 FX 1.112 FZ 1.112

778 FX 1.112 FZ 1.112

779 FX 1.112 FZ 1.112

780 FX 1.112 FZ 1.112

781 FX 5.433 FZ 5.433

782 FX 4.877 FZ 4.877

783 FX 1.112 FZ 1.112

784 FX 1.112 FZ 1.112

785 FX 1.112 FZ 1.112

786 FX 1.112 FZ 1.112

787 FX 1.112 FZ 1.112

788 FX 1.112 FZ 1.112

789 FX 1.112 FZ 1.112

790 FX 1.112 FZ 1.112

791 FX 1.112 FZ 1.112

792 FX 5.433 FZ 5.433

793 FX 4.877 FZ 4.877

794 FX 1.112 FZ 1.112

795 FX 1.112 FZ 1.112

796 FX 1.112 FZ 1.112

797 FX 1.112 FZ 1.112

798 FX 1.112 FZ 1.112

799 FX 1.112 FZ 1.112

800 FX 1.112 FZ 1.112

801 FX 1.112 FZ 1.112

802 FX 1.112 FZ 1.112

803 FX 5.433 FZ 5.433

804 FX 4.877 FZ 4.877

805 FX 1.112 FZ 1.112

806 FX 1.112 FZ 1.112

807 FX 1.112 FZ 1.112

808 FX 1.112 FZ 1.112

809 FX 1.112 FZ 1.112

810 FX 1.112 FZ 1.112

811 FX 1.112 FZ 1.112

812 FX 1.112 FZ 1.112

813 FX 1.112 FZ 1.112

814 FX 5.433 FZ 5.433

815 FX 4.877 FZ 4.877

816 FX 4.877 FZ 4.877

817 FX 4.877 FZ 4.877

818 FX 4.877 FZ 4.877

819 FX 4.877 FZ 4.877

820 FX 4.877 FZ 4.877

821 FX 4.877 FZ 4.877

822 FX 4.877 FZ 4.877

823 FX 4.877 FZ 4.877

824 FX 4.877 FZ 4.877

825 FX 1.112 FZ 1.112

826 FX 4.877 FZ 4.877

827 FX 1.112 FZ 1.112

828 FX 4.877 FZ 4.877

829 FX 1.112 FZ 1.112

830 FX 4.877 FZ 4.877

831 FX 1.112 FZ 1.112

832 FX 4.877 FZ 4.877

833 FX 1.112 FZ 1.112

834 FX 4.877 FZ 4.877

835 FX 1.112 FZ 1.112

836 FX 4.877 FZ 4.877

837 FX 1.112 FZ 1.112

838 FX 4.877 FZ 4.877

839 FX 1.112 FZ 1.112

840 FX 4.877 FZ 4.877

841 FX 1.112 FZ 1.112

842 FX 5.433 FZ 5.433

843 FX 1.112 FZ 1.112

844 FX 1.112 FZ 1.112

845 FX 1.112 FZ 1.112

846 FX 1.112 FZ 1.112

847 FX 1.112 FZ 1.112

848 FX 1.112 FZ 1.112

849 FX 1.112 FZ 1.112

850 FX 1.112 FZ 1.112

851 FX 1.112 FZ 1.112

852 FX 5.433 FZ 5.433

853 FX 1.112 FZ 1.112

854 FX 1.112 FZ 1.112

855 FX 1.112 FZ 1.112

856 FX 1.112 FZ 1.112

857 FX 1.112 FZ 1.112

858 FX 1.112 FZ 1.112

859 FX 1.112 FZ 1.112

860 FX 1.112 FZ 1.112

861 FX 1.112 FZ 1.112

862 FX 5.433 FZ 5.433

863 FX 1.112 FZ 1.112

864 FX 1.112 FZ 1.112

865 FX 1.112 FZ 1.112

866 FX 1.112 FZ 1.112

867 FX 1.112 FZ 1.112

868 FX 1.112 FZ 1.112

869 FX 1.112 FZ 1.112

870 FX 1.112 FZ 1.112

871 FX 1.112 FZ 1.112

872 FX 5.433 FZ 5.433

873 FX 1.112 FZ 1.112

874 FX 1.112 FZ 1.112

875 FX 1.112 FZ 1.112

876 FX 1.112 FZ 1.112

877 FX 1.112 FZ 1.112

878 FX 1.112 FZ 1.112

879 FX 1.112 FZ 1.112

880 FX 1.112 FZ 1.112

881 FX 1.112 FZ 1.112

882 FX 5.433 FZ 5.433

883 FX 1.112 FZ 1.112

884 FX 1.112 FZ 1.112

885 FX 1.112 FZ 1.112

886 FX 1.112 FZ 1.112

887 FX 1.112 FZ 1.112

888 FX 1.112 FZ 1.112

889 FX 1.112 FZ 1.112

890 FX 1.112 FZ 1.112

891 FX 1.112 FZ 1.112

892 FX 5.433 FZ 5.433

893 FX 1.112 FZ 1.112

894 FX 1.112 FZ 1.112

895 FX 1.112 FZ 1.112

896 FX 1.112 FZ 1.112

897 FX 1.112 FZ 1.112

898 FX 1.112 FZ 1.112

899 FX 1.112 FZ 1.112

900 FX 1.112 FZ 1.112

901 FX 1.112 FZ 1.112

902 FX 5.433 FZ 5.433

903 FX 1.112 FZ 1.112

904 FX 1.112 FZ 1.112

905 FX 1.112 FZ 1.112

906 FX 1.112 FZ 1.112

907 FX 1.112 FZ 1.112

908 FX 1.112 FZ 1.112

909 FX 1.112 FZ 1.112

910 FX 1.112 FZ 1.112

911 FX 1.112 FZ 1.112

912 FX 5.433 FZ 5.433

913 FX 1.112 FZ 1.112

914 FX 1.112 FZ 1.112

915 FX 1.112 FZ 1.112

916 FX 1.112 FZ 1.112

917 FX 1.112 FZ 1.112

918 FX 1.112 FZ 1.112

919 FX 1.112 FZ 1.112

920 FX 1.112 FZ 1.112

921 FX 1.112 FZ 1.112

922 FX 5.433 FZ 5.433

923 FX 4.877 FZ 4.877

924 FX 4.877 FZ 4.877

925 FX 4.877 FZ 4.877

926 FX 4.877 FZ 4.877

927 FX 4.877 FZ 4.877

928 FX 4.877 FZ 4.877

929 FX 4.877 FZ 4.877

930 FX 4.877 FZ 4.877

931 FX 4.877 FZ 4.877

932 FX 4.877 FZ 4.877

933 FX 1.112 FZ 1.112

934 FX 4.877 FZ 4.877

935 FX 1.112 FZ 1.112

936 FX 4.877 FZ 4.877

937 FX 1.112 FZ 1.112

938 FX 4.877 FZ 4.877

939 FX 1.112 FZ 1.112

940 FX 4.877 FZ 4.877

941 FX 1.112 FZ 1.112

942 FX 4.877 FZ 4.877

943 FX 1.112 FZ 1.112

944 FX 4.877 FZ 4.877

945 FX 1.112 FZ 1.112

946 FX 4.877 FZ 4.877

947 FX 1.112 FZ 1.112

948 FX 4.877 FZ 4.877

949 FX 1.112 FZ 1.112

950 FX 4.877 FZ 4.877

951 FX 1.112 FZ 1.112

952 FX 1.112 FZ 1.112

953 FX 1.112 FZ 1.112

954 FX 1.112 FZ 1.112

955 FX 1.112 FZ 1.112

956 FX 1.112 FZ 1.112

957 FX 1.112 FZ 1.112

958 FX 1.112 FZ 1.112

959 FX 1.112 FZ 1.112

960 FX 4.877 FZ 4.877

961 FX 1.112 FZ 1.112

962 FX 1.112 FZ 1.112

963 FX 1.112 FZ 1.112

964 FX 1.112 FZ 1.112

965 FX 1.112 FZ 1.112

966 FX 1.112 FZ 1.112

967 FX 1.112 FZ 1.112

968 FX 1.112 FZ 1.112

969 FX 1.112 FZ 1.112

970 FX 4.877 FZ 4.877

971 FX 1.112 FZ 1.112

972 FX 1.112 FZ 1.112

973 FX 1.112 FZ 1.112

974 FX 1.112 FZ 1.112

975 FX 1.112 FZ 1.112

976 FX 1.112 FZ 1.112

977 FX 1.112 FZ 1.112

978 FX 1.112 FZ 1.112

979 FX 1.112 FZ 1.112

980 FX 4.877 FZ 4.877

981 FX 1.112 FZ 1.112

982 FX 1.112 FZ 1.112

983 FX 1.112 FZ 1.112

984 FX 1.112 FZ 1.112

985 FX 1.112 FZ 1.112

986 FX 1.112 FZ 1.112

987 FX 1.112 FZ 1.112

988 FX 1.112 FZ 1.112

989 FX 1.112 FZ 1.112

990 FX 4.877 FZ 4.877

991 FX 1.112 FZ 1.112

992 FX 1.112 FZ 1.112

993 FX 1.112 FZ 1.112

994 FX 1.112 FZ 1.112

995 FX 1.112 FZ 1.112

996 FX 1.112 FZ 1.112

997 FX 1.112 FZ 1.112

998 FX 1.112 FZ 1.112

999 FX 1.112 FZ 1.112

1000 FX 4.877 FZ 4.877

1001 FX 1.112 FZ 1.112

1002 FX 1.112 FZ 1.112

1003 FX 1.112 FZ 1.112

1004 FX 1.112 FZ 1.112

1005 FX 1.112 FZ 1.112

1006 FX 1.112 FZ 1.112

1007 FX 1.112 FZ 1.112

1008 FX 1.112 FZ 1.112

1009 FX 1.112 FZ 1.112

1010 FX 4.877 FZ 4.877

1011 FX 1.112 FZ 1.112

1012 FX 1.112 FZ 1.112

1013 FX 1.112 FZ 1.112

1014 FX 1.112 FZ 1.112

1015 FX 1.112 FZ 1.112

1016 FX 1.112 FZ 1.112

1017 FX 1.112 FZ 1.112

1018 FX 1.112 FZ 1.112

1019 FX 1.112 FZ 1.112

1020 FX 4.877 FZ 4.877

1021 FX 1.112 FZ 1.112

1022 FX 1.112 FZ 1.112

1023 FX 1.112 FZ 1.112

1024 FX 1.112 FZ 1.112

1025 FX 1.112 FZ 1.112

1026 FX 1.112 FZ 1.112

1027 FX 1.112 FZ 1.112

1028 FX 1.112 FZ 1.112

1029 FX 1.112 FZ 1.112

1030 FX 4.877 FZ 4.877

1031 FX 4.877 FZ 4.877

1032 FX 4.877 FZ 4.877

1033 FX 4.877 FZ 4.877

1034 FX 4.877 FZ 4.877

1035 FX 4.877 FZ 4.877

1036 FX 4.877 FZ 4.877

1037 FX 4.877 FZ 4.877

1038 FX 4.877 FZ 4.877

1039 FX 4.877 FZ 4.877

1040 FX 2.252 FZ 2.252

1041 FX 2.252 FZ 2.252

1042 FX 1.301 FZ 1.301

1043 FX 2.252 FZ 2.252

1044 FX 1.301 FZ 1.301

1045 FX 2.252 FZ 2.252

1046 FX 1.301 FZ 1.301

1047 FX 2.252 FZ 2.252

1048 FX 1.301 FZ 1.301

1049 FX 2.252 FZ 2.252

1050 FX 1.301 FZ 1.301

1051 FX 2.252 FZ 2.252

1052 FX 1.301 FZ 1.301

1053 FX 2.252 FZ 2.252

1054 FX 1.301 FZ 1.301

1055 FX 2.252 FZ 2.252

1056 FX 1.301 FZ 1.301

1057 FX 2.252 FZ 2.252

1058 FX 1.301 FZ 1.301

1059 FX 2.902 FZ 2.902

1060 FX 2.252 FZ 2.252

1061 FX 1.301 FZ 1.301

1062 FX 1.301 FZ 1.301

1063 FX 1.301 FZ 1.301

1064 FX 1.301 FZ 1.301

1065 FX 1.301 FZ 1.301

1066 FX 1.301 FZ 1.301

1067 FX 1.301 FZ 1.301

1068 FX 1.301 FZ 1.301

1069 FX 1.301 FZ 1.301

1070 FX 2.902 FZ 2.902

1071 FX 2.252 FZ 2.252

1072 FX 1.301 FZ 1.301

1073 FX 1.301 FZ 1.301

1074 FX 1.301 FZ 1.301

1075 FX 1.301 FZ 1.301

1076 FX 1.301 FZ 1.301

1077 FX 1.301 FZ 1.301

1078 FX 1.301 FZ 1.301

1079 FX 1.301 FZ 1.301

1080 FX 1.301 FZ 1.301

1081 FX 2.902 FZ 2.902

1082 FX 2.252 FZ 2.252

1083 FX 1.301 FZ 1.301

1084 FX 1.301 FZ 1.301

1085 FX 1.301 FZ 1.301

1086 FX 1.301 FZ 1.301

1087 FX 1.301 FZ 1.301

1088 FX 1.301 FZ 1.301

1089 FX 1.301 FZ 1.301

1090 FX 1.301 FZ 1.301

1091 FX 1.301 FZ 1.301

1092 FX 2.902 FZ 2.902

1093 FX 2.252 FZ 2.252

1094 FX 1.301 FZ 1.301

1095 FX 1.301 FZ 1.301

1096 FX 1.301 FZ 1.301

1097 FX 1.301 FZ 1.301

1098 FX 1.301 FZ 1.301

1099 FX 1.301 FZ 1.301

1100 FX 1.301 FZ 1.301

1101 FX 1.301 FZ 1.301

1102 FX 1.301 FZ 1.301

1103 FX 2.902 FZ 2.902

1104 FX 2.252 FZ 2.252

1105 FX 1.301 FZ 1.301

1106 FX 1.301 FZ 1.301

1107 FX 1.301 FZ 1.301

1108 FX 1.301 FZ 1.301

1109 FX 1.301 FZ 1.301

1110 FX 1.301 FZ 1.301

1111 FX 1.301 FZ 1.301

1112 FX 1.301 FZ 1.301

1113 FX 1.301 FZ 1.301

1114 FX 2.902 FZ 2.902

1115 FX 2.252 FZ 2.252

1116 FX 1.301 FZ 1.301

1117 FX 1.301 FZ 1.301

1118 FX 1.301 FZ 1.301

1119 FX 1.301 FZ 1.301

1120 FX 1.301 FZ 1.301

1121 FX 1.301 FZ 1.301

1122 FX 1.301 FZ 1.301

1123 FX 1.301 FZ 1.301

1124 FX 1.301 FZ 1.301

1125 FX 2.902 FZ 2.902

1126 FX 2.252 FZ 2.252

1127 FX 1.301 FZ 1.301

1128 FX 1.301 FZ 1.301

1129 FX 1.301 FZ 1.301

1130 FX 1.301 FZ 1.301

1131 FX 1.301 FZ 1.301

1132 FX 1.301 FZ 1.301

1133 FX 1.301 FZ 1.301

1134 FX 1.301 FZ 1.301

1135 FX 1.301 FZ 1.301

1136 FX 2.902 FZ 2.902

1137 FX 2.252 FZ 2.252

1138 FX 1.301 FZ 1.301

1139 FX 1.301 FZ 1.301

1140 FX 1.301 FZ 1.301

1141 FX 1.301 FZ 1.301

1142 FX 1.301 FZ 1.301

1143 FX 1.301 FZ 1.301

1144 FX 1.301 FZ 1.301

1145 FX 1.301 FZ 1.301

1146 FX 1.301 FZ 1.301

1147 FX 2.902 FZ 2.902

1148 FX 2.252 FZ 2.252

1149 FX 2.252 FZ 2.252

1150 FX 2.252 FZ 2.252

1151 FX 2.252 FZ 2.252

1152 FX 2.252 FZ 2.252

1153 FX 2.252 FZ 2.252

1154 FX 2.252 FZ 2.252

1155 FX 2.252 FZ 2.252

1156 FX 2.252 FZ 2.252

1157 FX 2.252 FZ 2.252

1158 FX 1.301 FZ 1.301

1159 FX 2.252 FZ 2.252

1160 FX 1.301 FZ 1.301

1161 FX 2.252 FZ 2.252

1162 FX 1.301 FZ 1.301

1163 FX 2.252 FZ 2.252

1164 FX 1.301 FZ 1.301

1165 FX 2.252 FZ 2.252

1166 FX 1.301 FZ 1.301

1167 FX 2.252 FZ 2.252

1168 FX 1.301 FZ 1.301

1169 FX 2.252 FZ 2.252

1170 FX 1.301 FZ 1.301

1171 FX 2.252 FZ 2.252

1172 FX 1.301 FZ 1.301

1173 FX 2.252 FZ 2.252

1174 FX 1.301 FZ 1.301

1175 FX 2.902 FZ 2.902

1176 FX 1.301 FZ 1.301

1177 FX 1.301 FZ 1.301

1178 FX 1.301 FZ 1.301

1179 FX 1.301 FZ 1.301

1180 FX 1.301 FZ 1.301

1181 FX 1.301 FZ 1.301

1182 FX 1.301 FZ 1.301

1183 FX 1.301 FZ 1.301

1184 FX 1.301 FZ 1.301

1185 FX 2.902 FZ 2.902

1186 FX 1.301 FZ 1.301

1187 FX 1.301 FZ 1.301

1188 FX 1.301 FZ 1.301

1189 FX 1.301 FZ 1.301

1190 FX 1.301 FZ 1.301

1191 FX 1.301 FZ 1.301

1192 FX 1.301 FZ 1.301

1193 FX 1.301 FZ 1.301

1194 FX 1.301 FZ 1.301

1195 FX 2.902 FZ 2.902

1196 FX 1.301 FZ 1.301

1197 FX 1.301 FZ 1.301

1198 FX 1.301 FZ 1.301

1199 FX 1.301 FZ 1.301

1200 FX 1.301 FZ 1.301

1201 FX 1.301 FZ 1.301

1202 FX 1.301 FZ 1.301

1203 FX 1.301 FZ 1.301

1204 FX 1.301 FZ 1.301

1205 FX 2.902 FZ 2.902

1206 FX 1.301 FZ 1.301

1207 FX 1.301 FZ 1.301

1208 FX 1.301 FZ 1.301

1209 FX 1.301 FZ 1.301

1210 FX 1.301 FZ 1.301

1211 FX 1.301 FZ 1.301

1212 FX 1.301 FZ 1.301

1213 FX 1.301 FZ 1.301

1214 FX 1.301 FZ 1.301

1215 FX 2.902 FZ 2.902

1216 FX 1.301 FZ 1.301

1217 FX 1.301 FZ 1.301

1218 FX 1.301 FZ 1.301

1219 FX 1.301 FZ 1.301

1220 FX 1.301 FZ 1.301

1221 FX 1.301 FZ 1.301

1222 FX 1.301 FZ 1.301

1223 FX 1.301 FZ 1.301

1224 FX 1.301 FZ 1.301

1225 FX 2.902 FZ 2.902

1226 FX 1.301 FZ 1.301

1227 FX 1.301 FZ 1.301

1228 FX 1.301 FZ 1.301

1229 FX 1.301 FZ 1.301

1230 FX 1.301 FZ 1.301

1231 FX 1.301 FZ 1.301

1232 FX 1.301 FZ 1.301

1233 FX 1.301 FZ 1.301

1234 FX 1.301 FZ 1.301

1235 FX 2.902 FZ 2.902

1236 FX 1.301 FZ 1.301

1237 FX 1.301 FZ 1.301

1238 FX 1.301 FZ 1.301

1239 FX 1.301 FZ 1.301

1240 FX 1.301 FZ 1.301

1241 FX 1.301 FZ 1.301

1242 FX 1.301 FZ 1.301

1243 FX 1.301 FZ 1.301

1244 FX 1.301 FZ 1.301

1245 FX 2.902 FZ 2.902

1246 FX 1.301 FZ 1.301

1247 FX 1.301 FZ 1.301

1248 FX 1.301 FZ 1.301

1249 FX 1.301 FZ 1.301

1250 FX 1.301 FZ 1.301

1251 FX 1.301 FZ 1.301

1252 FX 1.301 FZ 1.301

1253 FX 1.301 FZ 1.301

1254 FX 1.301 FZ 1.301

1255 FX 2.902 FZ 2.902

1256 FX 2.252 FZ 2.252

1257 FX 2.252 FZ 2.252

1258 FX 2.252 FZ 2.252

1259 FX 2.252 FZ 2.252

1260 FX 2.252 FZ 2.252

1261 FX 2.252 FZ 2.252

1262 FX 2.252 FZ 2.252

1263 FX 2.252 FZ 2.252

1264 FX 2.252 FZ 2.252

1265 FX 2.252 FZ 2.252

1266 FX 1.301 FZ 1.301

1267 FX 2.252 FZ 2.252

1268 FX 1.301 FZ 1.301

1269 FX 2.252 FZ 2.252

1270 FX 1.301 FZ 1.301

1271 FX 2.252 FZ 2.252

1272 FX 1.301 FZ 1.301

1273 FX 2.252 FZ 2.252

1274 FX 1.301 FZ 1.301

1275 FX 2.252 FZ 2.252

1276 FX 1.301 FZ 1.301

1277 FX 2.252 FZ 2.252

1278 FX 1.301 FZ 1.301

1279 FX 2.252 FZ 2.252

1280 FX 1.301 FZ 1.301

1281 FX 2.252 FZ 2.252

1282 FX 1.301 FZ 1.301

1283 FX 2.252 FZ 2.252

1284 FX 1.301 FZ 1.301

1285 FX 1.301 FZ 1.301

1286 FX 1.301 FZ 1.301

1287 FX 1.301 FZ 1.301

1288 FX 1.301 FZ 1.301

1289 FX 1.301 FZ 1.301

1290 FX 1.301 FZ 1.301

1291 FX 1.301 FZ 1.301

1292 FX 1.301 FZ 1.301

1293 FX 2.252 FZ 2.252

1294 FX 1.301 FZ 1.301

1295 FX 1.301 FZ 1.301

1296 FX 1.301 FZ 1.301

1297 FX 1.301 FZ 1.301

1298 FX 1.301 FZ 1.301

1299 FX 1.301 FZ 1.301

1300 FX 1.301 FZ 1.301

1301 FX 1.301 FZ 1.301

1302 FX 1.301 FZ 1.301

1303 FX 2.252 FZ 2.252

1304 FX 1.301 FZ 1.301

1305 FX 1.301 FZ 1.301

1306 FX 1.301 FZ 1.301

1307 FX 1.301 FZ 1.301

1308 FX 1.301 FZ 1.301

1309 FX 1.301 FZ 1.301

1310 FX 1.301 FZ 1.301

1311 FX 1.301 FZ 1.301

1312 FX 1.301 FZ 1.301

1313 FX 2.252 FZ 2.252

1314 FX 1.301 FZ 1.301

1315 FX 1.301 FZ 1.301

1316 FX 1.301 FZ 1.301

1317 FX 1.301 FZ 1.301

1318 FX 1.301 FZ 1.301

1319 FX 1.301 FZ 1.301

1320 FX 1.301 FZ 1.301

1321 FX 1.301 FZ 1.301

1322 FX 1.301 FZ 1.301

1323 FX 2.252 FZ 2.252

1324 FX 1.301 FZ 1.301

1325 FX 1.301 FZ 1.301

1326 FX 1.301 FZ 1.301

1327 FX 1.301 FZ 1.301

1328 FX 1.301 FZ 1.301

1329 FX 1.301 FZ 1.301

1330 FX 1.301 FZ 1.301

1331 FX 1.301 FZ 1.301

1332 FX 1.301 FZ 1.301

1333 FX 2.252 FZ 2.252

1334 FX 1.301 FZ 1.301

1335 FX 1.301 FZ 1.301

1336 FX 1.301 FZ 1.301

1337 FX 1.301 FZ 1.301

1338 FX 1.301 FZ 1.301

1339 FX 1.301 FZ 1.301

1340 FX 1.301 FZ 1.301

1341 FX 1.301 FZ 1.301

1342 FX 1.301 FZ 1.301

1343 FX 2.252 FZ 2.252

1344 FX 1.301 FZ 1.301

1345 FX 1.301 FZ 1.301

1346 FX 1.301 FZ 1.301

1347 FX 1.301 FZ 1.301

1348 FX 1.301 FZ 1.301

1349 FX 1.301 FZ 1.301

1350 FX 1.301 FZ 1.301

1351 FX 1.301 FZ 1.301

1352 FX 1.301 FZ 1.301

1353 FX 2.252 FZ 2.252

1354 FX 1.301 FZ 1.301

1355 FX 1.301 FZ 1.301

1356 FX 1.301 FZ 1.301

1357 FX 1.301 FZ 1.301

1358 FX 1.301 FZ 1.301

1359 FX 1.301 FZ 1.301

1360 FX 1.301 FZ 1.301

1361 FX 1.301 FZ 1.301

1362 FX 1.301 FZ 1.301

1363 FX 2.252 FZ 2.252

1364 FX 2.252 FZ 2.252

1365 FX 2.252 FZ 2.252

1366 FX 2.252 FZ 2.252

1367 FX 2.252 FZ 2.252

1368 FX 2.252 FZ 2.252

1369 FX 2.252 FZ 2.252

1370 FX 2.252 FZ 2.252

1371 FX 2.252 FZ 2.252

1372 FX 2.252 FZ 2.252

***************************************************

SPECTRUM CQC 1893 X 0.036 ACC SCALE 1 DAMP 0.05

SOIL TYPE 2

LOAD 2 EQZ

SPECTRUM CQC 1893 Z 0.036 ACC SCALE 1 DAMP 0.05

SOIL TYPE 2

*****************************************************

LOAD 3 LOADTYPE Dead  TITLE 3(SELF WEIGHT)(DL)

SELFWEIGHT Y -1

*************************************************

LOAD 4 LOADTYPE Dead  TITLE 4(WALL LOAD)(DL)

MEMBER LOAD

33 TO 116 157 TO 282 UNI GY -10.8

117 TO 156 283 TO 342 UNI GY -4

**************************************************

LOAD 5 LOADTYPE Dead  TITLE 5(FLOOR LOAD)

ELEMENT LOAD

10000 TO 10059 10090 TO 10149 10180 TO 10239 10270 TO 10329 10360 TO 10419 -

10450 TO 10509 10540 TO 10599 10630 TO 10689 10720 TO 10779 10810 TO 10868 -

10869 PR GY -4.95

10060 TO 10089 10150 TO 10179 10240 TO 10269 10330 TO 10359 10420 TO 10449 -

10510 TO 10539 10600 TO 10629 10690 TO 10719 10780 TO 10809 10870 TO 10898 -

10899 PR GY -6.63

**************************************************************

LOAD 6 LOADTYPE Dead  TITLE 6(LIVE LOAD)

ELEMENT LOAD

10000 TO 10059 10090 TO 10149 10180 TO 10239 10270 TO 10329 10360 TO 10419 -

10450 TO 10509 10540 TO 10599 10630 TO 10689 10720 TO 10779 10810 TO 10868 -

10869 PR GY -2

10060 TO 10089 10150 TO 10179 10240 TO 10269 10330 TO 10359 10420 TO 10449 -

10510 TO 10539 10600 TO 10629 10690 TO 10719 10780 TO 10809 10870 TO 10898 -

10899 PR GY -1.5

******************************************************

*LOAD COMBINATION 7

*3 1.0 4 1.0 5 1.0 6 1

*PERFORM ANALYSIS

*LOAD LIST 7

*FINISH

**************************************

LOAD COMBINATION 8

3 1.0 4 1.0 5 1.0 6 0.8

**************************************

LOAD COMB 11 1.5 DL 1.5 IL

3 1.5 4 1.5 5 1.5 6 1.5

LOAD COMB 12 1.2 DL + 0.3 IL + 1.2 EL IN X DIR

3 1.2 4 1.2 5 1.2 1 1.2 6 0.3

LOAD COMB 13 1.2 DL + 0.3 IL - 1.2 EL IN X DIR

3 1.2 4 1.2 5 1.2 1 -1.2 6 0.3

LOAD COMB 14 1.2 DL + 0.3 IL + 1.2 EL IN Z DIR

3 1.2 4 1.2 5 1.2 2 1.2 6 0.3

LOAD COMB 15 1.2 DL + 0.3 IL - 1.2 EL IN Z DIR

3 1.2 4 1.2 5 1.2 6 0.3 2 -1.2

LOAD COMB 16 1.5 DL + 1.5 EL IN X DIR

3 1.5 4 1.5 5 1.5 1 1.5

LOAD COMB 17 1.5 DL - 1.5 EL IN X DIR

3 1.5 4 1.5 5 1.5 1 -1.5

LOAD COMB 18 1.5 DL + 1.5 EL IN Z DIR

3 1.5 4 1.5 5 1.5 2 1.5

LOAD COMB 19 1.5 DL - 1.5 EL IN Z DIR

3 1.5 4 1.5 5 1.5 2 -1.5

LOAD COMB 20 0.9 DL + 1.5 EL IN X DIR

3 0.9 4 0.9 5 0.9 1 1.5

LOAD COMB 21 0.9 DL - 1.5 EL IN X DIR

3 0.9 4 0.9 5 0.9 1 -1.5

LOAD COMB 22 0.9 DL + 1.5 EL IN Z DIR

3 0.9 4 0.9 5 0.9 2 1.5

LOAD COMB 23 0.9 DL - 1.5 EL IN Z DIR

3 0.9 4 0.9 5 0.9 2 -1.5

LOAD COMB 24 1 DL + 0.9 IL

3 1.0 4 1.0 5 1.0 6 0.9

***********************

*LOAD COMB FOR SLAB DESIGN

LOAD COMBINATION 30

3 1.0 4 1.0 5 1.0 6 1.0

*******************************

PERFORM ANALYSIS

LOAD LIST 11 TO 24

START CONCRETE DESIGN

CODE INDIAN

UNIT MMS NEWTON

FYMAIN 415 ALL

FYSEC 415 ALL

TRACK 1 ALL

RATIO 4 ALL

FC 25 ALL

DESIGN BEAM 33 TO 36 157 TO 162

DESIGN COLUMN 1 TO 32

CONCRETE TAKE

END CONCRETE DESIGN

FINISH

*********************************

PERFORM ANALYSIS

LOAD LIST 30

START CONCRETE DESIGN

CODE INDIAN

UNIT MMS NEWTON

FYMAIN 415 ALL

FYSEC 415 ALL

TRACK 1 ALL

RATIO 4 ALL

FC 25 ALL

DESIGN ELEMENT 10000 TO 10899

END CONCRETE DESIGN

Print story drift

FINISH